## Annex 1
CARE Afghanistan
Annex # 1
Delivery Location = Sarobi Sabari and Send Khur Terezai districts of Khost province
Item NO. | Item Description | Sarobi, Sabari | Send Khur, Terezai | Total Quantity | Unit of Measurement | Delivery Location (Sarobi, Sabari, Khost) |  | Delivery Location (Send Khur, Terezai Khost) |  |  | Total USD
|  | Quantity | Quantity |  |  | Unit Price USD | Total Price USD | Uint Price USD | Total Price USD | Total Price AFN
1 | Excavation of Foundation in 3rd type soil inclulding all associated activities. | 20.2 | 20.2 | 40.4 | CUM |  | 0 |  | 0 | #REF! | 0
2 | Filling with Soil with maximum Compaction including necessary activity. | 9.8 | 9.8 | 19.6 | CUM |  | 0 |  | 0 | #REF! | 0
3 | Stone Massonary of Foundation in cc Mortar 1:5 including all related activity. | 20.2 | 20.2 | 40.4 | CUM |  | 0 |  | 0 | #REF! | 0
4 | Bricks masonry burnt bricks with 1:6 cement mortar With Necessassry Requirment. | 28.1 | 28.1 | 56.2 | CUM |  | 0 |  | 0 | #REF! | 0
5 | P.C.C by Mix 1:2:4 T=5cm Including all associated activities | 2 | 2 | 4 | CUM |  | 0 |  | 0 | #REF! | 0
6 | River Boulders with thicness of 15cm including needed activities. | 5.9 | 5.9 | 11.8 | CUM |  | 0 |  | 0 | #REF! | 0
7 | Steel I-Shape Beam (140mm X 70mm X 3mm) including Installation including T-Iron and all associated works | 33 | 33 | 66 | LM |  | 0 |  | 0 |  | 0
8 | Chaowka with complete work | 1400 | 1400 | 2800 | NOS |  | 0 |  | 0 |  | 0
9 | Roof Plaster and Insulation sheet including all related Works | 48 | 48 | 96 | SQM |  | 0 |  | 0 |  | 0
10 | Inistaliation & making of Aluminum Window Including all acitivities. | 14.9 | 14.9 | 29.8 | SQM |  | 0 |  | 0 |  | 0
11 | Inistaliation & making of Aluminum door Including all acitivities. | 7.6 | 7.6 | 15.2 | SQM |  | 0 |  | 0 |  | 0
12 | Inistaliation & making of Aluminum Door +Window including all associated activities | 4.7 | 4.7 | 9.4 | SQM |  | 0 |  | 0 |  | 0
13 | 550Wp Mono PV Solar Modules, Eropian made | 12 | 12 | 24 | Num |  | 0 |  | 0 |  | 0
14 | Inverters 7 KW best quality | 1 | 1 | 2 | Num |  | 0 |  | 0 |  | 0
15 | Combiner boxes IP 66 | 1 | 1 | 2 | Num |  | 0 |  | 0 |  | 0
16 | 1x 1.5mm2 Cu cable,Red and Blu in color through conduit as per IEEE standard.Borsan or Vatan Kablo make-(each roll 100M) | 2 | 2 | 4 | Roll |  | 0 |  | 0 |  | 0
17 | 1x 2.5mm2 Cu cable,Red and Blu in color through conduit as per IEEE standard.Borsan or Vatan Kablo make-(each roll 100M) | 2 | 2 | 4 | Roll |  | 0 |  | 0 |  | 0
18 | Power Cable 1*6mm² from Solar panels to Inverter, Red and Blu in color through flexible conduit as per IEEE standard.Borsan or Vatan Kablo make. | 60 | 60 | 120 | M |  | 0 |  | 0 |  | 0
19 | Power Cable 3*25 mm² from inverter to main distribultion box through PVC conduit as per IEEE standard.Borsan or Vatan Kablo make- | 20 | 20 | 40 | M |  | 0 |  | 0 |  | 0
20 | Electrical PVC duct for 1X1.5 mm2 cable. | 50 | 50 | 100 | M |  | 0 |  | 0 |  | 0
21 | Electrical PVC duct for 1X2.5 mm2 cable. | 50 | 50 | 100 | M |  | 0 |  | 0 | #REF! | 0
22 | Electrical flexible conduit pipe for 6 mm2 cable. | 20 | 20 | 40 | M |  | 0 |  | 0 | #REF! | 0
23 | Electrical PVC duct for 3X25 mm2 cable. | 15 | 15 | 30 | M |  | 0 |  | 0 |  | 0
24 | Prefabricated Metallic Distribution box surface mounted of fitted with 60A/1P MCB, 3X25A/1P MCB, 3X16A/1P, 3X10A/1P ABB/Schneider or equivalent circuit breaker, separate neutral bar and ground bar and equipped with glands for cables dia proper numbering of each circuit for protection of feeder cable of each circuit | 1 | 1 | 2 |  |  | 0 |  | 0 |  | 0
25 | Main switch single phase 60A/1P MCB | 1 | 1 | 2 | Num |  | 0 |  | 0 |  | 0
26 | Insulation Tape | 5 | 5 | 10 | Roll |  | 0 |  | 0 |  | 0
27 | Solar Frames for 12 pcs of solar panels (3 coat anti rust oil painting). | 33.12 | 33.12 | 66.24 | m2 |  | 0 |  | 0 |  | 0
28 | Nut and Bolts with plain washers | 20 | 20 | 40 | Num |  | 0 |  | 0 |  | 0
29 | 3x20mm-Dia 3000mm ground rods | 1 | 1 | 2 | Num |  | 0 |  | 0 |  | 0
30 | Earthing wire | 15 | 15 | 30 | M |  | 0 |  | 0 |  | 0
31 | LED Light 30 A, 220V,IP66 surface Mounted Ceiling Light, best quality. | 4 | 4 | 8 | Num |  | 0 |  | 0 |  | 0
32 | 16A, 220v, 2p+E outlet surface mounted socket, Legrand make, universal with back box best quality. | 8 | 8 | 16 | Num |  | 0 |  | 0 |  | 0
33 | 32A, 220v, 2p+E outlet surface mounted socket, Legrand make, universal with back box best quality. | 2 | 2 | 4 | Num |  | 0 |  | 0 |  | 0
34 | 10A, 220v, 2p+E surface mounted switch, Legrand make, with back box best quality. | 3 | 3 | 6 | Num |  | 0 |  | 0 | #REF! | 0
35 | Exhaust fan best quality | 2 | 2 | 4 | Num |  | 0 |  | 0 | #REF! | 0
36 | PV system electrical Installation and Transportation | 1 | 1 | 2 | Lum |  | 0 |  | 0 | #REF! | 0
37 | Installation of Sink incuding all necessary works | 1 | 1 | 2 | NOS |  | 0 |  | 0 |  | 0
38 | Oil press machine Model=D06, Wattage 2000watt | 2 | 2 | 4 | NOS |  | 0 |  | 0 | #REF! | 0
39 | Inside Plaster work (with 1:6 mortor) and smooth finishing (Namad mali) | 138 | 138 | 276 | SQM |  | 0 |  | 0 |  | 0
40 | Out side plaster work (with 1: 6 motor) and smooth finishing (Namad mali) | 126.4 | 126.4 | 252.8 | SQM |  | 0 |  | 0 | #REF! | 0
41 | Out side plaster work (with 1: 4 motar) and smooth finishing in the plint Wall | 15 | 15 | 30 | SQM |  | 0 |  | 0 |  | 0
42 | Gutters work (Vertical from GI sheet 24 gage 10X15 cm) complete | 6 | 6 | 12 | ML |  | 0 |  | 0 | #REF! | 0
43 | White wasihing insidside area with100% Plastic emulsion 3 coat with all associated works | 138 | 138 | 276 | SQM |  | 0 |  | 0 |  | 0
44 | White wasihing Out side area with30% Plastic emulsion 3 coat with all associated works | 126.4 | 126.4 | 252.8 | SQM |  | 0 |  | 0 |  | 0
Total cost USD | [6 empty] | 0 |  | 0 |  | 0