## Annex 16
CARE Afghanistan
Annex # 16
Delivery Location = Ghazni Province
Equipment and materials for the production facility
Item NO. | Item Description | Qty | Unit | Unit Cost USD | Total Cost USD | Remarks
1 | Site preparation (Existing site Cleaning and transportation the waste materials to the other site) the area will be selected by CARE Engineer in Consultation with the CDC Head and Shura. | 1 | Ls |  | 0
2 | Excavation | 32.47 | M3 |  | 0
3 | Brick work with Mortar (250,1:5) with all requirement activities as per drawings | 51.36 | M3 |  | 0
4 | Stone masonry work, with cement- sand mortar M1:4, With at least 35% mortar all activities as per drawings | 18.1 | M3 |  | 0
5 | PCC work, M200 (1:1.5:3), the PCC should be properly leveled, including the preparation, shuttering, pouring, compacting, curing and with all requirement activities as per drawings | 27.84 | M3 |  | 0
6 | Plastic Paint 100% outside with required activities according to requirments and drawing | 148 | M2 |  | 0
7 | Plastic Paint 75% inside with required activities according to requirments and drawing | 338 | M2 |  | 0
8 | window size(2x3.08)m, Iron box (60x30)mm, T=2mm), according to drawing with pointing , installation and all required activities | 7 | No |  | 0
9 | Stretch steel door and window, Iron box (60x30)mm, T=2mm), according to drawing with pointing , instalation and all required activities | 4 | No |  | 0
10 | Irone sheet door size (2x75m), Iron box frame size (60x30 mm), thickness 2mm) with pointing , installation and all required activities | 2 | No |  | 0
11 | Roof ventilation window according to drawing with pointing , installation and all required activities | 4 | No |  | 0
12 | Mud Plaster (Kah Gel) work of office room, with required activities according to requirments | 96.78 | M2 |  | 0
13 | Plastaring work with 1:4 mortar, nill and chicken net for lintle & required area and all activities as per drawings | 462.97 | M2 |  | 0
14 | Filling with gravel 10 cm solar stand bed | 2.5 | M3 |  | 0
15 | Supply and installation glasses (4mm) best quality Complete with all required activities | 63 | M2 |  | 0
16 | Solar Stand RCC work M(1:1.5:3) according to drawing | 1.25 | M3 |  | 0
17 | Supply and installation of copper Wire (2x 2.5mm) | 68 | m |  | 0
18 | Supply and installation of copper Wire (2x 4mm) | 209 | m |  | 0
19 | Supply and installation of Socket Gruonding copper wire (1x2.5mm) | 210 | m |  | 0
20 | Supply and installation of Fuse box to Ground Rod copper cable (1x10mm) | 16 | m |  | 0
21 | Supply and installation of copper Cable (1x10mm) | 26 | m |  | 0
22 | Supply and installation of Jonction box | 18 | pcs |  | 0
23 | Supply and installation of LED 24 watt IP 65 best quality | 15 | pcs |  | 0
24 | Supply and installation of Switch with switch box | 15 | pcs |  | 0
25 | Supply and installation of Socket with box | 19 | pcs |  | 0
26 | Supply and installation of fuse (3A) | 2 | no |  | 0
27 | Supply and installation of fuse (5A) | 1 | no |  | 0
28 | Supply and installation of fuse (6A) | 1 | no |  | 0
29 | Supply and installation of fuse (20A) | 1 | no |  | 0
30 | Supply and installation of Fuse Box | 1 | set |  | 0
31 | Supply and installation of PVC 1 inch pipe for wiring syestem with all requred fitting | 198 | m |  | 0
32 | Supply and installationParashoot with all its relevant attachments for roof under wooden beam | 143.5 | m2 |  | 0
33 | Supply and installationGalvanized Iron (GI) pipe, dia.2" | 2 | m |  | 0
34 | Supply and installation of Gate valve (good quality) Nominal Diameter = 2" best quality | 2.2 | m |  | 0
35 | Provide & installation of Eastern toilet with required activities according to requirments. تهیه ونصب کمود فرشی مکمل الاسباب (Eastern Toilet) با امورایجابی | 2 | No |  | 0
36 | Provide and installation of PVC Pipe high qulity dia. 75 mm for Sewer system with all required activities. تهیه و نصب پایب پی وی سی به کیفیت عالی ، قطر 75 ملی متر برای سیستم فاضلاب با امور ایجاب | 2 | LMS |  | 0
37 | Supply and installation of samll wool processing machines محلی دوړیو دپروسس ماشینونه | 50 | pcs |  | 0
38 | Supply and installation tables for wool processing machines دوړیو دپروسس ماشینانو لپاره میزونه | 50 | pcs |  | 0
39 | Supply and installation of loam (carpet weaving machine) different size | 5 | pcs |  | 0
40 | Supply and installation o Chair for wool processing labours دوړیو دپروسس کارمندانو لپاره چوکي | 50 | pcs |  | 0
41 | Backfilling with compaction | 38.45 | M3 |  | 0
Total Cost USD |  |  |  |  | 0