## Medical Equipments
HEWAD Reconstruction, Health & Humanitarian Assistance Committee
Aino mina 350 beds Hospital Kandahar Province
S/No | Items | Specification | Location | Quantity | Unit Price | Total Price | Remarks
1 | Sphygmomanometer Yamasu Murcurial | mercury sphygmomanometer TXJ-10A Measured pressure range: 0 Torr - 300 Torr Aluminium alloy diecast case、2.5mm inner diameter of glass tube 2.5mm、Cotton standard cuff:54*14.5cm、Standard 2-tube latex bladder:22*12cm、Measure scope: 0-300mmHg;Accuracy:+/-3 mmHg, Sub-division: 2mmHg Packaging：BOX size：31.5*22.5*37c | Kandahar | 3 |  | 0
2 | Myo scissor large size | FORGESY DRESSING SURGICAL SCISSOR SHARP/BLUNT STRAIGHT 8 INCH (PACK OF 1) MEDICAL GRADE STAINLESS STEE 5 inch | Kandahar | 5 |  | 0
3 | Myo scissor Small size | FORGESY DRESSING SURGICAL SCISSOR SHARP/BLUNT STRAIGHT 8 INCH (PACK OF 1) MEDICAL GRADE STAINLESS STEE 3.4 inch | Kandahar | 5 |  | 0
4 | Tonsillectomy complete surgery set | Complet set 45 items | Kandahar | 1 |  | 0
5 | Medium Artry pcs for OT | DRESSING SURGICAL Artery SHARP/BLUNT STRAIGHT 8 INCH (PACK OF 1) MEDICAL GRADE STAINLESS STEE | Kandahar | 5 |  | 0
6 | Ear Levage set | Complet set 10 items | Kandahar | 1 |  | 0
7 | Neonatal pulse oximeter china | With line for neonetal size Measuring range for SPO2: 70-100% | Kandahar | 5 |  | 0
8 | Adult pulse oximeter china | Adult size with Battry supply | Kandahar | 10 |  | 0
9 | Electric breast pump | A breast pump is a mechanical device that lactating women use to extract milk from their breasts. They may be manual devices powered by hand or foot movements or automatic devices powered by electricity. | Kandahar | 2 |  | 0
10 | Billurobin meter china | Jaundice Meter JM-105 is a non-invasive transcutaneous bilirubinometer that measures the yellowness of subcutaneous tissue in newborn infants. Easy cleaning which also lowers costs by eliminating disposable probes. | Kandahar | 2 |  | 0
11 | Blood Exchange kit | Tubing Set Protocols One System. Multiple Protocols. Exchange Therapeutic Plasma Exchange (TPE) TPE With a Secondary Plasma Device TPE With Single-Needle Access Red Blood Cell Exchange Collection Mononuclear Cell Collection Continuous Mononuclear Cel | Kandahar | 1 |  | 0
12 | Glucometer one call plus | Oncal Plus Acon | Kandahar | 2 |  | 0
13 | Spirometer china | A spirometer is an apparatus for measuring the volume of air inspired and expired by the lungs. A spirometer measures ventilation, the movement of air into and out of the lungs. The spirogram will ide | Kandahar | 2 |  | 0
14 | Stands for cardiac monitor | Mobile type Stand Made in China | Kandahar | 10 |  | 0
15 | Measuring boared for Nutrition highght measurement. | Child and Adult size Wooden | Kandahar | 2 |  | 0
16 | HB Meter for Lab | Marreinfield | Kandahar | 1 |  | 0
17 | Pediatric Laryngo Scope | 3 Blade stright size Riseter | Kandahar | 1 |  | 0
18 | Luber puncture complete set china | Complet set with all items | Kandahar | 1 |  | 0
19 | Eye cataract set | Standard Complet set | Kandahar | 1 |  | 0
20 | Hypospediasis set | Complet set | Kandahar | 1 |  | 0
21 | Spinal Board for Pateint in OT | Plastic Made portable 200cm*50cm | Kandahar | 1 |  | 0
22 | Haemoroid set for surgery | Complet set with 35 items | Kandahar | 1 |  | 0
23 | Digital scale for adults company | SECA Model 874 | Kandahar | 2 |  | 0
24 | Neonatal and children BP cupp | with Child and infant cuff Pulmb type | Kandahar | 1 |  | 0
25 | Cotria Machine (Surgery blood coagulator for OT) | 400wt china Made | Kandahar | 1 |  | 0
26 | Gynacology Set | complete set with 12 items | Kandahar | 1 |  | 0
27 | Foldable+PortabLe+white screen for Patient Privacy. | Size 200cm*200cm Metalic with white color cartain | Kandahar | 5 |  | 0
28 | Gem Fabrics Autoclavable for GOWNs Drips and Towel for OT. | Green color best quality | Kandahar | 1 |  | 0
0