## Financial proposal
`Organization for Coordination of Humanitarian Relief-OCHR
Project Name: Construction of five small Business center for Sustainable Livelihoods in four District of lagman province Ref#: CFSCSL /OCHR/05/2024
Project location: in four Districts Aligan (Chinchar Talib Abad), Alishang (Qala-e-Khan) Qarghayee,( Qala-e-Sarfaraz Khan ) Mehtralam (Baba Kamp 4 Gozar and Baba Kamp, 5 Gozar) of Laghman Province.
Note: Please prior to quoting your prices conduct a site survey. The quantities mentioned in the BoQ may vary with actual work on site. OCHR will carry out a re-estimation of the actual work done against the work mentioned in the BoQ. For any extra work OCHR shall be contacted on prior basis and approval shall be sought for extra work. Any extra work done without the approval/permission of OCHR shall be considered void and no payment will be disbursed for the work done
Bill of Quantity for Construction of one small Business center for Sustainable Livelihoods in laghman province
S/NO شماره | Discriptions تشریحا ت | Unit واحد | Quantity مقدار | Cost/Unit (USD.) قیمت فی واحد | Total Cost (USD.) قیمت مجموعی | Remarks ملاحظات
A1 | Construction of one small Business center for Sustainable Livelihoods in laghman province
A1-1 | کندن کاری درزمین قسم4-3 Excavation in different ground type | m3 | 8.14 | 0 | 0
A1-2 | Soil back filling with compaction پرکاری خاک معه تپک کاری | m3 | 5 | 0 | 0
A1-3 | Stone masonry with cement- sand mortar M:1:5 سنگکاری با مصاله سمنت وریگ مارک مخلوط | m3 | 8.134 | 0 | 0
A1-4 | Stone Pitching under PCC نصب بولدرها زیر کانکریت بدون سیخ | m3 | 3 | 0 | 0
A1-5 | Supply and installation of TR Garder for the roof (1 foot/2.875kg) including color and according to drawing with all requirements, نصب ګاډر اهنی (فی فوټ وزن2.875 کیلو ګرام)همرای رنګ ومطابق نقشه | foot | 96.12 | 0 | 0
A1-6 | Supply and installation of T iron for the roof (1 foot/500 gr) including color and according to drawing with all requirements,نصب ټی ایرن برای سقف (فی فوټ وزن 500 ګرام)همرای رنګ ومطابق نقشه | foot | 335.66 | 0 | 0
A1-7 | Supply and installation of Ceramic brick for roof including color according to the drawing.نصب چوکه برای سقف همرای نګ مطابق نقشه | m2 | 35.75 | 0 | 0
A1-8 | Reinforced Cement Concrete (RCC), M 200kg/cm2 including steel bars and shuttering according to the drawings for the ring beam.کانکریت سیخدار با مارک مخلوطی 1:1.5:3 همرای قالب بندی | m3 | 1.6975 | 0 | 0
A1-9 | Plain Cement Concrete (PCC), M150 kg/cm2 (1:2:4) کانکریت بدون سیخ با مارک مخلوطی | m3 | 4.878 | 0 | 0
A1-10 | Burned brick masonry with mortar 1:4 (cement - sand) . خشت کاری پخته به مخلوط مساله 1:4 (ریگ : سمنت) | m3 | 19.2 | 0 | 0
A1-11 | Plaster work with cement-sand out side the water tank s M:1:5 پلسترکاری با مخلوط سمنت وریگ مارک مخلوط مصاله | m2 | 120.6 | 0 | 0
A1-12 | Plastic Painting 3 layer sheet and visibility of OCHR and UNDP according to the instruction of OCHR engineers. رنگمالی با رنگ پلاستیکی و لوګو( یو ان ډی فی و او سی اچ ار ) مطابق هدایت انجینر ساحوی موسسه | m2 | 152 | 0 | 0
A1-13 | Pointing for outside of the wall with mortar 1:3 (cement-sand). M: 1:3 هنگاف کاری بیرونی با مخلوط سمنت وریگ مارک مخلوط مصاله | m2 | 4.85 | 0 | 0
A1-14 | Supply and installation of the pinewood (Lmanza/Archa wood) wooden door with color, mirror and insect screen installation, and all requirements (complete) . دروازه چوبی کاج (لمانزا/ چوب ارچا) همرای رنګ مالي نصب شیشه ونصب روی صفحه حشرات وهمه لوازم ضروری مطابق نقشه | Ls | 1 | 0 | 0 |  | 15
A1-15 | Supply and installation of pinewood (Lmanza/Archa wood) wooden windows with color, mirror installation, and all requirements (complete) . کړکین چوبی کاج (لمانزا/ چوب ارچا) همرای نصب شیشیه،رنګ ولوازم ضروری.مطابق نقشه | Ls | 1 | 0 | 0
A1-16 | 8cm tick dry soil for roof خاک خشک به ضخامت 8 سانتی متر برای بام | m2 | 35.75 | 0 | 0
A1-17 | 5cm mud straw plaster for roof ګاګل به ضخامت ۵ سانتی متر برای بام | m2 | 35.75 | 0 | 0
A1-18 | Supply and installation of two layer plastic on roof, نصب یک طبقه پلاستیک برای سقف | m2 | 35.75 | 0 | 0
A1-19 | Supply and installation of 3"dia PVC class C pipe with 4 elbow pipe for down spigot, تهیه و نصب نل پلاستکی غیر فشاری2انچ با چهار نل دو دهن برای ناوه | Ls | 1 | 0 | 0
A1-20 | supply and installation of 2'' dia PVC pipe with 3 elbow pipe, تهیه و نصب نل فی وی سی به قطر ۲ انچ همرای ۳ عدد نل دو دهن | Ls | 1 | 0 | 0
A1-21 | supply and installation of kitchen cabinet and sink according to drawing with all requirements (complete). تهیه و نصب الماری و سینک براي اشپزخانه مطابق نقشه | Ls | 1 | 0 | 0
A1-22 | Supply and installation of tiles under wash basin area with best quality. تحیه ونصب کاشی همرای همه لوازم به کیفیت اعلا. | m2 | 1.4 | 0 | 0
A1-23 | Supply and installation of electrical work (electric line, Light, Switchboard, plumbing work for electricity) according to the drawing with all requirements (complete), تحیه ونصب سیستم برق همرای ( لاین برق، بلف، فایف کشی بریای سیستم برق ونصب سویچ بورد) مطابق نقشه همرای لوازم همه. | Ls | 1 | 0 | 0
A1-24 | Supply and installation of 150 Amp (Thailand 3.S) solar battery with all requirements. تحیه ونصب 150 امپیر بټری سولری تایلینډي | No | 1 | 0 | 0
A1-25 | Supply and installation of Fan (Fhnks company AC+DC ) according to the drawing with all requirment for business center. تحیه ونصب باد فکه از کمپنی فینیکس که (سولری+ب رقی باشد) همرای همه لوازم براي بزنیس سنټر | No | 1 | 0 | 0
A1-26 | Carpet for business center. فرش براي بزنیس سنټر | m2 | 23 | 0 | 0
A1-27 | Supply and installation of 1000 litters PVC Water reservoir with all requirements (complete). تحیه ونصب ذخیره فی وی سی ۱۰۰۰ لیتر همرای همه لوازم ضروری. | No | 1 | 0 | 0
A1-28 | Supply and installation of Chinese suspension ceiling for roof best quality with all requirements (complete).تحیه و نصب مسطح چینای برای سقف به کیفیت اعلا همرای همه لوازم ضروی. | m2 | 20 | 0 | 0
A1-29 | Supply and installation of plastic floor drain cover under wash basin according to drawing with all requirment.تحیه ونصب یک عدد زهکش کف پلاستیکی زیر سینک ظرفشوی همرای همه لوازم مطابق نقشه | No | 1 | 0 | 0
A1-30 | Solar panels 235-250 watt , JinKO Made in Chaina (Solar Panels) 235-250 watt Equivalent in specification and should Chaina standard صفحه سولر ازنوع جی اف ،لورنز ، جینکو ساخت چینایی باشد یا معادل ان باشد Maximum power: 235 W Maximum power point voltage: 29,8 V Open circuit voltage: 26,9 V Max power point current: 7.89 A Module shortcut current: 8.47 A Maximum power output: 235-250W Solar module type: JKM235P-60 Net weight: 19.5 kg (with all requirements) | No | 4 | 0 | 0
A1-31 | Preparing of MAKKA solar pump screw type, Model (3LIS2.0/140-96/750) Rated voltage: DC96V Power: 750W Outlet: 0.75 inch Max Head: 140m Current: 8A Max Flow: 2.0m3/h تهیه سولر پمپ لارنس که دارائی قطر۱انچ یا معادل طبق مشخصات داده شده فوق باشد | No | 1 | 0 | 0
A1-32 | supply and installation of PPR pipe (25 mm) with 4 elbow pipe according to drawing with all requirements ( complete).تحیه ونصب فایپ فی فی ار به قطر (۲۵) ملی متر همرای ۴ عدد وصل کننده مطابق نقشه ونصب همه لوازم ضروري | m | 8 | 0 | 0
A1-33 | Connection from well to water reservoir (installation of polyethylene pipe (PE 100 PN 16 SDR 11) outside diameter 25mm wall thickness 2.3 mm, weight 0.173 kg/m best quality, installation of Submersible drop cable (2.5) mm from solar panels to solar pump, excavation of trench with all requirements (complete). .کنیکشن از چا تا ذخیره اب (نصب پایپ پولی ایتیلین بقطر خارجی ۲۵ ملی با فشار قابل برداشت ۱۶ بار،نصب لاین برق وپایپ برای لاین ، کندنکاری از پایپ از چاه تا ذخیره ) همرای همه لوازم. | Ls | 1 | 0 | 0
A1-34 | supply and installation of polyethylene 25'' bend size (25 mm).زانو خم 25 درجه نوع پولی ایتیلین | No | 1 | 0 | 0
A1-35 | Safety rop for holding of solar pump.رسمان پلاستیکی برای واتر پمپ | m | 120 | 0 | 0
A1-36 | Solar panels stand steel, پایه سولر پینل | set | 1 | 0 | 0
A1-37 | Sign Board for project. لوحه برای پروژه | No | 1 | 0 | 0
Total Estimation cost for Construction of one small Business center for Sustainable Livelihoods in laghman province |  |  |  | 0
Summary sheet for Construction of five small support center for Sustainable Livelihoods in four District of lagman province Ref#: CFSCSL /OCHR/05/2024
Cod# | Description | Unit واحد | Quantity مقدار | Unit in include 4 % Tax in USDقیمت فی واحد به دالر | Total Cost (USD.) | Remarks ملاحظات
قیمت مجموعی
A | Total Estimation Cost for Construction of five small Business center for Sustainable Livelihoods in in four Districts Aligan (Chinchar Talib Abad), Alishang (Qala-e-Khan) Qarghayee,( Qala-e-Sarfaraz Khan ) Mehtralam (Baba Kamp 4 Gozar and Baba Kamp, 5 Gozar) of Laghman Province. | Each | 5 | 0 | 0
Total Estimation cost for Construction of five small Business center for Sustainable Livelihoods in Laghman province |  |  |  | 0
Note:Essential Note for BoQs
1 | Building materials/Construction material and Works may be subject to tests at any time at the request of OCHR technical team/Engineer. These tests shall be carried out as directed by the Engineer or Authorized Repetitive at the place of Manufacture or fabrication or on site or in testing institute. The Contractor shall provide such assistance materials, plant, instruments and labor as required for such test. The cost of carrying out such tests shall be borne by the contractor.
2 | The works actually executed shall be measured and is subject to deduction, Contractor shall visit the site of the works and obtain all information that may be necessary for completing their Offer as under the provision of this contract no claim for additional work is accepted once contract is signed.
3 | If, in the Contractor opinion, The BoQ contains ambiguities or BoQ does not comply with the drawings which might influence the calculations, the contractor shall indicate this to OCHR through a letter or email before submitting the Offer.
4 | Mobilization, Demobilization and other temporary works required for the execution of the items listed above, plus site restoration will be the responsibility of the contractor. Hence all the unit prices are assumed to cover all activities associated with the works, and are not limited to those activities mentioned above, and that the total contract cost quoted is all inclusive to complete the total works.