## Filled
Afghanistan Cricket Board
Project Number |  |  | XXX
Project Title |  |  | Laghman Cricket Cricket ground
Location |  |  | Laghman Province
Project Budget |  |  | 0
This BoQ contains statements required in the offer documents and shall be signed by a duly authorized person. Any addition , deletion or alteration in the BoQ may result in rejection of the offer.
NO | Description | Unit | Quantity | Unit Cost | Total Cost
installation Solar system for Laghman Cricket Cricket ground.
Civil Work
1 | Solar Panel 550w new and Best quality. | Each | 44 |  | 0
2 | Invit 11-15 KVA Best quality. | Each | 2 |  | 0
3 | Solar stand for 8 solar panel Best quality With all related activity. | Each | 7 |  | 0
4 | Cable 2X6 Best quality Maghan. | Meter | 100 |  | 0
5 | Cable 3X4 Best quality Maghan. | Meter | 450 |  | 0
6 | Change over 100AH Best quality. | Each | 2 |  | 0
7 | Change over 100AH 3 phase Best quality. | Each | 2 |  | 0
8 | RCC for the solar stands Foundation With all related activity. | m3 | 5 |  | 0
9 | Installation of solar system With all related activity. | lump-sum | 1 |  | 0
10 | Invit box for the saftey of invit. | Each | 2 |  | 0
11 | Water submersible 5.5kw 7.5HP Best quality with all related activity. | Each | 1 |  | 0
12 | solar 300 w new and Best quality. | Each | 2 |  | 0
13 | solar stand for the 300 W solar with installation. | Each | 1 |  | 0
Grand Total/AFN |  |  |  |  | 0

## Empty (hidden)
Islamic Republic of Afghanistan Afghanistan Cricket Board
Project Number |  |  | XXX
Project Title |  |  | Kunar Cricket Ground
Location |  |  | Kunar Province
Project Budget |  |  | 0
This BoQ contains statements required in the offer documents and shall be signed by a duly authorized person. Any addition , deletion or alteration in the BoQ may result in rejection of the offer.
NO | Description | Unit of Measurement | Quantity | Unit Cost | Total Cost
Kundar Madrasa
Civil Work
1 | Excavation for foundations, curb and RCC pad. According to drawing, excavation including backfilling from suitable materials with all its related activities. | m3 | 5 |  | 0
2 | Gravel. According to drawing and technical specifications, crushed aggregates should be used within 12mm to 25 mm. And its related activities. | m3 | 1.67 |  | 0
3 | Plain Cement Concrete (PCC). According to drawing and technical specifications with all related activities. Its mark is 200 | m3 | 2.64 |  | 0
4 | Reinforced Concrete (RCC) (1:1:2). According to drawing and technical specifications, with all its related activities. Crushed aggregate should be used and mixing should be according to slump test. | m3 | 1 |  | 0
5 | Roof Structure: According to drawing and technical specifications, GI Sheets, Trusses, Purlins, Bracings, Water Drainage System and its related activities. | m2 | 19.2 |  | 0
6 | Fence: According to drawing and technical specification with all its related activities. Dia of mesh wire is 3mm | m2 | 49.2 |  | 0
7 | Columns: According to drawings and specification with all its related activities, metallic columns | m | 18 |  | 0
8 | Horizontal GI Pipes: According to drawings and specification with all its related activities, GI pipes | m | 19.4 |  | 0
9 | Door Bracings: According to drawings and specification with all its related activities, GI pipes | m | 6.6 |  | 0
Grand-Total of Kunar Madrasa |  |  |  |  | 0

## Volume (hidden)
Kunar Madrasa BoQ
S/No | DESCRIPTION OF ITEMS | UNIT | DIMENSIONS |  |  |  |  | VOLUME | QUANTITY
|  |  | LENGTH | WIDTH | HEIGHT | AREA | # NO
1 | EXCAVATION OF WALLS & BACK FILLING | M3 | 90 | 1.1 | 0.65 |  | 1 | 64.35 | 64.35
2 | STONE MASONRY | M3 | 90 | 0.7 | 1.05 |  | 1 | 66.15
| STONE MASONRY OF STAIRS | [6 empty] | 2.976
69.126
3 | POINTING OF EXTERIOR WALL | M2 | 44.4 |  | 0.3 |  | 1 | 13.32
| POINTING OF EXTERIOR WALL FOR STAIRS | [6 empty] | 5.94 | 19.26
4 | BLINDING CONCRETE (PCC) | M3 | 90 | 0.9 | 0.1 |  | 1 | 8.1
| BLINDING CONCRETE (PCC) UNDER STAIRS |  | 2.1 | 2 | 0.1 |  |  | 0.42
| PCC OF STAIRS | [6 empty] | 1.074
| PCC OF FLOOR |  | 0 | 0 | 0 |  | 1 | 25.981
| PCC OF FOOTPATH |  | 97.5 | 1 | 0.1 |  | 1 | 9.75 | 35.731
5 | RCC OF BOTTOM RING BEAM | M3 | 150.2 | 0.35 | 0.3 |  | 1 | 15.771
| RCC OF TOP EXTERIOR RING BEAM |  | 81.3 | 0.35 | 0.3 |  | 1 | 8.5365
| RCC OF TOP INTERIOR RING BEAM |  | 68.9 | 0.25 | 0.3 |  | 1 | 5.1675
29.475
6 | GRAVEL UNDER FLOOR | M3 | 0 | 0 | 0 |  | 1 | 25.981
| GRAVEL UNDER FOOTPATH |  | 97.5 | 1 | 0.1 |  | 1 | 9.75
| GRAVEL UNDER STAIRS |  | 2.1 | 2 | 0.1 |  | 1 | 0.42
36.151
7 | COMPACTED SOIL | M3 | 0 | 0 | 0 |  | 1 | 65
65
8 | BRICK MASONRY OF EXTERIOR WALLS | M3 | 0 | 0 | 0 |  | 1 | 54.047
| BRICK MASONRY OF INTERIOR WALLS |  | 0 | 0 | 0 |  | 1 | 42.817
| BRICK MASONRY OF PARAPET WALL |  | 0 | 0 | 0 |  | 1 | 12.62
109.484
9 | PLASTER OF EXTERIOR WALLS | M2 | 0 |  | 0 |  | 1 | 212.459
| PLASTER OF INTERIOR WALLS |  | 0 |  | 0 |  | 1 | 469.282
| PLASTER OF PARAPET WALL |  | 82.7 |  | 1.1 |  | 1 | 90.97
772.711
10 | IRON I BEAM | M | [5 empty] | 404.5 | 404.5
11 | PLANK WOODEN BOARD 3cm | M2 | [5 empty] | 276.01 | 276.01
12 | GHORAGAL SOIL 10cm | M3 | [5 empty] | 27.601 | 27.601
13 | POLYTHYLENE SHEET | M2 | [5 empty] | 304.47 | 304.47
14 | MORTAR 3cm | M3 | [5 empty] | 9.13 | 9.13
15 | CHAWKA (FIRE BRICKS) | M2 | [5 empty] | 304.47 | 304.47
16 | ISOGAM ONE LAYER | M2 | [5 empty] | 304.47 | 304.47
17 | WOODEN DOORS SINGLE PANEL (7 ONES) | M2 | [5 empty] | 18.2
| WOODEN DOORS DOUBLE PANELS (3 ONES) | [6 empty] | 15.6
33.8
18 | WOODEN WINDOWS (27 ONES) | M2 | [5 empty] | 55.08 | 55.08
19 | PAINTING OF EXTERIOR WALLS | M2 | [5 empty] | 285.47
| PAINTING OF INTERIOR WALLS | [6 empty] | 639.387
924.857
20 | ROOF WATER DRAINAGE | M | [5 empty] | 22.5 | 22.5
21 | ELECTRIC SYSTEM | LS | [5 empty] | 1 | 1

## Sheet1 (hidden)
153293