## BoQ For GREENHOUSE
COST ESTIMATION OF ONE GABBLE BIG GREENHOUSE SIZE( 40 X 9 X 3.25 Meter )
New Construction of Greenhouse in Mir ali Khel & Hussain khail Villages Surobi district, Kabul Province.
Item No | Description | Unit | Quantity | Unit cost [AFN] | Total Amount [AFN] | Remarks
A | A-MAIN ACTIVITY
1 | Civil Work - GREENHOUSE SIZE( 40 X 9 X 3.25 Meter )
1.01 | Excavation: for the foundations of the Greenhouse according to the drawing and specifications. | M3 | 3.2 | 0 | 0
1.02 | Plain cement concrete (1:2:4): for all greenhouse pillars and water tank pillars. | M3 | 3.2 | 0 | 0
1.03 | Prepare and installation: of galvanized pipe ( 2 inch, thickness 2mm ) for Stand (pillars) height 2 meter across four sides include door area (Made in Iran, Best Quality). | PCS (6 m) | 15 | 0 | 0
1.04 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) for stand (pillar) foundations height 60 cm across four sides include door area (Made in Iran, Best Quality). | PCS (6 m) | 4.3 | 0 | 0
1.05 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) for arcs 17 units length 9.7 meter (Made in Iran, Best Quality). | PCS (6 m) | 27.4833 | 0 | 0
1.06 | Prepare and installation: of galvanized pipe( 1.25 inch, thickness 2.5mm) for arc bottom, length 9 meter (Made in Iran, Best Quality). | PCS (6 m) | 25.5 | 0 | 0
1.07 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) for supporter height 1.25 meter vertical support to arc (Made in Iran, Best Quality). | PCS (6 m) | 3.5417 | 0 | 0
1.08 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) height 0.95 meter vertical support to arc (Made in Iran, Best Quality) | PCS (6 m) | 5.3833 | 0 | 0
1.09 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) length 1.6 Meter, inclined support to arc (Made in Iran, Best Quality) | PCS (6 m) | 9.0667 | 0 | 0
1.1 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) length 2 meter, horizontal supports of entrance to greenhouse. (Made in Iran, Best Quality) | PCS (6 m) | 1.6667 | 0 | 0
1.11 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) length 3 meter, horizontal support of entrance to greenhouse. (Made in Iran, Best Quality) | PCS (6 m) | 1 | 0 | 0
1.12 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) for top inclined frame of entrance to the greenhouse, length 1.7 meter . (Made in Iran, Best Quality) | PCS (6 m) | 1.1333 | 0 | 0
1.13 | Prepare and installation: of galvanized pipe ( 1.5 inch, thickness 2.5mm) for top inclined frame support, entrance to the greenhouse, length 0.75 meter . (Made in Iran, Best Quality) | PCS (6 m) | 0.125 | 0 | 0
1.14 | Prepare and installation: of galvanized pipe ( 1 inch, thickness 2.5mm) for horizontal Top & sides supporter length 40 meter. (Made in Iran, Best Quality) | PCS (6 m) | 60 | 0 | 0
1.15 | Prepare and installation: of galvanized pipe ( 1 inch, thickness 2.5mm) for horizontal short sides supporter length 9 meter. (Made in Iran, Best Quality) | PCS (6 m) | 3 | 0 | 0
1.16 | Prepare and installation: of galvanized pipe ( 3/4 inch, thickness 2.5mm) for Ventilation and plastic support length 40 meter (Made in Iran, Best Quality) | PCS (6 m) | 13.3333 | 0 | 0
1.17 | Prepare and installation: of galvanized pipe ( 3/4 inch, thickness 3mm) length 3 meter, diagonal support for stands at the end short side of greenhouse (Made in Iran, Best Quality). | PCS (6 m) | 2 | 0 | 0
1.18 | Prepare and installation: of galvanized pipe ( 3/4 inch, thickness 3mm) length 3.2 meter, diagonal support for stands at both start and end of long sides (Made in Iran, Best Quality). | PCS (6 m) | 2.1333 | 0 | 0
1.19 | Prepare and installation: of galvanized pipe ( 3/4 inch, thickness 3mm) length 3.6 meter, diagonal support for stands (Made in Iran, Best Quality). | PCS (6 m) | 1.2 | 0 | 0
1.2 | Prepare and installation: of galvanized pipe ( 1 inch, thickness 2.5mm) for support of plastic rolling pipe, length 1.5 meter (Made in Iran, Best Quality) | PCS (6 m) | 3.5 | 0 | 0
1.28 | Prepare and installation: of galvanized pipe for handle of plastic rolling (3/4 inch, thickness 3mm) length 1M (Made in Iran, Best Quality). | PCS (6 m) | 1 | 0 | 0
1.29 | Prepare and installation: of extra galvanized pipe( 3/4 inch, thickness 3mm) for joining GI pipes | PCS (6 m) | 2 | 0 | 0
| Prepare and installation: of galvanized pipe ( 2 inch, thickness 2mm ) for mettalic sign board | PCS (6 m) | 1.6667 | 0 | 0
| Prepare and installation: of GI sheet for mettalic sign board (1.5x1.2) gage 18 | M2 | 0.3 | 0 | 0
1.21 | Prepare and installation: Steel bar (dia=12mm), welded with GI pipe at each footing with all related works. | Kg | 10.878 | 0 | 0
1.22 | Prepare and installation: Ribbon (flat rope 3 cm width) | Meter | 230 | 0 | 0
1.23 | Prepare and installation: of PVC Clamp 1 inch with necessary works. | No | 360 | 0 | 0
1.24 | Prepare and installation: of PVC Clamp 3/4 inch with necessary works. | No | 720 | 0 | 0
1.25 | Prepare and installation: of Polyester Wire (2.2mm ) with necessary works. | Meter | 2000 | 0 | 0
1.26 | Prepare and installation: of galvanized Wire 2.8mm with necessary works. | kg | 28 | 0 | 0
1.27 | Prepare and installation: of galvanized Wire 1mm with necessary works. | kg | 5 | 0 | 0
1.3 | Provision and installation: of self drilling screw 1" hex washer head, including washer | Kg | 12 | 0 | 0
1.31 | Provision and installation: of self drilling screw 2" hex washer head, including washer | Kg | 2 | 0 | 0
| Sub Total |  |  |  | 0
B | B: Covering Materials
2 | B: Covering Materials
2.01 | Prepare and installation: of Plastic Sheet 220 mile micron 5% UV (9 Meter wide) according to the drawing with all necessary works | Meter | 70 | 0 | 0
2.02 | Prepare and installation: of Plastic Sheet 220 mile micron 5% UV (4 Meter wide) for Front and Back side according to the drawing with all necessary works | Meter | 30 | 0 | 0
2.03 | Prepare and installation: of Plastic Sheet 220 mile micron 5% UV (1 Meter wide) according to the drawing with all necessary works | Meter | 82 | 0 | 0
2.04 | Prepare and installation: of Green Net ( 2 Meter wide ) according to the drawing with all necessary works | Meter | 82 | 0 | 0
2.05 | Prepare and installation: of green Net ( 4 Meter wide ) for front and back side of GH according to the drawing with all necessary works | Meter | 30 | 0 | 0
2.06 | Prepare and installation: of Flexible Plastic hose pipe 16mm dia. For tighten of front and Back side of GH | Meter | 50 | 0 | 0
2.07 | Prepare and installation: of Screw nut for tying cover plastic with net (4 mm) | Kg | 2 | 0 | 0
| Sub Total |  |  |  | 0
C | C: Slide Door (2x1 and 2x1.5m) Installation
3 | C: Slide Door (2x1 and 2x1.5m) Installation
3.01 | Provision and installation: of galvanized pipe (1 inch, thickness 2.5mm) 6 meter according to the drawing with all necessary works. | PCS (6 m) | 2 | 0 | 0
3.02 | Provision and installation: of galvanized pipe (1 inch, thickness 2.5mm) 6m according to the drawing with all necessary works. | PCS (6 m) | 2.0833 | 0 | 0
3.03 | Prepare and installation: of C-Chanel 40x30x3 mm on top and bottom for slide door, Piece length 2 meter according to the drawing with all necessary works. | PCS (6 m) | 0.66667 | 0 | 0
3.04 | Prepare and installation: of C-Chanel 40x30x3 mm on top and bottom for slide door, Piece length 3 meter | PCS (6 m) | 1 | 0 | 0
3.05 | Prepare and installation: of Roller metallic for slide doors to operate the door inside c channel | Pcs | 8 | 0 | 0
3.06 | Prepare and installation: of Handle metallic for slide door | Pcs | 2 | 0 | 0
3.07 | Prepare and installation: of lock metallic for slide door with all necessary works. | Pcs | 2 | 0 | 0
3.08 | Perform: of oil painting for slide door with all necessary works. | Can | 2 | 0 | 0
| Sub Total |  |  |  | 0
D | D: Planting Materials
4 | D: Planting Materials
4.01 | Preparations: of Vegetable Seed F1 (hybrid) cucumber with all necessary works. | seed | 2000 | 0 | 0
4.02 | Preparations: of Cotton wire for plants tied with all necessary works. | kg | 20 | 0 | 0
4.03 | Provision: of Plug tray (Plastic) Good Quality (128 cell) with all necessary works. | tray | 30 | 0 | 0
4.04 | Preparations: of Peat moss (Compressed) with all necessary works. | kg | 340 | 0 | 0
4.05 | Preparations: of Fertilizer (Solid) 20-20-20 with all necessary works. | kg | 100 | 0 | 0
4.06 | Preparations: of Fertilizer (Solid )10-10-40 with all necessary works. | kg | 50 | 0 | 0
4.07 | Provision: of animal Manor with all necessary works. | trucks | 2 | 0 | 0
4.08 | Provision and installation: of Mulch (black color plastic) Made in Turkey with all necessary works. | 1 Meter (wide) | 240 | 0 | 0
4.09 | Provision: of Basket (plastic) good quality for harvesting with all necessary works. | Pcs | 15 | 0 | 0
4.1 | Provision: of Digital Thermometer (Temp + Humidity Time ) | set | 3 | 0 | 0
4.11 | Provision: of Yellow Stick for insect with all necessary works. | sheet | 10 | 0 | 0
4.12 | Provision: of Water Sprinkler 5 Liter Capacity for Irrigation Saplings with all necessary works. | set | 2 | 0 | 0
4.13 | Provision: of Chemical for insect and fungi. | Pockets | 3 | 0 | 0
4.14 | Provision: of Sprayer 16 Liter capacity | set | 1 | 0 | 0
4.15 | Provision: of Shovel | Pcs | 6 | 0 | 0
4.16 | Provision: of Wheel Barrow | Pcs | 1 | 0 | 0
4.17 | Provision: of Gardening Fork | Pcs | 2 | 0 | 0
4.18 | Provision: of Hedge shear | Pcs | 15 | 0 | 0
| Sub Total |  |  |  | 0
E | E: Stand for Water Reservoir
5 | E: Stand for Water Reservoir
5.01 | Leveling: of the site for stands of water reservoir and solar panels | lump sum | 1
5.02 | Provision and installation: Of angle Iron 60X60X4mm for Stand according to the drawing with all necessary works. | PCS (6 m) | 6.1333 | 0 | 0
5.03 | Provision and installation: Of angle Iron 40X40X3mm for X bracing according to the drawing with all necessary works. | PCS (6 m) | 6.3333 | 0 | 0
5.04 | Provision and installation: Of angle Iron 30x30x3mm for X bracing according to the drawing with all necessary works. | PCS (6 m) | 6.2167 | 0 | 0
5.05 | Provision and installation: Steel Plate 25 x 25cm, 5mm according to the drawing with all necessary works. | Pcs | 32 | 0 | 0
5.06 | Provision and installation: Wood (20x3) cm under water tank according to the drawing with all necessary works. | Meter | 12 | 0 | 0
5.07 | Provision and installation: Water Pump SOLAR PUMP 3NRL3.8/18-110-1300 4000R/M | Pcs | 1 | 0 | 0
5.08 | Provision and installation: ZRI 110V Solar Pump MPPT Controller Solar Water DC Pump Price List System 3Hp | Pcs | 1 | 0 | 0
5.09 | Provision and installation: Landscape plastic water tank 1000 lit | Pcs | 1 | 0 | 0
5.1 | Provision and installation: Solar Panels CP21-66HT670W, 660w, 49v, Mono Bifacial crystalline Hanersun European Brand. 30 years performance with (80% at 30th). | Panel | 3 | 0 | 0
5.11 | Provision and installation: Of stand for solar panels according to the drawing with all necessary works. | Pcs | 1 | 0 | 0
5.12 | Oil painting: of metallic sign board, stands for water reservoir and solar panel including writing on sign board. | lump sum | 1 | 0 | 0
| Sub Total |  |  |  | 0
F | F: Irrigation system Materials
6 | F: Irrigation system Materials
6.01 | HDPE pipe 2inch, Grade PE80 | Meter | 9 | 0 | 0
6.02 | End cap 2" Polyethylene, Grade PE80 | Pcs | 2 | 0 | 0
6.03 | Polyethylene saddle clamp 2 inch, Grade PE80 | Pcs | 12 | 0 | 0
6.04 | HDPE pipe tee 2"x1" | Pcs | 1 | 0 | 0
6.05 | HDPE reducer 2" to 1" | Pcs | 2 | 0 | 0
6.07 | Dripping pipe 16mm | Meter | 540 | 0 | 0
6.08 | Start barb connector for drip irrigation 16mm | Pcs | 12 | 0 | 0
6.09 | End cap for drip irrigation pipe 16mm | Pcs | 12 | 0 | 0
6.11 | PE elbow 90 degree, 1 inch | inch | 2 | 0 | 0
6.12 | HDPE pipe 2 inch, Grade PE80 12 bar from water tank to greenhouse | Meter | 30 | 0 | 0
6.13 | HDPE pipe 1inch, Grade PE80 12 bar from water source to water tank | Meter | 50 | 0 | 0
6.14 | White tafton tape | Pcs | 10 | 0 | 0
6.15 | PVC Valve 1 inch | Pcs | 2 | 0 | 0
6.16 | Polyethylene filter 2 inch | Pcs | 1 | 0 | 0
| Fertilizer tank PVC | Pcs | 1 | 0 | 0
| Sub Total |  |  |  | 0
G | G: Miscellaneous
2 | G: Miscellaneous
2.01 | Greenhouse manufacturing cost | lump sum | 1
2.02 | Greenhouse Installation Cost | lump sum | 1 | 0 | 0
2.03 | Transportation Cost of Materials | lump sum | 1 | 0 | 0
2.04 | Training to beneficiaries and plantation Cost (Land preparation, leveling, fertilization and plantation) | lump sum | 1 | 0 | 0
2.05 | Provision and installation: Of metalic sign-board | pcs | 1 | 0 | 0
Sub-Total of Miscellaneous |  |  |  |  | 0
Budget Summary of GREENHOUSE SIZE( 40 X 9 X 3.25 Meter ) Construction Project
Code | Description | Unit | Qty | Unit Cost(Afg) | Total Cost (Afg) | Remark
A | Construction of A-Main Activity | Pcs | 3 | 0 | 0
B | Construction of B - Covering Materials | Pcs | 3 | 0 | 0
C | Construction of Slide Door C- (2x1 and 2x1.5m) Installation | Pcs | 3 | 0 | 0
D | Construction of D - Planting Materials | Pcs | 3 | 0 | 0
E | Construction of E-Stand for Water Reservoir | Pcs | 3 | 0 | 0
F | Installation of F- Irrigation system Materials | Pcs | 3 | 0 | 0
G | Construction of G - Miscellaneous | Pcs | 3 | 0 | 0
Grand Total OF GREENHOUSE SIZE( 40 X 9 X 3.25 Meter ) |  |  |  |  | 0
Including all tax according to income tax manual of Ministry of Finance ; government of Afghanistan
Company Name
Date
Signature
Stamp
Total Cost
Total Price in Words

## Quantites Sheet
Quantities Calculation
Project Name: Construction of Greenhouse
Location: Hussain Khail Village, Sorubi District, Kabul Province, Afghanistan
Subject: Quantities Calculation
Date: 23 June 2019 | 2024-01-15
No. | Items | Unit | No | Length (m) | Width (m) | Height (m) | Total
1 | Excavation for Foundation
1.01 | Foundation of greenhouse pillars | m3 | 43 | 0.4 | 0.4 | 0.4 | 2.752
1.02 | Foundation of water tank | m3 | 4 | 0.4 | 0.4 | 0.5 | 0.32
1.03 | Foundation of metallic sign board | m3 | 2 | 0.4 | 0.4 | 0.4 | 0.128
| Total | [5 empty] | 3.2
2 | PCC (1:2:4) for Footings
2.01 | Footings of greenhouse | m3 | 43 | 0.4 | 0.4 | 0.4 | 2.752
2.02 | Footings of water tank | m3 | 4 | 0.4 | 0.4 | 0.5 | 0.32
2.03 | Footings of metallic sign board | m3 | 2 | 0.4 | 0.4 | 0.4 | 0.128
| Total | [5 empty] | 3.2
3 | GI Pipe Structure of Greenhouse
3.01 | GI Pipe ( 2 inch, thickness 2mm ) for Stand (pillars) height 2M | PCS(6m) | 45 | 1 | 1 | 2 | 15
3.02 | GI Pipe ( 1.5 inch, thickness 2.5mm) for Stand height 60 cm | PCS(6m) | 43 | 1 | 1 | 0.6 | 4.3
3.03 | GI Pipe ( 1.5 inch, thickness 2.5mm) for arc Length 9.7 m | PCS(6m) | 17 | 9.7 | 1 | 1 | 27.4833
3.04 | GI Pipe( 1.25 inch, thickness 2.5mm) for arc bottom Length 9 M | PCS(6m) | 17 | 9 | 1 | 1 | 25.5
3.05 | GI Pipe ( 1.5 inch, thickness 2.5mm) for support of arc height 1.25 M | PCS(6m) | 17 | 1.25 | 1 | 1 | 3.5417
3.06 | GI Pipe ( 1.5 inch, thickness 2.5mm) for arc support, height 0.95 M | PCS(6m) | 34 | 0.95 | 1 | 1 | 5.3833
3.07 | GI Pipe ( 1.5 inch, thickness 2.5mm) for inclind support of arc, length 1.6 M | PCS(6m) | 34 | 1.6 | 1 | 1 | 9.0667
3.08 | GI Pipe ( 1.5 inch) for supporter frame 2 M, enterance to greenhouse | PCS(6m) | 5 | 2 | 1 | 1 | 1.6667
3.09 | GI Pipe ( 1.5 inch) for supporter frame 3 M, enterance to greenhouse | PCS(6m) | 2 | 3 | 1 | 1 | 1
3.1 | GI Pipe ( 1.5 inch) for top frame 1.7 M, enterance to greenhouse | PCS(6m) | 4 | 1.7 | 1 | 1 | 1.1333
3.11 | GI Pipe ( 1.5 inch) for top frame support 0.75 M, enterance to greenhouse | PCS(6m) | 1 | 0.75 | 1 | 1 | 0.125
3.12 | GI Pipe ( 1 inch, thickness 2.5mm) for Top and sides supporter Length 40 M | PCS(6m) | 9 | 40 | 1 | 1 | 60
3.13 | GI Pipe ( 1 inch, thickness 2.5mm) for both short sides Length 9 M | PCS(6m) | 2 | 9 | 1 | 1 | 3
3.14 | GI Pipe ( 3/4 inch) for Ventilation Length 40 M | PCS(6m) | 2 | 40 | 1 | 1 | 13.3333
3.15 | GI Pipe ( 3/4 inch, thickness 3mm) for supporter Length 3 M at short end side of greenhouse. | PCS(6m) | 4 | 3 | 1 | 1 | 2
3.16 | GI Pipe ( 3/4 inch, thickness 3mm) for supporter Length 3.2 M at both start and end of long sides. | PCS(6m) | 4 | 3.2 | 1 | 1 | 2.1333
3.17 | GI Pipe ( 3/4 inch, thickness 3mm) for supporter Length 3.6 M | PCS(6m) | 2 | 3.6 | 1 | 1 | 1.2
3.18 | GI Pipe (1 inch, thickness 2.5mm) for support of plastic rolling pipe, length 1.5 M | PCS(6m) | 14 | 1.5 | 1 | 1 | 3.5
3.19 | GI Pipe (2 inch, thickness 2 mm) for metallic sign board | PCS(6m) | 1 | 10 | 1 | 1 | 1.6667
3.2 | GI sheet for mettalic sign board (1.5x1.2) gage 18 | M2 | 1 | 1.5 | 1.2 | 1 | 0.3
3.21 | Steel bar (dia=12mm), welded with GI pipe at each footing | KG | 49 | 0.25 | 1 | 1 | 10.878
4 | Covering Materials
4.01 | Plastic sheet 9 m width for top and long sides | M | 5 | 14 | 1 | 1 | 70
4.02 | Plastic sheet 4 m width for short sides of greenhouse including enterance | M | 3 | 10 | 1 | 1 | 30
4.03 | Plastic sheet 1 m width for long sides | M | 2 | 41 | 1 | 1 | 82
4.04 | Green net both long sides for ventilation, width 2m | M | 2 | 41 | 1 | 1 | 82
4.05 | Green net both shortsides for ventilation and enterance, width 4m | M | 3 | 10 | 1 | 1 | 30
5 | Slide Doors (2x1 and 2x1.5m)
5.01 | GI pipe vertical (1 inch, thickness 2.5mm), height 2m | PCS(6m) | 6 | 2 | 1 | 1 | 2
5.02 | GI pipe horizental (1 inch, thickness 2.5mm), length 1m & 1.5m | PCS(6m) | 5 | 2.5 | 1 | 1 | 2.0833
| C-Chanel 40x30x3 mm on top and bottom for slide door, Piece length 2 meter | PCS(6m) | 2 | 2 | 1 | 1 | 0.66667
| C-Chanel 40x30x3 mm on top and bottom for slide door, Piece length 3 meter | PCS(6m) | 2 | 3 | 1 | 1 | 1
6 | Stand for Water Reservoir
6.01 | Angle Iron 60X60X4mm for Stand of pillar, and middle and top rings | PCS(6m) | 4 | 1 | 1 | 9.2 | 6.1333
6.02 | Angle Iron 40X40X3mm for X bracing | PCS(6m) | 8 | 4.75 | 1 | 1 | 6.3333
6.03 | Angle Iron 30x30x3mm
6.04 | Under water tank and hand rail top | PCS(6m) | 9 | 1.5 | 1 | 1 | 2.25
6.05 | veritcal bars for handrail | PCS(6m) | 24 | 0.5 | 1 | 1 | 2
6.06 | Ladder tow sides | PCS(6m) | 2 | 3.2 | 1 | 1 | 1.0667
6.07 | Ladder steps | PCS(6m) | 9 | 0.6 | 1 | 1 | 0.9
[5 empty] | Total |  | 6.2167