## Annex 2 fin. offer form
Annex 2: Financial Offer Form
Company Name and Address:
RFQ/ITB Ref. No.: |  |  | RSDO-JPF-NICCO-24-04
Closing Date: |  |  | 2024-05-05
Contact Person:
Buyer: |  | Razi Social Development Organization (RSDO)
Inco Term: |  |  | Duty Delivered Paid (DDP)
Announcement Date: |  |  | 2024-04-25 |  | Validity of offer: 30 Days after submission
Closing Date: |  |  | 2024-05-05
Tender Dossier Delivery Address: |  |  | RSDO Sub office in Kandahar province, Ayno Mina, 11th District, Ayno-mine 25- House Number# 813, Kandahar Afghanistan
Duty Station |  |  | 1) Kandahar city (two Deep well) 2) Daman District (two Deep well) 3) Zheray district (two Deep well)
Please give full specifications of offered goods. Specify country of origin.
Item No. |  | Item Description |  |  |  | Unit | Qty | Unit Price AFN | Total AFN
Drilling Deep well (70 meters deep) in Kandahar City (Two Deep Well)
1 |  | Site Preparation of proposed area |  |  |  | M2 | 68
2 | 2 | Well drilling with a percussion machine with 13" dia depends on soil texture |  |  |  | M | 70
3 |  | PVC Casing Pipe 8" dia, (P10) as pre technical specification in the Scope of Work Annex4. | PVC Casing Pipe 8" dia, high quality (P10) | PVC Casing Pipe 8" dia, high quality (P10) | PVC Casing Pipe 8" dia, high quality (P10) | M | 52.5
4 | 2 | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | M | 17.5
5 |  | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | M3 | 6.5
6 | 2 | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | M3 | 1
7 |  | Steel Plate for Well Cover including 3 cot painting, PCC around the Steel Plate, High Quality Lock and all needed Accessories. (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | LS | 1
Sub Total:
Suply and Instllation of Solar systms in Kandahar City (Two Deep Well)
8 | 7 | Supply and installation of Submersible pump Donqin (3 HP), 2 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well as Pre Technical specification in the Scope of Work annex 4. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | No | 1
9 | 7 | Supply and Installation of high-quality Polycrystalline Solar Panels (430 Watt) Grad A (With 15 years Warranty) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | No | 12
10 | 7 | Supply and Installation of Inverter 5 KW as Pre Technical specification in the Scope of Work annex 4. | Supply and Installation of Inverter 3 KW | Supply and Installation of Inverter 3 KW | Supply and Installation of Inverter 3 KW | No | 1
11 | 7 | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | L.S | 1
12 | 7 | RCC Foundation for the frame of Solar Panels with all required activities (including 6 steel bar 14 MM, 1.5 Meter Hight from G.L) | RCC Foundation for the frame of Solar Panels with all required activities | RCC Foundation for the frame of Solar Panels with all required activities | RCC Foundation for the frame of Solar Panels with all required activities | L.S | 1
13 | 7 | Fundation and Frame for Solar Panels made from Iron Box and other required materials for 12 Solar Panels. | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | L.S | 1
14 | 7 | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 2 inch (P10) as Pre Technical specification in the Scope of Work annex4. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | M | 120
15 | 7 | Supply and installation of Electric cable for water pump.( 2.5 mm as Pre Technical specification in the Scope of Work annex 4). | Supply and installation of Electric cable for water pump. | Supply and installation of Electric cable for water pump. | Supply and installation of Electric cable for water pump. | M | 120
16 | 7 | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | M | 75
17 | 7 | Supply and Installation of Metallic Box for invertor and other swiches | Supply and Installation of Metallic Box | Supply and Installation of Metallic Box | Supply and Installation of Metallic Box | L.S | 1
18 | 7 | Ground rod with electric copper Cable, Water pipes from deep well to reservior for all system (Solar Panels and pump) and back filling of rod |  |  |  | M3 | 50
Sub Total:
Instllation of Metal Reseviors in Kandahar City (Two Deep Well)
19 |  | Metal/Galvanzid Reservoir (10,000 liters) with 4 mm thickness, foundation, 3 cot painting inside and outside of the Reservoir, as detailed in the drawings and Scope of Work. |  |  |  | L.S | 1
20 |  | Metal base for Water Reservior 5 meter Height ( Iron Box 14 x 14 cm steel 4 mm with at least 50 Kg weightand 3 cot painting) as detailed in the drawings and Scope of Work. | Stone Masonry Base for water storage (Reservoir) | Stone Masonry Base for water storage (Reservoir) | Stone Masonry Base for water storage (Reservoir) | L.S | 1
21 |  | RCC Foundation for Metal base with all required activities (M200 1, 1.5, 3) as detailed in the drawings and Scope of Work. |  |  |  | m3 | 4.6
22 |  | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | LS | 1
Sub Total:
Constructing Washing Stations in Kandahar City (Two Deep Well)
23 |  | PCC for Hand Wash Station Area (M150) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | M3 | 3
24 |  | Brick Masonry for Structure of Hand Wash Station with 0.2 m thickness | Brick Masonry for Structure of Hand Wash Station | Brick Masonry for Structure of Hand Wash Station | Brick Masonry for Structure of Hand Wash Station | M3 | 4
25 |  | High quality Tile with 1:3 mortar, for Hand Wash Station area as detailed in the drawings and Scope of Work. | High quality Tile with 1:3 mortar, for Hand Wash Station area | High quality Tile with 1:3 mortar, for Hand Wash Station area | High quality Tile with 1:3 mortar, for Hand Wash Station area | M2 | 43
26 |  | Supply and installation of PPR Pipe 1.5 and 2 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all accessories. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | M | 35
27 |  | Supply and installation of high quality brass water faucet 3/4 inch as detailed in the Scope of Work. | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | No | 16
28 |  | Supply and installation three way plastic control vales |  |  |  | NO | 3
29 |  | Supply and installation of PPR Pipe 2“inch for Hand wash Station including tops, elbow, connector and end caps with all accessories as detailed in the drawings and Scope of Work. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | M | 5
30 |  | Construction of manhole on Deep well for protection of water and pump equipment |  |  |  | L.S | 2
31 |  | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all accessories. | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | M | 6
32 |  | Excavation of Pit (0.9 m Dia, Depth: 6m) for waste water of Hand Wash Basin, including Cemented Protector in the Well (cemented Nai with 0.9 m Dia) and RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | L.S | 1
33 |  | Construction of Steel shades on the Water Station with diameter of 3 Meter width and 6 Meters length and 2.20 Meter Hight. (Steel Galwanized 0.5 MM Thickness including 3 Cot Paintings and all Accessories). As per the Drawing. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | L.S | 1
Sub Total:
BoundaryWall for Solar panels in Kandahar City (Two Deep Well)
34 |  | Stone masonry faundataion for Boundary wall with pointing as detailed in the Drawings. |  |  |  | m3 | 8
35 |  | Fence Wall with GI-Pipes 3" & 2" .Barbed wire (D-3mm 50 ) Chain-link fabric(3cmx7cm) and fencing Gate as detailed in the Drawings. |  |  |  | m2 | 48.8
36 |  | Malber white first grade Stone sign Board of the project donor and implementers of the project including all needed accessories. ( 50 x 70 Cm) |  |  |  | L.S | 1
Sub Total:
Drilling Deep well (70 meters deep) in Daman District (Two Deep Well)
34 |  | Site Preparation of proposed area |  |  |  | M2 | 68
35 | 2 | Well drilling with a percussion machine with 13" dia depends on soil texture |  |  |  | M | 70
36 |  | PVC Casing Pipe 8" dia, (P10) as pre technical specification in the Scope of Work Annex4. | PVC Casing Pipe 8" dia, high quality (P10) | PVC Casing Pipe 8" dia, high quality (P10) | PVC Casing Pipe 8" dia, high quality (P10) | M | 52.5
37 | 2 | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | M | 17.5
38 |  | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | M3 | 6.5
39 | 2 | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | M3 | 1
40 |  | Steel Plate for Well Cover including 3 cot painting, PCC around the Steel Plate, High Quality Lock and all needed Accessories. (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | LS | 1
Sub Total:
Suply and Instllation of Solar systms in Daman District (Two Deep Well)
41 | 7 | Supply and installation of Submersible pump Donqin (3 HP), 2 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well as Pre Technical specification in the Scope of Work annex 4. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | No | 1
42 | 7 | Supply and Installation of high-quality Polycrystalline Solar Panels (430 Watt) Grad A (With 15 years Warranty) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | No | 12
43 | 7 | Supply and Installation of Inverter 5 KW as Pre Technical specification in the Scope of Work annex 4. | Supply and Installation of Inverter 3 KW | Supply and Installation of Inverter 3 KW | Supply and Installation of Inverter 3 KW | No | 1
44 | 7 | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | L.S | 1
45 | 7 | RCC Foundation for the frame of Solar Panels with all required activities (including 6 steel bar 14 MM, 1.5 Meter Hight from G.L) | RCC Foundation for the frame of Solar Panels with all required activities | RCC Foundation for the frame of Solar Panels with all required activities | RCC Foundation for the frame of Solar Panels with all required activities | L.S | 1
46 | 7 | Fundation and Frame for Solar Panels made from Iron Box and other required materials for 12 Solar Panels. | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | L.S | 1
47 | 7 | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 2 inch (P10) as Pre Technical specification in the Scope of Work annex4. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | M | 120
48 | 7 | Supply and installation of Electric cable for water pump.( 2.5 mm as Pre Technical specification in the Scope of Work annex 4). | Supply and installation of Electric cable for water pump. | Supply and installation of Electric cable for water pump. | Supply and installation of Electric cable for water pump. | M | 120
49 | 7 | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | M | 75
50 | 7 | Supply and Installation of Metallic Box for invertor and other swiches | Supply and Installation of Metallic Box | Supply and Installation of Metallic Box | Supply and Installation of Metallic Box | L.S | 1
51 | 7 | Ground rod with electric copper Cable, Water pipes from deep well to reservior for all system (Solar Panels and pump) and back filling of rod |  |  |  | M3 | 50
Sub Total:
Instllation of Metal Reseviors in Daman District (Two Deep Well)
52 |  | Metal/Galvanzid Reservoir (10,000 liters) with 4 mm thickness, foundation, 3 cot painting inside and outside of the Reservoir, as detailed in the drawings and Scope of Work. |  |  |  | L.S | 1
53 |  | Metal base for Water Reservior 5 meter Height ( Iron Box 14 x 14 cm steel 4 mm with at least 50 Kg weightand 3 cot painting) as detailed in the drawings and Scope of Work. | Stone Masonry Base for water storage (Reservoir) | Stone Masonry Base for water storage (Reservoir) | Stone Masonry Base for water storage (Reservoir) | L.S | 1
54 |  | RCC Foundation for Metal base with all required activities (M200 1, 1.5, 3) as detailed in the drawings and Scope of Work. |  |  |  | m3 | 4.6
55 |  | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | LS | 1
Sub Total:
Constructing Washing Stations in Daman District (Two Deep Well)
56 |  | PCC for Hand Wash Station Area (M150) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | M3 | 3
57 |  | Brick Masonry for Structure of Hand Wash Station with 0.2 m thickness | Brick Masonry for Structure of Hand Wash Station | Brick Masonry for Structure of Hand Wash Station | Brick Masonry for Structure of Hand Wash Station | M3 | 4
58 |  | High quality Tile with 1:3 mortar, for Hand Wash Station area as detailed in the drawings and Scope of Work. | High quality Tile with 1:3 mortar, for Hand Wash Station area | High quality Tile with 1:3 mortar, for Hand Wash Station area | High quality Tile with 1:3 mortar, for Hand Wash Station area | M2 | 43
59 |  | Supply and installation of PPR Pipe 1.5 and 2 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all accessories. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | M | 35
60 |  | Supply and installation of high quality brass water faucet 3/4 inch as detailed in the Scope of Work. | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | No | 16
61 |  | Supply and installation three way plastic control vales |  |  |  | NO | 3
62 |  | Supply and installation of PPR Pipe 2“inch for Hand wash Station including tops, elbow, connector and end caps with all accessories as detailed in the drawings and Scope of Work. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | M | 5
63 |  | Construction of manhole on Deep well for protection of water and pump equipment |  |  |  | L.S | 2
64 |  | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all accessories. | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | M | 6
65 |  | Excavation of Pit (0.9 m Dia, Depth: 6m) for waste water of Hand Wash Basin, including Cemented Protector in the Well (cemented Nai with 0.9 m Dia) and RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | L.S | 1
66 |  | Construction of Steel shades on the Water Station with diameter of 3 Meter width and 6 Meters length and 2.20 Meter Hight. (Steel Galwanized 0.5 MM Thickness including 3 Cot Paintings and all Accessories). As per the Drawing. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | L.S | 1
Sub Total:
Baundry Wall for Solar panels in Daman District (Two Deep Well)
67 |  | Stone masonry faundataion for Boundary wall with pointing as detailed in the Drawings. |  |  |  | m3 | 8
68 |  | Fence Wall with GI-Pipes 3" & 2" .Barbed wire (D-3mm 50 ) Chain-link fabric(3cmx7cm) and fencing Gate as detailed in the Drawings. |  |  |  | m2 | 48.8
69 |  | Malber white first grade Stone sign Board of the project donor and implementers of the project including all needed accessories. ( 50 x 70 Cm) |  |  |  | L.S | 1
Sub Total:
Drilling Deep well (70 meters deep) in Zheray District (Two Deep Well)
70 |  | Site Preparation of proposed area |  |  |  | M2 | 68
71 |  | Well drilling with a percussion machine with 13" dia depends on soil texture |  |  |  | M | 70
72 |  | PVC Casing Pipe 8" dia, (P10) as pre technical specification in the Scope of Work Annex4. | PVC Casing Pipe 8" dia, high quality (P10) | PVC Casing Pipe 8" dia, high quality (P10) | PVC Casing Pipe 8" dia, high quality (P10) | M | 52.5
73 |  | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | PVC Filter Pipe 8" dia Class C, opening area does not exceed 25% of total area. | M | 17.5
74 |  | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | Gravel Packing based on soil texture, Gravel sized from 3mm to 6mm according to the soil texture, as per advice Supervision Team | M3 | 6.5
75 |  | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | Backfilling of Casing Pipe with soft Clay without any gravel | M3 | 1
76 |  | Steel Plate for Well Cover including 3 cot painting, PCC around the Steel Plate, High Quality Lock and all needed Accessories. (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | Steel Plate for Well Cover (60 CM * 60 CM) | LS | 1
Sub Total:
Suply and Instllation of Solar systms in Zheray District (Two Deep Well)
77 | 7 | Supply and installation of Submersible pump Donqin (3 HP), 2 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well as Pre Technical specification in the Scope of Work annex 4. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | Supply and installation of Submersible pump Donqin ( 4.8 HP ), 1.5 KW , 2” inch (28 Rotor , flow Rate 100-120 L/ Min from 120 m deep well with best quality. | No | 1
78 | 7 | Supply and Installation of high-quality Polycrystalline Solar Panels (430 Watt) Grad A (With 15 years Warranty) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | Supply and Installation of high-quality Polycrystalline Solar Panels (300 Watt) | No | 12
79 | 7 | Supply and Installation of Inverter 5 KW as Pre Technical specification in the Scope of Work annex 4. | Supply and Installation of Inverter 3 KW | Supply and Installation of Inverter 3 KW | Supply and Installation of Inverter 3 KW | No | 1
80 | 7 | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | Running sensor, Electrical conduit pipe, Auto fuses AC/DC and Earthing | L.S | 1
81 | 7 | RCC Foundation for the frame of Solar Panels with all required activities (including 6 steel bar 14 MM, 1.5 Meter Hight from G.L) | RCC Foundation for the frame of Solar Panels with all required activities | RCC Foundation for the frame of Solar Panels with all required activities | RCC Foundation for the frame of Solar Panels with all required activities | L.S | 1
82 | 7 | Fundation and Frame for Solar Panels made from Iron Box and other required materials for 12 Solar Panels. | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | Frame for Solar Panels made from Iron Box and other required materials for 8 Solar Panels | L.S | 1
83 | 7 | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 2 inch (P10) as Pre Technical specification in the Scope of Work annex4. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | Supply and installation of Pump discharge Poly Ethylene (PE) pipe size 1.5 inch. | M | 120
84 | 7 | Supply and installation of Electric cable for water pump.( 2.5 mm as Pre Technical specification in the Scope of Work annex 4). | Supply and installation of Electric cable for water pump. | Supply and installation of Electric cable for water pump. | Supply and installation of Electric cable for water pump. | M | 120
85 | 7 | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | Supply and Installation of Steel Cable (10mm) | M | 75
86 | 7 | Supply and Installation of Metallic Box for invertor and other swiches | Supply and Installation of Metallic Box | Supply and Installation of Metallic Box | Supply and Installation of Metallic Box | L.S | 1
87 | 7 | Ground rod with electric copper Cable, Water pipes from deep well to reservior for all system (Solar Panels and pump) and back filling of rod |  |  |  | M3 | 50
Sub Total:
Instllation of Metal Reseviors in Zheray District (Two Deep Well)
88 |  | Metal/Galvanzid Reservoir (10,000 liters) with 4 mm thickness, foundation, 3 cot painting inside and outside of the Reservoir, as detailed in the drawings and Scope of Work. |  |  |  | L.S | 1
89 |  | Metal base for Water Reservior 5 meter Height ( Iron Box 14 x 14 cm steel 4 mm with at least 50 Kg weightand 3 cot painting) as detailed in the drawings and Scope of Work. | Stone Masonry Base for water storage (Reservoir) | Stone Masonry Base for water storage (Reservoir) | Stone Masonry Base for water storage (Reservoir) | L.S | 1
90 |  | RCC Foundation for Metal base with all required activities (M200 1, 1.5, 3) as detailed in the drawings and Scope of Work. |  |  |  | m3 | 4.6
91 |  | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | Provision of Glass Wool for water tank and outside pipes | LS | 1
Sub Total:
Constructing Washing Stations in Zheray District (Two Deep Well)
92 |  | PCC for Hand Wash Station Area (M150) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | PCC for Hand Wash Station Area (M200) (Thickness: 0.1m) | M3 | 3
93 |  | Brick Masonry for Structure of Hand Wash Station with 0.2 m thickness | Brick Masonry for Structure of Hand Wash Station | Brick Masonry for Structure of Hand Wash Station | Brick Masonry for Structure of Hand Wash Station | M3 | 4
94 |  | High quality Tile with 1:3 mortar, for Hand Wash Station area as detailed in the drawings and Scope of Work. | High quality Tile with 1:3 mortar, for Hand Wash Station area | High quality Tile with 1:3 mortar, for Hand Wash Station area | High quality Tile with 1:3 mortar, for Hand Wash Station area | M2 | 43
95 |  | Supply and installation of PPR Pipe 1.5 and 2 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all accessories. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 1/2 and 3/4 inch from water tank to Hand wash Station including as tops, elbow, ,connector and end caps with all requirements.. | M | 35
96 |  | Supply and installation of high quality brass water faucet 3/4 inch as detailed in the Scope of Work. | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | Supply and installation of high quality Hand Wash Basin including high quality Water Tape | No | 16
97 |  | Supply and installation three way plastic control vales |  |  |  | NO | 3
98 |  | Supply and installation of PPR Pipe 2“inch for Hand wash Station including tops, elbow, connector and end caps with all accessories as detailed in the drawings and Scope of Work. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | Supply and installation of PPI Pipe 3“inch for Hand wash Station including tops, elbow, ,connector and end caps with all requirements.. | M | 5
99 |  | Construction of manhole on Deep well for protection of water and pump equipment |  |  |  | L.S | 2
100 |  | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all accessories. | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | Supply and installation of PVC Pipe 3'' inch for waste water of Hand Wash Station, including all requirements | M | 6
101 |  | Excavation of Pit (0.9 m Dia, Depth: 6m) for waste water of Hand Wash Basin, including Cemented Protector in the Well (cemented Nai with 0.9 m Dia) and RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | L.S | 1
102 |  | Construction of Steel shades on the Water Station with diameter of 3 Meter width and 6 Meters length and 2.20 Meter Hight. (Steel Galwanized 0.5 MM Thickness including 3 Cot Paintings and all Accessories). As per the Drawing. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | Excavation of Pit (0.9 Dia, Depth: 6m) for waste water of Hand Wash Basin, including a RCC plate for top of Pit. | L.S | 1
Sub Total:
Baundry Wall for Solar panels in Zheray District (Two Deep Well)
103 |  | Stone masonry faundataion for Boundary wall with pointing as detailed in the Drawings. |  |  |  | m3 | 8
104 |  | Fence Wall with GI-Pipes 3" & 2" .Barbed wire (D-3mm 50 ) Chain-link fabric(3cmx7cm) and fencing Gate as detailed in the Drawings. |  |  |  | m2 | 48.8
105 |  | Malber white first grade Stone sign Board of the project donor and implementers of the project including all needed accessories. ( 50 x 70 Cm) |  |  |  | L.S | 1
Sub Total:
:Grand Total including Transportation cost, stocking and 2% Tax/ قیمت مجموعی به شمول هزینه های انتقال ُ گدام داری و مالیه۲٪
This offer has been prepared in accordance with Project Drawing, TOR and Scope of Work Annexes (1, 2, 3, & 4).
Name and Title:
Signature: