## Items List
No | Product name | Qty | Unit | Condition | Location | Unite Price - AFN | Total Price - AFN
1 | E1 Cable | 5 | Pcs | Unusable | KBL MSC01-Warehouse
2 | Accessory ZXSDR BS8800 U240 Installation Kit | 4 | Pcs | Unusable | KBL MSC01-Warehouse
3 | AISG TMA Auxiliary Material Kit (Not Included TMA), GU | 3 | Pcs | Unusable | KBL MSC01-Warehouse
4 | Grounding Plate | 51 | Pcs | Unusable | KBL MSC01-Warehouse
5 | IA ( NF/A ) Accessory | 5 | Pcs | Unusable | KBL MSC01-Warehouse
6 | MW Monitor | 24 | Pcs | Unusable | KBL MSC01-Warehouse
7 | ZXR10 8905 Main Rack DC Rack Assembly | 1 | Pcs | Unusable | KBL MSC01-Warehouse
8 | ZXSDR BS8908 G060 Outdoor GSM Micro BTS | 1 | Pcs | Unusable | KBL MSC01-Warehouse
9 | 10x200G Tapre/SCSI Cordscsi Cable /Raukit | 12 | Pcs | Unusable | KBL MSC01-Warehouse
10 | Battery 12V 100Amp | 8 | Pcs | Unusable | KBL MSC01-Warehouse
11 | CDUG | 20 | Pcs | Unusable | KBL MSC01-Warehouse
12 | Conventional Fixed Temperature Heat Detector | 28 | Pcs | Unusable | KBL MSC01-Warehouse
13 | Digital Distribution Frame | 11 | Pcs | Unusable | KBL MSC01-Warehouse
14 | Door Closer | 2 | Pcs | Unusable | KBL MSC01-Warehouse
15 | Entire Press Plate 624485000101 VI.4 | 48 | Pcs | Unusable | KBL MSC01-Warehouse
16 | IDC Tool | 1 | Pcs | Unusable | KBL MSC01-Warehouse
17 | ZTE Products Dacumintation CD - R/700mb | 4 | Pcs | Unusable | KBL MSC01-Warehouse
18 | Xeon E5645 Server - 03053404 | 2 | Pcs | Unusable | KBL MSC01-Warehouse
19 | Xeon E5645 Server - 03053401 | 10 | Pcs | Unusable | KBL MSC01-Warehouse
20 | Xeon E5645 Server - 03053402 | 2 | Pcs | Unusable | KBL MSC01-Warehouse
21 | Wrist Strap | 4 | Pcs | Unusable | KBL MSC01-Warehouse
22 | Wiring ladder Accessories And Consumable Kit | 4 | Pcs | Unusable | KBL MSC01-Warehouse
23 | PNMTJ Installation Disk | 1 | Pcs | Unusable | KBL MSC01-Warehouse
24 | CSP Expansion Auxiliary Materials Package | 2 | Pcs | Unusable | KBL MSC01-Warehouse
25 | CSP Expansion Auxiliary Materials Package | 4 | Pcs | Unusable | KBL MSC01-Warehouse
26 | Enhanced Service Processing Unit/(03052293)KW-ESPU | 2 | Pcs | Unusable | KBL MSC01-Warehouse
27 | Entire Press Plate | 4 | Pcs | Unusable | KBL MSC01-Warehouse
28 | Fiber Rolling Plate | 1 | Pcs | Unusable | KBL MSC01-Warehouse
29 | HUAWEI SGSN9810 Serving GPRS Support Node Product Documentat | 1 | Pcs | Unusable | KBL MSC01-Warehouse
30 | N68E/N610E Every Cabinet Must Fit Out Project Dressing Packa | 1 | Pcs | Unusable | KBL MSC01-Warehouse
31 | 12 Port 100/1000Base-X SF | 4 | Pcs | Unusable | KBL MSC01-Warehouse
32 | GGSN11 Loctio GGSN9811 For Module Network | 2 | Pcs | Unusable | KBL MSC01-Warehouse
33 | PCM E1 Cable - NEC | 5 | Pcs | Unusable | KBL MSC01-Warehouse
34 | 120 ohm Accessories | 9 | Pcs | Unusable | KBL MSC01-Warehouse
35 | 16*E1 installation plate I | 1 | Pcs | Unusable | KBL MSC01-Warehouse
36 | 16*E1 installation plate III | 2 | Pcs | Unusable | KBL MSC01-Warehouse
37 | 19" Open Rack Mount Kit in Cement Floor | 14 | Pcs | Unusable | KBL MSC01-Warehouse
38 | 2*10GE Optical Ports+8GE Electric Ports Interface Card,with | 2 | Pcs | Unusable | KBL MSC01-Warehouse
39 | SL9D00EFP800 ( 03020TFB ) | 4 | Pcs | Unusable | KBL MSC01-Warehouse
40 | AC Power Cord,China,250V10A,3m,PI Straight-Male Connector,22 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
41 | Amplimite (M) to 6X RJ45, 24 Pairs | 32 | Pcs | Unusable | KBL MSC01-Warehouse
42 | Application Date Manage | 5 | Pcs | Unusable | KBL MSC01-Warehouse
43 | Base,Used in MPX286-3DF1/2/3 Serise Dual-sided Frame,Adjusta | 6 | Pcs | Unusable | KBL MSC01-Warehouse
44 | Base,Used in MPX286-R1/R2/R3 Series,Adjustable Height Range | 3 | Pcs | Unusable | KBL MSC01-Warehouse
45 | Base,Used in OPTIX-C2000 Series,Adjustable Height Range from | 1 | Pcs | Unusable | KBL MSC01-Warehouse
46 | Battery Backup 500Amp 2V | 12 | Pcs | Unusable | KBL MSC01-Warehouse
47 | Breakout Panel 2x 25x IDC pairs - 2x Amplimite(f) | 100 | Pcs | Unusable | KBL MSC01-Warehouse
48 | BTS Unitary Support Mount Kit | 2 | Pcs | Unusable | KBL MSC01-Warehouse
49 | BTSV2-CDUD | 2 | Pcs | Unusable | KBL MSC01-Warehouse
50 | Conductive Material-ESD Glove,With Chinese/English Manual | 1 | Pcs | Unusable | KBL MSC01-Warehouse
51 | DDF (PBM) | 5 | Pcs | Unusable | KBL MSC01-Warehouse
52 | Every Cabinit-48V | 2 | Pcs | Unusable | KBL MSC01-Warehouse
53 | Heat Shrink Tube/D18/Radial Shrink Rate>50%/Black | 575 | Pcs | Unusable | KBL MSC01-Warehouse
54 | heat shrinkage tube/10/radial contraction rate>50%/black | 24 | Pcs | Unusable | KBL MSC01-Warehouse
55 | Heat-Shrink Tube,D 16.0/Radial Shrinkage Ratio>50%/Black/125 | 60 | Pcs | Unusable | KBL MSC01-Warehouse
56 | Heat-Shrink Tube/D11/Radial Shrinkage Ratio>50%/Black | 80 | Pcs | Unusable | KBL MSC01-Warehouse
57 | Hert Outdoor Base | 3 | Pcs | Unusable | KBL MSC01-Warehouse
58 | IBM 400GB | 35 | Pcs | Unusable | KBL MSC01-Warehouse
59 | Installation Support Hardwre Packets likes Screw Arboruse Nu | 1 | Pcs | Unusable | KBL MSC01-Warehouse
60 | Line,Cord 30A/250V | 2 | Pcs | Unusable | KBL MSC01-Warehouse
61 | Main Processing Unit | 2 | Pcs | Unusable | KBL MSC01-Warehouse
62 | MISU (Multipale integrated Supervision Unit) | 12 | Pcs | Unusable | KBL MSC01-Warehouse
63 | Multi Media Processing Unit | 2 | Pcs | Unusable | KBL MSC01-Warehouse
64 | Multi Stability KI | 1 | Pcs | Unusable | KBL MSC01-Warehouse
65 | N68E Side Door | 16 | Pcs | Unusable | KBL MSC01-Warehouse
66 | N68E/N610 Every Cabinit | 1 | Pcs | Unusable | KBL MSC01-Warehouse
67 | N6X Cement Floor Mount Kit | 4 | Pcs | Unusable | KBL MSC01-Warehouse
68 | N6X Unitary Support Mount Kit | 4 | Pcs | Unusable | KBL MSC01-Warehouse
69 | Support Mount Kit 150mm | 2 | Pcs | Unusable | KBL MSC01-Warehouse
70 | Nonmetal Parts,DKBA0.480.0605,12.5mm*1m,Hook & Loop Mechanic | 4 | Pcs | Unusable | KBL MSC01-Warehouse
71 | Novell SLES,Multi-language,V10.0,Paper License,Limited in 8 | 2 | Pcs | Unusable | KBL MSC01-Warehouse
72 | Optix Manager T2000 2CT Product DOCUMENTATION | 3 | Pcs | Unusable | KBL MSC01-Warehouse
73 | Packet Forwarding Unit(EPU,3rd generation) | 1 | Pcs | Unusable | KBL MSC01-Warehouse
74 | Panel Screw,M6x12 | 28 | Pcs | Unusable | KBL MSC01-Warehouse
75 | PXC Board ( 03020CAF ) | 60 | Pcs | Unusable | KBL MSC01-Warehouse
76 | Power Supply Module | 1 | Pcs | Unusable | KBL MSC01-Warehouse
77 | Primary Power | 1 | Pcs | Unusable | KBL MSC01-Warehouse
78 | PSI AC Box | 1 | Pcs | Unusable | KBL MSC01-Warehouse
79 | R4850N1 2U 2900W Normal Efficiency Rectifier | 5 | Pcs | Unusable | KBL MSC01-Warehouse
80 | Separate Mounting 8 Foot Antenna Installation Accessory Main | 1 | Pcs | Unusable | KBL MSC01-Warehouse
81 | Shild Hardware | 1 | Pcs | Unusable | KBL MSC01-Warehouse
82 | Shipping Bar Kit PUBS CIF Poin | 1 | Pcs | Unusable | KBL MSC01-Warehouse
83 | Subassembly | 6 | Pcs | Unusable | KBL MSC01-Warehouse
84 | System Power,APM30 (AC 220V) Three Phaseor 220V AC Single Ph | 3 | Pcs | Unusable | KBL MSC01-Warehouse
85 | Temperature Sensor,12V~24VDC,+/-0.5degC | 1 | Pcs | Unusable | KBL MSC01-Warehouse
86 | Temperature Sensor,12V~28VDC,-20~80 degC,+/0.5degC,4~20mA,Ba | 3 | Pcs | Unusable | KBL MSC01-Warehouse
87 | Terabit Routing Switch | 1 | Pcs | Unusable | KBL MSC01-Warehouse
88 | TFI Board | 2 | Pcs | Unusable | KBL MSC01-Warehouse
89 | TFI, ETSN, UIMC, CLKG, RUIM3, RUIM2 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
90 | Power System ( BSMC ) | 2 | Pcs | Unusable | KBL MSC01-Warehouse
91 | Outdoor Label ( 29040907 ) | 36 | Pcs | Unusable | KBL MSC01-Warehouse
92 | ( 21150580 ) BTS Unitry Mount Frame | 2 | Pcs | Unusable | KBL MSC01-Warehouse
93 | ( 33010293 ) Smoke Sensor 24U Tow Link | 37 | Pcs | Unusable | KBL MSC01-Warehouse
94 | Digital Proprietary Telephone | 27 | Pcs | Unusable | KBL MSC01-Warehouse
95 | DDF Wibas | 560 | Pcs | Unusable | KBL MSC01-Warehouse
96 | KONTACT System | 48 | Pcs | Unusable | KBL MSC01-Warehouse
97 | DDF Loop | 50 | Pcs | Unusable | KBL MSC01-Warehouse
98 | N6XE Support Mount Kit (Adjustable Height 410mm\n~700mm) ( 2 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
99 | TOP fixing plate ( 21244565 ) | 1 | Pcs | Unusable | KBL MSC01-Warehouse
100 | BCS6900 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
101 | ZXMSG 9000 FBA/ZXMSG 9000 Fan Box Assembly | 3 | Pcs | Unusable | KBL MSC01-Warehouse
102 | ASA 1000 Series Router | 1 | Pcs | Unusable | KBL MSC01-Warehouse
103 | Barret Bomb Bag | 14 | Pcs | Unusable | KBL MSC01-Warehouse
104 | Battery Accessory - Huawei | 1 | Pcs | Unusable | KBL MSC01-Warehouse
105 | FBD B049 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
106 | IBM P570 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
107 | Idirect 3000 Series Satalite Router | 1 | Pcs | Unusable | KBL MSC01-Warehouse
108 | Mine Hanging Compass-DDL100 | 2 | Pcs | Unusable | KBL MSC01-Warehouse
109 | Mercury 3900 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
110 | MPX286-BLK 1.8 DDF | 4 | Pcs | Unusable | KBL MSC01-Warehouse
111 | NewStart GGSL V3 | 2 | Pcs | Unusable | KBL MSC01-Warehouse
112 | Oracle DB ¦ Oracle SE 10g for Linux | 2 | Pcs | Unusable | KBL MSC01-Warehouse
113 | Teleohone | 3 | Pcs | Unusable | KBL MSC01-Warehouse
114 | BTS Door | 10 | Pcs | Unusable | KBL MSC01-Warehouse
115 | Rack Installation material/fiber cable patch cord | 2 | Pcs | Unusable | KBL MSC01-Warehouse
116 | Rearcard of Serve Board | 2 | Pcs | Unusable | KBL MSC01-Warehouse
117 | 16 E1 INTFC CARD ( 16 E1-A ) For Ipasso 1000 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
118 | switch | 6 | Pcs | Unusable | KBL MSC01-Warehouse
119 | Coupler 29 GHz | 1 | Pcs | Unusable | KBL MSC01-Warehouse
120 | Adoptor 13 Ghz | 8 | Pcs | Unusable | KBL MSC01-Warehouse
121 | Adoptor 15 Ghz | 8 | Pcs | Unusable | KBL MSC01-Warehouse
122 | Capler 13G H2 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
123 | Capler 15G H2 | 2 | Pcs | Unusable | KBL MSC01-Warehouse
124 | Capler 8G+RF Cable | 2 | Pcs | Unusable | KBL MSC01-Warehouse
125 | Capler Hybride 8G | 1 | Pcs | Unusable | KBL MSC01-Warehouse
126 | IFU Frame - Edge | 6 | Pcs | Unusable | KBL MSC01-Warehouse
127 | IFU Frame - Edge | 15 | Pcs | Unusable | KBL MSC01-Warehouse
128 | MUE03A Extention 10 Board Spare part | 2 | Pcs | Unusable | KBL MSC01-Warehouse
129 | MUE04A E151ExD0 Spare Part | 2 | Pcs | Unusable | KBL MSC01-Warehouse
130 | MUS01A Basic 10 Board Spare part | 2 | Pcs | Unusable | KBL MSC01-Warehouse
131 | R16E1F-PTN | 3 | Pcs | Unusable | KBL MSC01-Warehouse
132 | R8EGE-PTN | 4 | Pcs | Unusable | KBL MSC01-Warehouse
133 | Hybrid Coupler 13G 3A I ML | 14 | Pcs | Unusable | KBL MSC01-Warehouse
134 | At-86 24T/2m ( RoHS ) | 1 | Pcs | Unusable | KBL MSC01-Warehouse
135 | E1 Cable (PCM) 10m 16E1 | 6 | Pcs | Unusable | KBL MSC01-Warehouse
136 | E1-23902-014¦E1 Cable¦10.000m ¦ 626714069000 V1.4 | 4 | Pcs | Unusable | KBL MSC01-Warehouse
137 | E1-23921-001 E123921-001 8m A Terminal Conector | 2 | Pcs | Unusable | KBL MSC01-Warehouse
138 | LS-S2318TP-EI-AC | 4 | Pcs | Unusable | KBL MSC01-Warehouse
139 | BACK BOARD | 4 | Pcs | Unusable | KBL MSC01-Warehouse
140 | F5 | 2 | Pcs | Unusable | KBL MSC01-Warehouse
141 | Fire Wall 525 | 1 | Pcs | Unusable | KBL MSC01-Warehouse
142 | S2600 Storage Array Huawei (0235G290) | 1 | Pcs | Unusable | KBL MSC01-Warehouse
143 | MGW ZXWN ZTE Rack | 10 | Pcs | Unusable | KBL MSC01-Warehouse
144 | DTRUD | 31 | Pcs | Unusable | KBL MSC01-Warehouse
145 | NCDUD | 43 | Pcs | Unusable | KBL MSC01-Warehouse
146 | CDUG | 18 | Pcs | Unusable | KBL MSC01-Warehouse
147 | CMB | 4 | Pcs | Unusable | KBL MSC01-Warehouse
148 | EAM | 6 | Pcs | Unusable | KBL MSC01-Warehouse
149 | EIB | 2 | Pcs | Unusable | KBL MSC01-Warehouse
150 | CDUG-F | 13 | Pcs | Unusable | KBL MSC01-Warehouse
151 | CMB | 12 | Pcs | Unusable | KBL MSC01-Warehouse
152 | DTRUD | 14 | Pcs | Unusable | KBL MSC01-Warehouse
153 | EAM | 5 | Pcs | Unusable | KBL MSC01-Warehouse
154 | EIB | 5 | Pcs | Unusable | KBL MSC01-Warehouse
155 | NCDUD Board | 4 | Pcs | Unusable | KBL MSC01-Warehouse
156 | NCDUG-F | 11 | Pcs | Unusable | KBL MSC01-Warehouse
157 | Bed( included parts of wood and steel) | 34 | Pcs | Unusable | KBL MSC01-Warehouse
158 | Faulty RRU 3G/900 | 19 | Pcs | Damaged | KBL MSC01-Warehouse
159 | Technical Trash Items | Bulk | Pcs | Unusable | KBL MSC01-Warehouse
160 | BTS Backup battery 150AMP/12 Volt | 4 | Pcs | Unusable | Jalalabad Warehouse
161 | BTS Backup battery 100AMP/12 Volt | 73 | Pcs | Unusable | Jalalabad Warehouse
162 | DG Battery 100AMP/12Volt | 1 | Pcs | Unusable | Jalalabad Warehouse
163 | DG Battery 70 AMP/12Volt | 5 | Pcs | Unusable | Jalalabad Warehouse
164 | DG Water pump GEP22KVA | 1 | Pcs | Unusable | Jalalabad Warehouse
165 | DG Ridiator GEP22KVA | 2 | Pcs | Unusable | Jalalabad Warehouse
166 | Exhaust Pipe GEP22KVA | 3 | Pcs | Unusable | Jalalabad Warehouse
167 | Jumper Cable Upside | 8 | Pcs | Unusable | Jalalabad Warehouse
168 | Water Heater Jacket | 4 | Pcs | Unusable | Jalalabad Warehouse
169 | SMR1500 | 4 | Pcs | Unusable | Jalalabad Warehouse
170 | RRU fuber cable | 8 | Pcs | Unusable | Jalalabad Warehouse
171 | AC Alternator GEP9KVA | 1 | Pcs | Unusable | Jalalabad Warehouse
172 | BPC | 2 | Pcs | Unusable | Jalalabad Warehouse
173 | RRU R8882 S2100 | 1 | Pcs | Unusable | Jalalabad Warehouse
174 | RFC -Fan | 2 | Pcs | Unusable | Jalalabad Warehouse
175 | AS/DC Converter | 1 | Pcs | Unusable | Jalalabad Warehouse
176 | Eltec SMR | 3 | Pcs | Unusable | Jalalabad Warehouse
177 | NERA IDU-EDGE | 1 | Pcs | Unusable | Jalalabad Warehouse
178 | ATI Box with Motorize | 1 | Pcs | Unusable | Jalalabad Warehouse
179 | BBU | 1 | Pcs | Unusable | Jalalabad Warehouse
180 | DG Radiator GEP22KVA | 2 | Pcs | Unusable | Jalalabad Warehouse
181 | BPC Board | 3 | Pcs | Unusable | Jalalabad Warehouse
182 | BTS FAN | 9 | Pcs | Unusable | Jalalabad Warehouse
183 | CC2 Board | 4 | Pcs | Unusable | Jalalabad Warehouse
184 | CDUG-F | 1 | Pcs | Unusable | Jalalabad Warehouse
185 | CTI 63 Amp | 1 | Pcs | Unusable | Jalalabad Warehouse
186 | DDF Huawei | 2 | Pcs | Unusable | Jalalabad Warehouse
187 | DDF Nera | 7 | Pcs | Unusable | Jalalabad Warehouse
188 | E1 Convertor | 4 | Pcs | Unusable | Jalalabad Warehouse
189 | FS Board | 5 | Pcs | Unusable | Jalalabad Warehouse
190 | GIPI4 Board | 1 | Pcs | Unusable | Jalalabad Warehouse
191 | MDP-150MB-1AA STM1 Pasolink NEO | 7 | Pcs | Unusable | Jalalabad Warehouse
192 | MDP-150MB-1AA STM1 Pasolink NEO | 2 | Pcs | Unusable | Jalalabad Warehouse
193 | RDTB Board | 2 | Pcs | Unusable | Jalalabad Warehouse
194 | UBPG1 Board | 7 | Pcs | Unusable | Jalalabad Warehouse
195 | UBPG3 Board | 1 | Pcs | Unusable | Jalalabad Warehouse
196 | USED RECTIFIERS | 1 | Pcs | Unusable | Jalalabad Warehouse
197 | DYNAMO OF DG ( Used) | 2 | Pcs | Unusable | Jalalabad Warehouse
198 | Exhust pipe for DG (used) part | 4 | Pcs | Unusable | Jalalabad Warehouse
199 | Dc Alternator (Used) | 3 | Pcs | Unusable | Jalalabad Warehouse
200 | Radiator (Used) for DG | 1 | Pcs | Unusable | Jalalabad Warehouse
201 | RCB Board | 1 | Pcs | Unusable | Jalalabad Warehouse
202 | EAM | 3 | Pcs | Unusable | Jalalabad Warehouse
203 | ODU -28G 1D- Sub Band A Low | 1 | Pcs | Unusable | Jalalabad Warehouse
204 | Fixed Asset -ODU 15G-Sub Band-B High ( ZXMW SRU ) | 1 | Pcs | Unusable | Jalalabad Warehouse
205 | Fixed Asset -IDU Power Cable Nera | 4 | Pcs | Unusable | Jalalabad Warehouse
206 | ATI 400 | 3 | Pcs | Unusable | Jalalabad Warehouse
207 | UBPG3 | 4 | Pcs | Unusable | Jalalabad Warehouse
208 | RSU 3G | 1 | Pcs | Unusable | Jalalabad Warehouse
209 | Alarm Cable | 1 | Pcs | Unusable | Jalalabad Warehouse
210 | UBPG3 | 1 | Pcs | Unusable | Jalalabad Warehouse
211 | E1 Cable For IDU 4E1 NEC | 1 | Pcs | Unusable | Jalalabad Warehouse
212 | CSU Nian | 3 | Pcs | Unusable | Jalalabad Warehouse
213 | Rectifier Module Eltek 2000W 48V 15A | 2 | Pcs | Unusable | Jalalabad Warehouse
214 | E1 Cable Wibas | 1 | Pcs | Unusable | Jalalabad Warehouse
215 | FAN Board | 1 | Pcs | Unusable | Jalalabad Warehouse
216 | fuel pump 13KVA | 2 | Pcs | Unusable | Jalalabad Warehouse
217 | fuel pump 9KVA | 1 | Pcs | Unusable | Jalalabad Warehouse
218 | TVB (DCME) | 1 | Pcs | Unusable | Jalalabad Warehouse
219 | SFE4C (MAX) | 1 | Pcs | Unusable | Jalalabad Warehouse
220 | LGM MICRO1 | 2 | Pcs | Unusable | Jalalabad Warehouse
221 | V3 BTS BB | 1 | Pcs | Unusable | Jalalabad Warehouse
222 | Manual Changeover (Rotary Switch) (32Amp 4P, 660v, 50/60Hz) | 3 | Pcs | Unusable | Jalalabad Warehouse
223 | Motorized modal | 5 | Pcs | Unusable | Jalalabad Warehouse
224 | Clock Cable | 3 | Pcs | Unusable | Jalalabad Warehouse
225 | GASKET RING | 1 | Pcs | Unusable | Jalalabad Warehouse
226 | RFAG Fan (ZXMW NR8000TR ZTE) | 1 | Pcs | Unusable | Jalalabad Warehouse
227 | SDR8900A RFC fan Subrack | 1 | Pcs | Unusable | Jalalabad Warehouse
228 | Silencer | 1 | Pcs | Unusable | Jalalabad Warehouse
229 | Timer | 9 | Pcs | Unusable | Jalalabad Warehouse
230 | Exhaust filter | 2 | Pcs | Unusable | Jalalabad Warehouse
231 | ZTE rectifier module CSU ZXDU58 W121 | 1 | Pcs | Unusable | Jalalabad Warehouse
232 | Rectifier module ZXDU 1500 | 1 | Pcs | Unusable | Jalalabad Warehouse
233 | Jumper Cable Nera Edge | 1 | Pcs | Unusable | Jalalabad Warehouse
234 | RF Jumper cable | 1 | Pcs | Unusable | Jalalabad Warehouse
235 | DG battery 70 AM | 56 | Pcs | Damaged | Mazar Warehouse
236 | Battery Sperinter 6V2800 | 32 | Pcs | Damaged | Mazar Warehouse
237 | Back up battery 12 V 100 AMP | 98 | Pcs | Damaged | Mazar Warehouse
238 | Solar battery AGM | 33 | Pcs | Damaged | Mazar Warehouse
239 | Back Up battery 12v 150 AMP | 12 | Pcs | Damaged | Mazar Warehouse
240 | Back up battery 12V 155 AMP | 6 | Pcs | Damaged | Mazar Warehouse
241 | Shoto battery 490 | 6 | Pcs | Damaged | Mazar Warehouse
242 | Engine 33 KVA | 1 | Pcs | Damaged | Mazar Warehouse
243 | Engine 22 KVA | 1 | Pcs | Damaged | Mazar Warehouse
244 | Salandar | 1 | Pcs | Damaged | Mazar Warehouse
245 | Engine 9 Kva | 5 | Pcs | Damaged | Mazar Warehouse
246 | Canpy 9 KVA | 2 | Pcs | Damaged | Mazar Warehouse
247 | Engine 13 KVA | 1 | Pcs | Damaged | Mazar Warehouse
248 | AC/ Compressor | 4 | Pcs | Damaged | Mazar Warehouse
249 | Emply chair | 2 | Pcs | Damaged | Mazar Warehouse
250 | cartarage | 9 | Pcs | Damaged | Mazar Warehouse
251 | Fire extention | 1 | Pcs | Damaged | Mazar Warehouse
252 | DG Engine oil | 300 | Litter | Used | Mazar Warehouse
253 | DRFU 900 | 1 | Pcs | Damaged | Mazar Warehouse
254 | HP printer | 3 | Pcs | Damaged | Mazar Warehouse
255 | HP scaner | 1 | Pcs | Damaged | Mazar Warehouse
256 | Stan fan | 8 | Pcs | Damaged | Mazar Warehouse
257 | Deferent type of cable | 1000 | Meter | Damaged | Mazar Warehouse
258 | Feeder cable 7/8 | 100 | Meter | Damaged | Mazar Warehouse
259 | DRFU1800 | 2 | Pcs | Damaged | Mazar Warehouse
260 | GRFU 900 | 4 | Pcs | Damaged | Mazar Warehouse
261 | WRFU2100 | 1 | Pcs | Damaged | Mazar Warehouse
262 | Guniper | 1 | Pcs | Damaged | Mazar Warehouse
263 | GATM | 1 | Pcs | Damaged | Mazar Warehouse
264 | stove | 7 | Pcs | Damaged | Mazar Warehouse
265 | emply desk | 2 | Pcs | Damaged | Mazar Warehouse
266 | Monitor | 3 | Pcs | Damaged | Mazar Warehouse
267 | CPU | 3 | Pcs | Damaged | Mazar Warehouse
268 | UPS | 1 | Pcs | Damaged | Mazar Warehouse
269 | Solar battery AGM 258AM | 16 | Pcs | Damaged | BKH040 Site
270 | Solar battery AGM 258AM | 16 | Pcs | Damaged | BKH050 Site
271 | Solar battery AGM 258AM | 16 | Pcs | Damaged | BKH009 Site
272 | Solar battery AGM 258AM | 16 | Pcs | Damaged | BKH033 Site
273 | Solar battery AGM 258AM | 10 | Pcs | Damaged | BKH044 Site
274 | Solar battery AGM 258AM | 6 | Pcs | Damaged | BKH041 Site
275 | Solar battery AGM 258AM | 16 | Pcs | Damaged | BKH038 Site
276 | Shoto battery 2V 490 | 24 | Pcs | Damaged | JZN011 Site
277 | Solar battery AGM 258AM | 16 | Pcs | Damaged | JZN003 Site
278 | Solar battery AGM 258AM | 16 | Pcs | Damaged | JZN005 Site
279 | Shoto battery 2V 490 | 48 | Pcs | Damaged | JZN012 Site
280 | Shoto battery 2V 490 | 48 | Pcs | Damaged | JZN032 Site
281 | Shoto battery 2V 490 | 24 | Pcs | Damaged | SPL008 Site
282 | Shoto battery 2V 1000Ah | 24 | Pcs | Damaged | SPL004 Site
283 | Solar battery AGM 258AM | 12 | Pcs | Damaged | FRB044 Site
284 | DG GEP22KVA | 1 | Pcs | Burned | BKH101 Site
285 | DG GEP22KVA | 3 | Pcs | Burned | BKH022 Site
286 | Fuel tank | 1 | Pcs | Burned | BKH101 Site
287 | BTS | 2 | Pcs | Burned | BKH022 Site
288 | Battery bank | 2 | Pcs | Burned | BKH022 Site
289 | CTI | 1 | Pcs | Burned | BKH022 Site
290 | DG KM22 | 1 | Pcs | Burned | BKH096 Site
291 | DG GEP9KVA | 1 | Pcs | Damaged | JZN047 Site
292 | DG GEP13KVA | 1 | Pcs | Damaged | JZN047 Site
293 | ACB | 1 | Pcs | Burned | BKH101 Site
294 | Battery bank | 1 | Pcs | Burned | BKH101 Site
295 | Sunshed | 1 | Pcs | Damaged | BKH101 Site
296 | ATS | 1 | Pcs | Damaged | BKH101 Site
297 | Feeder cable 7/8 | 50 | Meter | Damaged | BKH101 Site
298 | BTS | 1 | Pcs | Burned | BKH042 Site
299 | BTS | 1 | Pcs | Burned | BKH046 Site
300 | ZTE Shelter | 1 | Pcs | Burned | JZN035 Site
301 | Cabinet ACB | 1 | Pcs | Burned | JZN043 Site
302 | Feeder cable 7/8 | 60 | Pcs | Damaged | BKH022 Site
303 | Shoto battery 2V 1000Ah | 48 | Pcs | Damaged | BKH012 Site
304 | Shoto battery 2V 1000Ah | 48 | Pcs | Damaged | BKH014 Site
305 | Engine oil | 500 | Litter | Burned | HRCC WH
306 | Faulty DG GEP22 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT001 Site
307 | Faulty DG GEP22 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT003 Site
308 | Faulty DG GEP13 Kva | 1 | Pcs | Empty Engine with Frame | HRT004 Site
309 | Faulty DG GEP13 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT004 Site
310 | Faulty DG GEP13 Kva | 4 | Pcs | Empty Engine with Frame + AC Alternator | HRT007 Site
311 | Faulty DG GEP22 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT007 Site
312 | Faulty DG GEP22 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT008 Site
313 | Faulty DG GEP22 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT009 Site
314 | Faulty DG GEP13 Kva | 2 | Pcs | Empty Engine with Frame + AC Alternator | HRT010 Site
315 | Faulty DG GEP 9Kva | 3 | Pcs | Empty Engine with Frame + AC Alternator | HRT011 Site
316 | Faulty DG GEP22 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT011 Site
317 | Faulty DG GEP22 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT016 Site
318 | Faulty DG GEP13 Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT022 Site
319 | Faulty DG GEP 9Kva | 2 | Pcs | Empty Engine with Frame + AC Alternator | HRT022 Site
320 | Faulty DG GEP 9Kva | 1 | Pcs | Empty Engine with Frame | HRT022 Site
321 | Faulty DG GEP 9Kva | 1 | Pcs | Engine with Frame + AC Alternator | HRT032 Site
322 | Engine GEP 13Kva | 2 | Pcs | Empty Engine | HRT023 Site
323 | Engine GEP 9Kva | 1 | Pcs | Empty Engine | HRT011 Site
324 | Faulty DG GEP 9Kva | 5 | Pcs | Empty Engine with Frame + AC Alternator | HRT017 Site
325 | Faulty DG GEP 22Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT017 Site
326 | Faulty DG GEP 13Kva | 1 | Pcs | Empty Engine with Frame + AC Alternator | HRT017 Site
327 | Faulty Engine GEP22Kva | 2 | Pcs | Only Empty Engine | HRT004 Site
328 | Faulty DG Engie GEP 9Kva | 2 | Pcs | Only Empty Engine | Herat Warehouse
329 | Faulty DG Engie GEP 13Kva | 2 | Pcs | Only Empty Engine | Herat Warehouse
330 | Faulty DG Engie GEP 22Kva | 7 | Pcs | Only Empty Engine | Herat Warehouse
331 | Faulty Engine GEP 9Kva | 3 | Pcs | Only Empty Engine | FRH003 Farah Province
332 | Faulty DG Engie GEP 44Kva | 2 | Pcs | Only Empty Engine | Herat Warehouse
333 | Engine Fram GEP 9Kva | 1 | Pcs | Only Fram | Herat Warehouse
334 | DG Screen | 1 | Pcs | Damaged | Herat Warehouse
335 | Faulty Radiator | 5 | Pcs | Damaged | Herat Warehouse
336 | Faulty DG Fan | 5 | Pcs | Damaged | Herat Warehouse
337 | ACB Battery | 4 | Pcs | Damaged | Herat Warehouse
338 | PDU | 1 | Pcs | Damaged | Herat Warehouse
339 | EPS90 | 2 | Pcs | Burned | Herat Warehouse
340 | CTI | 1 | Pcs | Damaged | Herat Warehouse
341 | Module | 5 | Pcs | Damaged | Herat Warehouse
342 | DRFU900 | 3 | Pcs | Damaged | Herat Warehouse
343 | Faulty RRU | 1 | Pcs | Damaged | Herat Warehouse
344 | MRFU1800 | 1 | Pcs | Damaged | Herat Warehouse
345 | ZXSDR R8863 S9000 | 1 | Pcs | Damaged | Herat Warehouse
346 | WBBP Board | 1 | Pcs | Damaged | Herat Warehouse
347 | SMU02BHW Board | 1 | Pcs | Damaged | Herat Warehouse
348 | Heat Exchanger Fan | 1 | Pcs | Damaged | Herat Warehouse
349 | HW R4850G Fan | 1 | Pcs | Damaged | Herat Warehouse
350 | Projector Light | 3 | Pcs | Damaged | Herat Warehouse
351 | ODU OSDR28H | 1 | Pcs | Damaged | Herat Warehouse
352 | ODU RTN XMC 11G | 1 | Pcs | Damaged | Herat Warehouse
353 | ODU Paso Link NEO 8G Low | 1 | Pcs | Damaged | Herat Warehouse
354 | Battery GFM-400- 2V-400Ah | 96 | Pcs | Used | Herat Warehouse
355 | BTS Battery Backup 12V- 100Ah | 30 | Pcs | Used | Herat Warehouse
356 | BTS Battery Backup 12V- 150Ah | 4 | Pcs | Used | Herat Warehouse
357 | DG Battery 70Ah | 40 | Pcs | Used | Herat Warehouse
358 | Chair 3in 1 | 2 | Pcs | Damaged | Herat Warehouse
359 | Chair | 9 | Pcs | Damaged | Herat Warehouse
360 | Desk | 2 | Pcs | Damaged | Herat Warehouse
361 | Fan | 1 | Pcs | Damaged | Herat Warehouse
362 | Printer HP Office Jet 4500 | 1 | Pcs | Damaged | Herat Warehouse
363 | Printer HP Office Jet J4580 | 2 | Pcs | Damaged | Herat Warehouse
364 | Monitor Dell | 2 | Pcs | Damaged | Herat Warehouse
365 | Desktop Computer | 2 | Pcs | Damaged | Herat Warehouse
366 | TV | 1 | Pcs | Damaged | Herat Warehouse
367 | Battery Backup 12V- 100Ah | 20 | Pcs | Damaged | FRH003- Farah Province
368 | DG Battery 70Ah | 20 | Pcs | Damaged | FRH003- Farah Province
369 | Faulty AC Alternator | 2 | Pcs | Damaged | FRH003- Farah Province
370 | Faulty Radiator | 3 | Pcs | Damaged | FRH003- Farah Province
371 | Faulty Engine GEP 9Kva | 2 | Pcs | Empty Engine with Frame + AC Alternator | HRT077 Site
372 | AVR30 KVA | 1 | Pcs | Burned | HRT017 Site
373 | AC our door | 1 | Pcs | Damaged | Qandahar Warehouse
374 | chairs | 3 | Pcs | Damaged | Qandahar Warehouse
375 | Water pump Machin | 1 | Pcs | Burned | Qandahar Warehouse
376 | Sign Board | 1 | Pcs | Damaged | Qandahar Warehouse
377 | Mobile Charger | 1 | Pcs | Not Working | Qandahar Warehouse
378 | Q-Matic Printer | 1 | Pcs | Damaged | Qandahar Warehouse
379 | Water depenser | 1 | Pcs | Damaged | Qandahar Warehouse
380 | Qmatic Hube | 1 | Pcs | Damaged | Qandahar Warehouse
381 | DVD Player | 3 | Pcs | Not Working | Qandahar Warehouse
382 | Q-matic speaker | 2 | Pcs | Damaged | Qandahar Warehouse
383 | Q-Matic keyboard | 5 | Pcs | Not Working | Qandahar Warehouse
384 | small UPS | 1 | Pcs | Damaged | Qandahar Warehouse
385 | Etisalat Subscriber Adjustment form | 26 | Pcs | Not Working | Qandahar Warehouse
386 | Engine GEP 13 kva | 1 | Pcs | Burned | Qandahar Warehouse
387 | AC alter nator 13 kva | 1 | Pcs | Burned | Qandahar Warehouse
388 | IDU | 6 | Pcs | Damaged | Qandahar Warehouse
389 | Radiotor | 5 | Pcs | Damaged | Qandahar Warehouse
390 | ODU | 8 | Pcs | Damaged | Qandahar Warehouse
391 | Returned consume | 1 | Box | Damaged | Qandahar Warehouse
392 | Heat Exchanger,Rectifeir In side Parts | 9 | Pcs | Damaged | Qandahar Warehouse
393 | Faima +Sacred 150AMP | 16 | Pcs | used | Qandahar Warehouse
394 | Narada GFMJ2V,420AH | 24 | Pcs | used | Qandahar Warehouse
395 | Back up battery 100AMP | 40 | Pcs | used | Qandahar Warehouse
396 | DG 70 AMP | 11 | Pcs | used | Qandahar Warehouse
397 | DG150 AMP | 2 | Pcs | used | Qandahar Warehouse
398 | Cupler | 3 | Pcs | used | Qandahar Warehouse
399 | DTRUG+NCDUG+CDUG-F+ | 70 | Pcs | expired | Qandahar Warehouse
400 | CMB | 12 | Pcs | expired | Qandahar Warehouse
401 | Back board | 20 | Pcs | expired | Qandahar Warehouse
402 | Damage cable differnt type | 1 | Box | Damaged | Qandahar Warehouse
403 | RSU 1800 | 7 | Pcs | Damaged | Qandahar Warehouse
404 | RSU900 | 1 | Pcs | Damaged | Qandahar Warehouse
405 | Starter Motor 33kva | 1 | Pcs | Damaged | Qunduz Warehouse
406 | Radiator 9,13,22KVA | 11 | Pcs | Damaged | Qunduz Warehouse
407 | Water pump 9,13,22kva | 14 | Pcs | Damaged | Qunduz Warehouse
408 | Water pump 33,65kva | 3 | Pcs | Damaged | Qunduz Warehouse
409 | Water heater 9,13,22kva | 6 | Pcs | Damaged | Qunduz Warehouse
410 | Seal Washer 9,13,22kva | 4 | Pcs | Damaged | Qunduz Warehouse
411 | AVR 9,13,22 kva | 3 | Pcs | Damaged | Qunduz Warehouse
412 | Manual fuel pump (Cancha) | 6 | Pcs | Damaged | Qunduz Warehouse
413 | Oil Sensor | 9 | Pcs | Damaged | Qunduz Warehouse
414 | Temp Sensor | 2 | Pcs | Damaged | Qunduz Warehouse
415 | Solonaid | 9 | Pcs | Damaged | Qunduz Warehouse
416 | Exhuast Flaxible GEP 9,13,22KVA | 9 | Pcs | Damaged | Qunduz Warehouse
417 | DG Battery 12v 70A | 40 | Pcs | Used | Qunduz Warehouse
418 | Pinston 22Kva | 4 | Pcs | Damaged | Qunduz Warehouse
419 | Pinston 33Kva | 3 | Pcs | Damaged | Qunduz Warehouse
420 | signboard (Big & Small) | 2 | Pcs | Damaged | Qunduz Warehouse
421 | BTS Battery 12v 100A | 5 | Pcs | Used | Qunduz Warehouse
422 | BTS Battery 12v 150A | 8 | Pcs | Used | Qunduz Warehouse
423 | BTS Fan | 9 | Pcs | Damaged | Qunduz Warehouse
424 | BTS heater | 5 | Pcs | Used | Qunduz Warehouse
425 | DDF BTS ZTE | 27 | Pcs | Used | Qunduz Warehouse
426 | EMU | 1 | Pcs | Used | Qunduz Warehouse
427 | Used EMU | 23 | Pcs | Used | Qunduz Warehouse
428 | GRFU1800 | 1 | Pcs | Damaged | Qunduz Warehouse
429 | RSU1800 | 3 | Pcs | Damaged | Qunduz Warehouse
430 | RRU2100 | 2 | Pcs | Damaged | Qunduz Warehouse
431 | MRFU1800 | 1 | Pcs | Damaged | Qunduz Warehouse
432 | DRFU900 | 5 | Pcs | Damaged | Qunduz Warehouse
433 | ODU NEC difference type | 8 | Pcs | Damaged | Qunduz Warehouse
434 | ODU HW SPA 15G Low | 1 | Pcs | Damaged | Qunduz Warehouse
435 | ODU HW 8G Low | 1 | Pcs | Damaged | Qunduz Warehouse
436 | Feeder Cable | 250 | Meter | Damaged | Qunduz Warehouse
437 | IDU 4E1 (8MB) Pasolink with PM card | 9 | Pcs | Used | Qunduz Warehouse
438 | IDU Ipassolink 48 E1 NEC | 11 | Pcs | Used | Qunduz Warehouse
439 | IDU 34MB 16E1 NEC | 6 | Pcs | Used | Qunduz Warehouse
440 | IDU 5E1 NEC | 5 | Pcs | Used | Qunduz Warehouse
441 | ODU 15G-3B SB-L High | 1 | Pcs | Used | Qunduz Warehouse
442 | System Rag ( Cabinet) | 1 | Pcs | Damaged | Qunduz Warehouse
443 | UPS small for pc | 2 | Pcs | Damaged | Qunduz Warehouse
444 | UPS for system | 2 | Pcs | Damaged | Qunduz Warehouse
445 | Water Dispenser | 1 | Pcs | Damaged | Qunduz Warehouse
446 | DVD player | 2 | Pcs | Damaged | Qunduz Warehouse
447 | Old Sofa (1 in 1) | 2 | Pcs | Damaged | Qunduz Warehouse
448 | Network Switch(DDF) | 1 | Pcs | Damaged | Qunduz Warehouse
449 | Old Keyboard | 3 | Pcs | Damaged | Qunduz Warehouse
450 | Old Mouse | 2 | Pcs | Damaged | Qunduz Warehouse
451 | ODU-13G-1D- SUB BAND M/HIGH ( NEC ) | 1 | Pcs | Damaged | KBL026 Warehouse
452 | ODU-13G-1D- SUB BAND M/Low ( NEC ) | 2 | Pcs | Damaged | KBL026 Warehouse
453 | IF Connector Wibas | 8 | Pcs | Damaged | KBL026 Warehouse
454 | ODU 13G-3B SB-D High | 1 | Pcs | Damaged | KBL026 Warehouse
455 | ODU 13G-3B SB-D Low | 1 | Pcs | Damaged | KBL026 Warehouse
456 | 13G-1D Sub Band-M High | 3 | Pcs | Damaged | KBL026 Warehouse
457 | 13G-1D Sub Band-M Low | 3 | Pcs | Damaged | KBL026 Warehouse
458 | 13G-UA Edge | 1 | Pcs | Damaged | KBL026 Warehouse
459 | 15G-3A Sub Band-L High | 2 | Pcs | Damaged | KBL026 Warehouse
460 | 15G-3A Sub Band-L Low | 1 | Pcs | Damaged | KBL026 Warehouse
461 | 15G-3B Sub Band-L High | 3 | Pcs | Damaged | KBL026 Warehouse
462 | 15G-3B Sub Band-L Low | 3 | Pcs | Damaged | KBL026 Warehouse
463 | 23G-1D Sub Band-C High | 1 | Pcs | Damaged | KBL026 Warehouse
464 | 8G-1B Sub Band-F Low | 1 | Pcs | Damaged | KBL026 Warehouse
465 | 8G-1B Sub Band-K Low | 1 | Pcs | Damaged | KBL026 Warehouse
466 | 8G-3A Sub Band-E High | 2 | Pcs | Damaged | KBL026 Warehouse
467 | 8G-3A Sub Band-E Low | 2 | Pcs | Damaged | KBL026 Warehouse
468 | 8G-3A Sub Band-F Low | 2 | Pcs | Damaged | KBL026 Warehouse
469 | 8G-5B Sub Band-E High | 1 | Pcs | Damaged | KBL026 Warehouse
470 | Battery Cabinet ( 02113737 ) | 5 | Pcs | Damaged | KBL026 Warehouse
471 | DDF Nera | 10 | Pcs | Damaged | KBL026 Warehouse
472 | E1 Convertor | 8 | Pcs | Damaged | KBL026 Warehouse
473 | IDU 16E1 without Boards | 10 | Pcs | Damaged | KBL026 Warehouse
474 | IDU 4E1 (8MB) Pasolink with PM card | 16 | Pcs | Damaged | KBL026 Warehouse
475 | IDU Wibas Msad | 1 | Pcs | Damaged | KBL026 Warehouse
476 | USED GENERATORS 33KVA | 2 | Pcs | Damaged | KBL026 Warehouse
477 | USED GENERATORS 9KVA | 29 | Pcs | Damaged | KBL026 Warehouse
478 | USED GENERATORS 22KVA | 11 | Pcs | Damaged | KBL026 Warehouse
479 | MOBILE BTS | 1 | Pcs | Damaged | KBL026 Warehouse
480 | FUEL TANK ( 500L=1, 1000L=2, 3000L=4, 3000L Container type=9, 5000L=1) | 17 | Pcs | Damaged | KBL026 Warehouse
481 | BTS ZTE | 37 | Pcs | Damaged | KBL026 Warehouse
482 | RECTIFIERS (Huawei=5, Iran=2, Elteck=1, ZTE=21) | 29 | Pcs | Damaged | KBL026 Warehouse
483 | GENERATOR BATTERIES 12V 70A | 230 | Pcs | Damaged | KBL026 Warehouse
484 | DC DYNAMO OF DG ( Used) | 54 | Pcs | Damaged | KBL026 Warehouse
485 | Used Feeder Cable (7/8)" | 9754 | Meter | Damaged | KBL026 Warehouse
486 | Used Guide Tower | 184 | Meter | Damaged | KBL026 Warehouse
487 | Used Battery Cabinet | 14 | Pcs | Damaged | KBL026 Warehouse
488 | Wooden Guard Room(Used) | 1 | Pcs | Damaged | KBL026 Warehouse
489 | Starter (Used) for DG for repair | 11 | Pcs | Damaged | KBL026 Warehouse
490 | Diesel pump (Used) for DG for repair | 11 | Pcs | Damaged | KBL026 Warehouse
491 | Fuel injector (Used) for DG | 24 | Pcs | Damaged | KBL026 Warehouse
492 | Radiator (Used) for DG | 51 | Pcs | Damaged | KBL026 Warehouse
493 | IDU 5E1 NEC | 6 | Pcs | Damaged | KBL026 Warehouse
494 | IDU Ipassolink 48 E1 NEC | 2 | Pcs | Damaged | KBL026 Warehouse
495 | ODU 13G Expand Nera / La | 1 | Pcs | Damaged | KBL026 Warehouse
496 | SMR | 96 | Pcs | Damaged | KBL026 Warehouse
497 | IF Connector NEC | 130 | Pcs | Damaged | KBL026 Warehouse
498 | RF Cable Nec | 10 | Pcs | Damaged | KBL026 Warehouse
499 | Fixed Asset -IDU Power Cable NEC | 19 | Pcs | Damaged | KBL026 Warehouse
500 | Ac Box | 45 | Pcs | Damaged | KBL026 Warehouse
501 | Generator Container | 6 | Pcs | Damaged | KBL026 Warehouse
502 | Used Generator 150 KVA | 1 | Pcs | Damaged | KBL026 Warehouse
503 | ATS Controller Box | 12 | Pcs | Damaged | KBL026 Warehouse
504 | Used Backup Battery 12V 100Ah | 202 | Pcs | Damaged | KBL026 Warehouse
505 | Used Backup Battery 12V 150Ah | 56 | Pcs | Damaged | KBL026 Warehouse
506 | Used Backup Battery 12V 135Ah | 8 | Pcs | Damaged | KBL026 Warehouse
507 | Used Battery for Rectifiers 2V 420Ah | 94 | Pcs | Damaged | KBL026 Warehouse
508 | 9 KVA DG’s old engine | 25 | Pcs | Damaged | KBL026 Warehouse
509 | 13 KVA DG’s old engine | 16 | Pcs | Damaged | KBL026 Warehouse
510 | E1 Cable For IDU 4E1 NEC | 6 | Pcs | Damaged | KBL026 Warehouse
511 | IF Board for IDU (If Card ) | 9 | Pcs | Damaged | KBL026 Warehouse
512 | 22 KVA DGs old engines | 17 | Pcs | Damaged | KBL026 Warehouse
513 | USED GENERATORS 165 KVA | 1 | Pcs | Damaged | KBL026 Warehouse
514 | MW Pole | 236.45 | Meter | Damaged | KBL026 Warehouse
515 | DG GEP250 KVA | 1 | Pcs | Damaged | KBL026 Warehouse
516 | ZTE Rack | 3 | Pcs | Damaged | KBL026 Warehouse
517 | Used Battery for Rectifiers 2V 490Ah | 24 | Pcs | Damaged | KBL026 Warehouse
518 | DG engine 33KVA | 4 | Pcs | Damaged | KBL026 Warehouse
519 | Power meter box | 4 | Pcs | Damaged | KBL026 Warehouse
520 | Solar control box | 3 | Pcs | Damaged | KBL026 Warehouse
521 | ATI box | 19 | Pcs | Damaged | KBL026 Warehouse
522 | CTI box | 32 | Pcs | Damaged | KBL026 Warehouse
523 | Change over box | 2 | Pcs | Damaged | KBL026 Warehouse
524 | IF cable | 3000 | Meter | Damaged | KBL026 Warehouse
525 | HW IF Card IsX2 950 | 2 | Pcs | Damaged | KBL026 Warehouse
526 | Fixed Asset – UPS BATTERIES 6V 178AH | 48 | Pcs | Damaged | KBL026 Warehouse
527 | DG 135 KVA | 3 | Pcs | Damaged | KBL026 Warehouse
528 | Fixed Asset – USED GENERATOR 15 KVA (Elemax) | 2 | Pcs | Damaged | KBL026 Warehouse
529 | Fixed Asset – GSM antenna (damaged) | 115 | Pcs | Damaged | KBL026 Warehouse
530 | MW Dish | 10 | Pcs | Damaged | KBL026 Warehouse
531 | Fixed Asset – AC dynamo (Used) | 11 | Pcs | Damaged | KBL026 Warehouse
532 | Fixed Asset – Solar Panel (damaged) | 3 | Pcs | Damaged | KBL026 Warehouse
533 | USED GENERATOR 135 KVA | 1 | Pcs | Damaged | KBL026 Warehouse
534 | solar control box | 1 | Pcs | Damaged | KBL026 Warehouse
535 | Rectifier (ZTE=4, HW=7) | 11 | Pcs | Damaged | KBL026 Warehouse
536 | ATI box 63A | 3 | Pcs | Damaged | KBL026 Warehouse
537 | ATI 1600 A (damaged) | 1 | Pcs | Damaged | KBL026 Warehouse
538 | UPS 10 KVA | 1 | Pcs | Damaged | KBL026 Warehouse
539 | UPS APC 5KVA | 1 | Pcs | Damaged | KBL026 Warehouse
540 | Mini DG 5 KVA | 4 | Pcs | Damaged | KBL026 Warehouse
541 | Rectifier backup battery 2V 3000A | 24 | Pcs | Damaged | KBL026 Warehouse
542 | Rectifier backup battery 2V 1200Ah | 400 | Pcs | Damaged | KBL026 Warehouse
543 | RRU 3G ZTE | 4 | Pcs | Damaged | KBL026 Warehouse
544 | UPS ZTE 60 KVA ZXUPS T560 | 2 | Pcs | Damaged | KBL026 Warehouse
545 | Battery backup GFM300C 2V 300AH | 48 | Pcs | Damaged | KBL026 Warehouse
546 | Battery backup ZXDC 12V 150AH | 36 | Pcs | Damaged | KBL026 Warehouse
547 | Battery backup VLRA 12V 65AH | 36 | Pcs | Damaged | KBL026 Warehouse
548 | OP trash/damaged items (Bulk) including plastic fuel tanks inside DGs 100L | Bulk | Bulk | Damaged | KBL026 Warehouse
549 | BSS damaged/trash items (bulk) such as BTS fans, boards different, DTRUG, NCDUD, NCDUG-F, EAM, EIB, BTS backboards, CMB, BTS doors and so on | Bulk | Bulk | Damaged | KBL026 Warehouse
550 | IMP trash items (damaged parts/accessories of the towers, guide towers, MW poles and so on) in bulk | Bulk | Bulk | Damaged | KBL026 Warehouse
551 | Power trash items (Bulk), Radiator of 550 KVA = 1 pcs, Airsys AC indoors= 2 pcs, outdoors = 2 pcs, ATI 1100 box = 1 pcs | Bulk | Bulk | Damaged | KBL026 Warehouse
552 | Admin trash items (Bulk) such as broken chairs, desks, doors, cabinets, drawers, white boards, damaged fuel pump big size (used in big fueling stations) and so on. | Bulk | Bulk | Damaged | KBL026 Warehouse
553 | IT trash items (Bulk) such as servers, racks, cpus, monitors, keyboards, printers, scanners, different type of cables and so on. | Bulk | Bulk | Damaged | KBL026 Warehouse
554 | Technical Trash Items | Bulk | Bulk | Damaged | KBL026 Warehouse