## Connex
ORGANIZATON FOR COORDINATION OF HUMANITRIAN RELIEF (OCHR)
Bill of Quantity for Construction two Connex for Guard room in Nangarhar Torkham, Zero Point and Transet Center. (احجام کاری و مواد مصرفی برای شبکه آبرسانی درکمپ عمری عودت کنندگان تورخم ولسوالی مومند دره ولایت ننگرهار)
Project Code & Title: Torkham Emergency WASH/AWD Response Additional Amount for Two Container Connex and Miscellaneous Components
Location of Project: Nangarhar Torkham, Zero Point and Transet Center.
Note: This BoQ contains statements required in the Offer documents and shall be signed by a duly authorized person. Any addition to, deletion or alteration in the BoQ may result in rejection of the Offer.
please prior to quoting your prices conduct a site survey. The quantities mentioned in the BoQ may vary with actual work on site. OCHR will carry out a re-estimation of the actual work done against the work mentioned in the BoQ. For any extra work OCHR shall be contacted on prior basis and approval shall be sought for extra work. Any extra work done without the approval/permission of OCHR shall be considered void and no payment will be disbursed for the work done.
S/NO شماره | Descriptions تشریحا ت | Unit واحد | Quantity مقدار | Unit Cost (AFN )include 4 % tax قیمت فی واحد | Total Cost (AFN.) قیمت مجموعی | Remarks ملاحظات
A | Supply and installation of two Connex for Guard Room (Note each task include with it’s all related activities to completed the job as per drawing technical specification and project Engineer instruction)
A1 | Supply and installation of two Container Connex for Guard Room
A1-1 | Site preparation for supply and installation of Connex and site clearing after completion of the project | L.S | 1 | 0
A1-2 | Supply and installation of Container length : 10 ft ,(3x2.4) m Container protect by Glass wool 7cm Color Plywood 10mm for Container wall China False Ceiling (only of Ceiling ) Installation of Selenium plastic sheet for floor of container Conex Installation of Electric system with solar system complete package. Supply and installation of PVC window (100x100)cm with steel mash- 7000 =one pice Supply and installation of PVC Door (100x200)cm -7000=one pice Painting for Container Connex with UNICEF logo | Complete package | 1
A1-3 | Supply and Installation of Exhaust fan 25x25cm with Steel cover | Each | 1
A1-4 | Supply and Installation of Ceiling fan | Each | 1
A1-5 | Supply and installation of Concrete Blocks (40x40x40) for installation of Container Conex on the ground | Each | 1
A1-7 | Supply and installation of Solar Panels 550watt international certified by IEC, ISO, TUV and CE Range of ambient temperature: 233 .. 358 K Temperature coefficient (Voc): -0.31% /Cº Power tolerance: +3 to 5 % Solar module type: PERC, MONOCRYSTALLINE,POLYCRYSTALLINE Water proof PV junction boxes IP68 for each array including DC Fuses, DC switch disconnectors, bus bars ,terminals, ducts or trays, supports & labels suitable to the PV arrays loads. Contractor must submit manufacturer warranty for solar panel for a period not less than 25 years. Contractor must submit all the required certificates for each PV solar panel from Serial number of PV Panel should be certified by manufacturing company | No | 1
A1-8 | Supply and installation of Battery 200Am,C20 Capacity at 27°C till 10.5V (Test gravity 1.240±0.005) Model Ref.=ILTT EX 24048,ILTT EX 26W48 Trickle Mode Charging: Minimum=151mAmp, Maximum=739mAmp Proprietary of M/S LUMINOUS POWER TECHNOLOGIES PVT. LTD Overall Dimensions: Length=503mm,Width=189mm,Filled Wt.=64.7 kg Cable for Connection of Battery with all fitting, wooden frame and complete job. | No | 1
A1-9 | Line connection from Solar panel to Battery | L.S | 1
Total estimation cost for supply and installation of one Container Connex (AFN) |  |  |  | 0
Total estimation cost for supply and installation of 2 Container Connex (AFN) |  | 2
Total Estimation cost for supply and installation of two Container Connex for Guard Room |  |  |  | 0
B | Fabricated Sun Protection and Benches (Note each task include with it’s all related activities to completed the job as per drawing technical specification and project Engineer instruction)
B1 | Fabricated Sun Protection and Benches
B1-1 | Supply and installation of Steel fabricated Sun protection for Screens size (6x5) meters. | Sq.m | 30 | 0
B1-2 | Benches for waiting area to screens (Steel plus with wooden board) L=200cm | Each | 10 | 0
Total estimation cost for supply and installation of one Fabricated Sun Protection and Benches (AFN)
Total estimation cost for supply and installation of 2 Fabricated Sun Protection and Benches (AFN) |  | 2
Total Estimation cost for supply and installation of two Fabricated Sun Protection and Benches |  |  |  | 0
Total Estimation cost for the project
Summary Sheet for the project
Cod# | Description | Unit واحد | Quantity مقدار | Unit Cost (USD) include 4 % tax قیمت فی واحد | Total Cost (USD.) قیمت مجموعی | Remarks ملاحظات
A | Supply and installation of two Connex for Guard Room (Note each task include with it’s all related activities to completed the job as per drawing technical specification and project Engineer instruction) | L.S | 1
B | Fabricated Sun Protection and Benches (Note each task include with it’s all related activities to completed the job as per drawing technical specification and project Engineer instruction) | L.S | 1
Total Estimation cost for the project
1 | This BoQ contains statements required in the Offer documents and shall be signed by a duly authorized person. Any addition to, deletion or alteration in the BoQ may result in rejection of the Offer.
3 | Building materials/Construction material and Works may be subject to tests at any time at the request of OCHR technical team/Engineer. These tests shall be carried out as directed by the Engineer or Authorized Repetitive at the place of Manufacture or fabrication or on site or in testing institute. The Contractor shall provide such assistance materials, plant, instruments and labor as required for such test. The cost of carrying out such tests shall be borne by the contractor.
4 | The works actually executed shall be measured and is subject to deduction, Contractor shall visit the site of the works and obtain all information that may be necessary for completing their Offer as under the provision of this contract no claim for additional work is accepted once contract is signed.
5 | If, in the Contractor opinion, The BoQ contains ambiguities or BoQ does not comply with the drawings which might influence the calculations, the contractor shall indicate this to OCHR through a letter or email before submitting the Offer.
6 | Mobilization, Demobilization and other temporary works required for the execution of the items listed above, plus site restoration will be the responsibility of the contractor. Hence all the unit prices are assumed to cover all activities associated with the works, and are not limited to those activities mentioned above, and that the total contract cost quoted is all inclusive to complete the total works.

## Flash latrine
ORGANIZATON FOR COORDINATION OF HUMANITRIAN RELIEF (OCHR)
Bill of Quantity for Construction 4 Set Flash latrine with Septic Tank (احجام کارومواد مصرفی برای تشناب های چهار غرفه تورخم ولایت ننگرهار)
Project Code & Title:Torkham Emergency WASH/AWD Response Construction of 4 Set Flash latrine with Septic Tank at Torkham
Location of Project: Nangarhar Torkham, Zero Point and Transet Center.
Note:This BoQ contains statements required in the Offer documents and shall be signed by a duly authorized person. Any addition to, deletion or alteration in the BoQ may result in rejection of the Offer.
please prior to quoting your prices conduct a site survey. The quantities mentioned in the BoQ may vary with actual work on site. OCHR will carry out a re-estimation of the actual work done against the work mentioned in the BoQ. For any extra work OCHR shall be contacted on prior basis and approval shall be sought for extra work. Any extra work done without the approval/permission of OCHR shall be considered void and no payment will be disbursed for the work done.
S/NO شماره | Discriptions تشریحا ت | Unit واحد | Quantity مقدار | Unit Cost (AFN )include 4 % tax قیمت فی واحد | Total Cost (AFN.) قیمت مجموعی | Remarks ملاحظات
A | construction 4 Set Flash latrine with Septic Tank (Note each task include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction)
A1 | construction 4 Set Flash latrine
A1-1 | Site preparation, Demolation of Existing Sturctuer ,Cutting ,filling ,grading and removal of the existing material. هموار کاری و پاک کاری ساحه از وجود مواد های اضافی موجوده | L.S | 1
A1-2 | Excavation for Foundation and side walk in medium Land according to drawing with all required activitiesکندنکاری برای تهداب وراه روها درزمین متوسط طبق نقشه با امورایجابی | M3 | 8
A1-3 | PCC M 150 (1:2:4) for beneath foundation according to drawing with all required activitiesکانکریت بدون سیخ M-150 نسبت 1:2:4 برای قسمت پایین غرقه طبق نقشه با امورایجابی | M3 | 1.3
A1-4 | Stone Masonry for Foundation, (Toilets, Ramp & Stairs) with Mortar M-250 (1:5) with all required activitiesسنگ کاری غرقه ، (تشناب ها زینه ورمپ) ازسنگ پارچه کوهی با مصالح سمنتی M-250 نسبت 1:5 طبق نقشه با امورایجابی | M3 | 9
A1-5 | Burnt Brick Masonry walls with Mortar M-250 (1:5) according to drawing with all required activitiesخشت کاری دیوارها ازخشت پخته به عرض 35 و 25 سانتی متر با مصالح سمنتی M-250 نسبت 1:5 طبق نقشه با امورایجابی | M3 | 28.5
A1-6 | Filling of floor, ramp, stair & side walk with soil including compaction and all required activities پرکاری فرش، زینه، رمپ و پیاده رو طبق نقشه ازخاک مناسب به ضخامت لازم معه متراکم ساختن با امور ایجابی | M3 | 1.45
A1-7 | Filling of floor, ramp, stair & side walk with gravel including compaction and all required activities | M3 | 2.2
A1-8 | Isogam Insulation layer in the toilet and corridor floor قشر عایق رطوبت ایزوگام در فرش تشناب ها و دهلیزها | M2 | 19.7
A1-9 | PCC M 150 (1:2:4) for Ramp, Floor, stairs, window and opening sill and footpath according to drawing with all required activities کانکریت بدون سیخ M-150 نسبت 1:2:4 برای (فرش مبرزها، زینه، رمپ ، قسمت تحتانی کلکین ها ، قسمت تحتانی روشندان ها و راه رو طبق نقشه با امورایجابی | M3 | 4.436
A1-10 | RCC work for (lower ring on foundation & upper ring on wall, slabs etc) mark M-200 with the ratio (1:1.5:3) as per drawings with all required activities کانکریت سیخــدار M-200 نسبت 1:1.5:3 برای (رینگ تحتانی بالای تهداب ورینگ فوقانی بالای دیوار، سلب تشناب ها وغیره) طبق نقشه با امورایجابی | M3 | 7.5
A1-11 | Outside plaster M-300 (1:4) with all required activities پلسترکاری سطوح خارجی با مصالح سمنتی M-300 نسبت 1:4 با امور ایجابی | M2 | 34.5
A1-12 | Inside plaster M-300 (1:4) with all required activities پلسترکاری سطوح داخلی با مصالح سمنتی M-300 نسبت 1:4 با امور ایجابی | M2 | 65.5
A1-13 | Tile work with good quality tiles on walls of toilets and hand washing area in each side of corridor according to drawing and all required activities تهیه ونصب کاشی با کیفیت خوب دردیوار تشناب ها و قسمت دستشوی در دو طرف دهلیز طبق نقشه و امورایجابی | M2 | 44.32
A1-14 | PCC Mortar M-150 ratio (1:2:4) for mosaic installation in toilet and corridor floor (5 cm thick)مساله سمنتی مارک M-150 با نسبت (1:2:4) برای نصب موزایک در کف تشناب ها و دهلیز به ضخامت 5CM | M3 | 0.35
A1-15 | Ceramic work on floor inside the toilets according to drawing and all required activities تهیه ونصب سرامیک در فرش تشناب ها طبق نقشه و امورایجابی | M2 | 9
A1-16 | Inside Painting with 60% Plastic Emulsion with 3 coats with all required activities رنگمالی آبی سطوح داخلی با %60 پلاستیک ویدرشیت سه قلمه با امورایجابی | M2 | 65.5
A1-17 | Outside Painting with 100% Plastic Emulsion with 3 coats with all required activities رنگمالی آبی سطوح خارجی با %100 پلاستیک ویدرشیت سه قلمه با امورایجا | M2 | 28
A1-18 | Preparing & installation Iron windows with Glass & painting and all required activities, wndow frame from box profile (40x40x3mm), and window frame from box profile (40x40x3mm), with installation of fly screen ساختن ونصب کلکین های فلزیی با ناخونک بشمول رنگمالی ونصب شیشه طبق نقشه با امورایجابی. که چوکات های آن از باکس پروفیل با ابعاد (40x40x3mm) , چوکات پله کلکین از باکس پروفیل با ابعاد (40x40x3mm) , و جالی مگس با نصب چفتی. | M2 | 1.2
A1-19 | Preparing & installation steel doors with anti rust & painting and installation of Glass at top of the door with all required activities according to drawings, door frame from box profile (50x50x3mm), door from box profile (40x40x3mm) & 18 Gauge iron sheet, L-shape (40x40x3mm) ساختن و نصب دروازه های فلزی ازآهن چادر معه آهن جامه و قفل بشمول ضد زنگ ، رنگمالی و نصب شیشه در قسمت فوقانی (روشندان) که چوکات دروازه از باکس پروفیل با ابعاد (50x50x3mm) , چوکات پله دروازه از باکس پروفیل با ابعاد (40x40x3mm) و آهن شکل L با ابعاد (40x40x3mm) و آهن چادر گیج 18 طبق نقشه با امورایجابی. | M2 | 8.82
A1-20 | Preparation & Installation of Steel handrail with anti rust & painting according to drawing & all required activities ساختن و نصب کتاره فلزی زینه و رمپ معه ضد زنگ ورنگمالی روغنی طبق نقشه با امورایجابی | M/L | 18.2
A1-21 | Provide and installation of high quality Individual hang in each latrine, according to drawing تهیه ونصب کوتبند با کیفیت اعلی درتشنابها طبق نقشه با امور ایجابی | Each | 2
A1-22 | Provide and installation of 87CM high quality nickel hand grab inside disable's latrine according to drawing تهیه ونصب دستگیر نکلی با کیفیت اعلی (Grab Hand ) به طول 87CM در اطاق معیوبین طبق نقشه با امور ایجابی | Each | 2
A1-23 | Provide and installation of 300CM high quality nickel hand grab inside disable's latrine according to drawing تهیه ونصب دستگیر نکلی با کیفیت اعلی (Grab Hand ) به طول 210CM در اطاق معیوبین طبق نقشه با امور ایجابی | Each | 2
A1-24 | Provide & installation of English toilet with required activities according to drawing & requirments تهیه ونصب کمود استاده مکمل الاسباب (English Toilet) طبق نقشه با امورایجابی | Each | 2
A1-25 | Provide & installation of Eastern toilet with required activities according to drawing & requirments تهیه ونصب کمود فرشی مکمل الاسباب (Eastern Toilet) طبق نقشه با امورایجابی | Each | 2
A1-26 | Provide and installation of high quality tap with pipe according to drawing with all required activities. تهیه و نصب شیردهن و پیپ با کیفیت اعلی طبق نقشه با امور ایجابی | Each | 4
A1-27 | Supply and installation of high quality 3/4" tap for hand washing facility with all required activities and threaded elbows , تهیه و نصب شیر دهن 3/4 انچ نکلی با کیفیت اعلی برای استیشن های شستن دست ها | Each | 4
A1-28 | Provide and installation of Floor drain 75 mm according to drawing with all required activities تهیه و نصب پایشویه با قطر 75 ملی متر طبق نقشه با امور ایجابی | Each | 8
A1-29 | Provide and installation of high quality Gate valve 40 mm تهیه و نصب وال 40 ملی متر با کیفیت اعلی | Each | 1
A1-30 | Provide and installation of high Gate valve 20 mm تهیه و نصب وال 20 ملی متر | Each | 8
A1-31 | Provide and installation of PP-R Pipe, Bar-16 dia. 20 mm for water supply according to drawing with all required activitiesتهیه و نصب پایب پی پی ار 16 بار، قطرداخلی 20 ملی متر و قطر خارجی 32 ملی متر برای سیستم آبرسانی طبق نقشه با امور ایجابی | LM | 8.5
A1-32 | Provide and installation of PP-R Pipe, Bar-16 dia. Inside dia. 25mm, outside dia. 32 mm for water supply according to drawing with all required activities تهیه و نصب پایب پی وی سی اسکچول 40، قطر 32 ملی متر برای سیستم آبرسانی طبق نقشه با امور ایجابی | LM | 17
A1-33 | Provide and installation of PP-R Pipe, Bar-16 dia. 40 mm for water supply according to drawing with all required activities تهیه و نصب پایب پی پی ار بار 16، قطر 40 ملی متر برای سیستم آبرسانی طبق نقشه با امور ایجابی | LM | 7
A1-34 | Provide and installation of PP-R elbow, Bar-16 dia. 20 mm for water supply according to drawing with all required activities زانو خم پی پی ار بار 16، قطر 20 ملی متر برای سیستم آبرسانیطبق نقشه با امور ایجابی | Each | 20
A1-35 | Provide and installation of PP-R elbow, Bar-16 dia. 40 mm for water supply according to drawing with all required activities تهیه و نصب زانو خم پی پی ار بار 16، قطر 40 ملی متر برای سیستم آبرسانی طبق نقشه با امور ایجابی | Each | 8
A1-36 | Provide and installation of PP-R Tee, Bar-16 dia. 32 mm for water supply according to drawing with all required activities تهیه و نصب سه راه پی پی ار بار 16، قطر 32 ملی متر برای سیستم آبرسانی طبق نقشه با امور ایجابی | Each | 5
A1-37 | Provide and installation of Reducer PP-R, Bar-16 dia. 32x20 mm for water supply according to drawing with all required activities تهیه و نصب بوتلی پی پی ار بار 16، قطر 20x32 ملی متر برای سیستم آبرسانی طبق نقشه با امور ایجابی | Each | 5
A1-38 | Provide and installation of Reducer PP-R, Bar-16 dia. 32x40 mm for water supply according to drawing with all required activities تهیه و نصب بوتلی پی پی ار بار 16، قطر 40x32 ملی متر برای سیستم آبرسانی طبق نقشه با امور ایجابی | Each | 1
A1-39 | Supply and installation of toilets roll holder best quality nickel with all required activities, تهیه و نصب روله کاغذ تشناب نکلی با کیفیت اعلی با تمام امورات ایجابی | Each | 4
A1-40 | Provide and installation of PVC Pipe, schedule-40 dia. 100 mm for Sewer system according to drawing with all required activities تهیه و نصب پایب پی وی سی اسکچول 40، قطر 100 ملی متر برای سیستم فاضلاب طبق نقشه با امور ایجابی | LM | 20.5
A1-41 | Provide and installation of PVC Pipe, schedule-40 dia. 75 mm for Sewer system according to drawing with all required activities تهیه و نصب پایب پی وی سی اسکچول 40، قطر 75 ملی متر برای سیستم فاضلاب طبق نقشه با امور ایجابی | LM | 5
A1-42 | PVC elbow 45°, schedule-40 dia. 100 mm for sewer system according to drawing with all required activities تهیه و نصب زانو خم 45 درجه پی وی سی اسکچول 40، قطر 100 ملی متر برای سیستم فاضلاب طبق نقشه با امور ایجابی | Each | 8
A1-43 | Provide and installation of Double Y تهیه و نصب دبل وای طبق نقشه با امور ایجابی | Each | 8
A1-44 | Provide and installation of PVC Pipe, schedule-40 dia. 50 mm for vent system according to drawing with all required activities تهیه و نصب پایب پی وی سی اسکچول 40، قطر 50 ملی متر برای سیستم ونت طبق نقشه با امور ایجابی | LM | 12
A1-45 | Provide and installation of PVC elbow 90°, schedule-40 dia. 50 mm for vent system according to drawing with all required activities تهیه و نصب زانو خم 90 درجه پی وی سی اسکچول 40، قطر 50 ملی متر برای سیستم ونت طبق نقشه با امور ایجابی | Each | 8
A1-46 | Provide and installation of PVC Tee, schedule-40 dia. 50 mm for vent system according to drawing with all required activities تهیه و نصب سه راه پی وی سی اسکچول 40، قطر 50 ملی متر برای سیستم ونت طبق نقشه با امور ایجابی | Each | 6
A1-47 | Rectangular 12x6 cm GI Sheet Drain Pipes for Roof,Gauge 20 with all required activitiesتهیه و نصب ناودان فلزی جی ای گیج 20 مستطیلی با کیفیت عالی با ابعاد 12x6 cm با تمام امورات ایجابی طبق نقشه | LM | 6.5
A1-48 | Isogam for Roof & around paraphet wall تهیه و نصب ایزوگام بالای بام و دیوار های بارافت مطابق نقشه | M2 | 41
A1-49 | Provide & installation of GI Sheet gauge 20 on top of paraphet wall with all required activities تهیه و نصب شیت جی آی بالای دیوار های پارافت گیج 20 همراه با تمام امورات ایجابی آن مطابق نقشه و مشخصات | M2 | 5.53
A1-50 | Construction of (3x2x2) m septic tank from Brick masonry with RCC Slab | L.sum | 1
Total estimation cost for Construction of 4 set Toilets two for male and two for Female (Afs)
Total Estimation cost for Construction of 4 set Toilets two for male and two for Female (Afs)
B | Lighting System . Female Connex Area (Note each task include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction)
B1 | Lighting System . Female Connex Area
B1-1 | Supply and installation of Lighting System with Stand, Solar, Battery, Bulb (Complete Package) including procurement, transportation installation and PCC work. Female Connex Area | Each | 3 |  |  | 0
Total estimation cost for Supply and installation of Lighting System for Female Connex Area
Total Estimation cost for Supply and installation of Lighting System for Female Connex Area
C | Hand Wash Facilities (Note each task include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction)
C1 | Hand Wash Facilities in the Waiting area
C1-1 | Supply and Installation of Hand Wash Facilities Emertency type in the Waiting area (Emergency-With Steel Water Tanks ) 700 Ltrs tank according to the UNICEF Sample in the site. | Each | 5 | 0
Total estimation cost for supply and installation of five hand wash facilities
Total Estimation cost for supply and installation of hand wash facilities
D | Steel fabricated Sun protection (Note each task include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction)
D1 | Steel fabricated Sun protection for Hygiene Promotion Area (3x3) meters
D1-1 | Supply and installation of Steel fabricated Sun protection ( Sun Shed) for Hygiene Promotion Area (3x3) meters | Sq.m | 9 | 0
Total estimation cost for supply and installation of Steel fabricated Sun protection
Total Estimation cost for Supply and installation ofSteel fabricated Sun protection
E | Benches for Hygiene Promotion Area (Note each task include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction)
E1 | Benches for Hygiene Promotion Area
E1-1 | Supply and installation of Benches for Hygiene Promotion Area (Steel plus with wooden board) L=200cm | Each | 10
Total estimation cost for supply and installation of Benches
Total Estimation cost for supply and installation of Benches for Hygiene Promotion Area
Total Estimation cost for the project |  |  |  | 0
Summary Sheet for for the project
Cod# | Description | Unit واحد | Quantity مقدار | Unit Cost (USD) include 4 % tax قیمت فی واحد | Total Cost (USD.) قیمت مجموعی | Remarks ملاحظات
A | construction 4 Set Flash latrine with Septic Tank (Note each activites include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction) | L.S | 1
B | Lighting System . Female Connex Area(Note each activites include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction) | L.S | 1
C | Hand Wash Facilities (Note each activites include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction) | L.S | 1
D | Steel fabricated Sun protection (Note each activites include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction) | L.S | 1
E | Benches for Hygiene Promotion Area (Note each activites include with it’s all related activites to completed the job as per darwing technical speficiatioon and project Enginner instruction) | L.S | 1
Total Estimation cost for the project
General note
1 | This BoQ contains statements required in the Offer documents and shall be signed by a duly authorized person. Any addition to, deletion or alteration in the BoQ may result in rejection of the Offer.
2 | Building materials/Construction material and Works may be subject to tests at any time at the request of OCHR technical team/Engineer. These tests shall be carried out as directed by the Engineer or Authorized Repetitive at the place of Manufacture or fabrication or on site or in testing institute. The Contractor shall provide such assistance materials, plant, instruments and labor as required for such test. The cost of carrying out such tests shall be borne by the contractor.
3 | The works actually executed shall be measured and is subject to deduction, Contractor shall visit the site of the works and obtain all information that may be necessary for completing their Offer as under the provision of this contract no claim for additional work is accepted once contract is signed.
4 | If, in the Contractor opinion, The BoQ contains ambiguities or BoQ does not comply with the drawings which might influence the calculations, the contractor shall indicate this to OCHR through a letter or email before submitting the Offer.
5 | Mobilization, Demobilization and other temporary works required for the execution of the items listed above, plus site restoration will be the responsibility of the contractor. Hence all the unit prices are assumed to cover all activities associated with the works, and are not limited to those activities mentioned above, and that the total contract cost quoted is all inclusive to complete the total works.