## OFFER FORM ACTED [AFGHANISTAN]

Tender N° T/02FFIB/PR6/G14/Kabul/06/08/2024

Order ID:

Date: 06/08/2024

## To be Filled by Bidder (COMPULSORY)

| Company’s Name (as per registration documents) |  |
| --- | --- |
| Company Authorized Representative’s Name (as per registration documents or duly signed Power of Attorney) |  |
| Company Registration Number |  |
| Registration body |  |
| Company’s mailing address Shop/Office/Building No Street name City Governorate/province/district Country |  |
| Commercial representative for the bid (if different from authorized representative) |  |
| Phone contact number Landline Mobile No |  |
| Email address |  |

I undersigned (to be filled in by the Bidder) _____________________________________________________________________________________________

agree to provide ACTED, non-profit NGO, with items answering the following specifications, according to the general conditions and responsibilities that I engage myself to follow.

Please fill in the following tables, one for each lot:

- If the tender is divided into lots, the Bidder may bid for one or all lots. Each lot may be subject to a separate contract and the quantities indicated for the different lots cannot be divided.

- The Bidder must offer all items & quantities indicated for each lot. Bids for part of a lot only will not be considered.

- If the Bidder is awarded more than one lot, a single contract may be concluded for each lot.

Project Specification:

This project includes the water network with a Solar System, gate valve boxe, Pipe Schem and RCC ground water reservoir.

Specification of Estimate and Bid:

1.This estimate provides for all labour, material transport, tools, equipment’s and method of construction and any other necessary to be incurred for the construction part and included overhead & profit for this whole process and site guidance given by the engineering representative

Lot-01 - Extension for women headed household

Balkh Privince, Mazar-e-Sharif, District 11, Maaz Ebn-e-Jabal

| SN | Description of work or (Item & Specification) | Quantity | Unit | Unit Cost | Total (AFA) |
| --- | --- | --- | --- | --- | --- |
| 1 | Site preparation including leveling of site | 49.00 | m2 |  |  |
| 2 | Excavation | 690.22 | m3 |  |  |
| 3 | Gravel for filling and compaction | 5.00 | m3 |  |  |
| 4 | Shuttering (shuttering should be checked by field engineer that it is well tied, flat and no hole or space between two adjecent planks) | 48.80 | m2 |  |  |
| 5 | PCC M:150 (Under the PCC a layer of gravel is necessary, Mixer and vibrator should be used in placing concrete the cement is fresh, at least 10 days curing) | 2.86 | m3 |  |  |
| 6 | RCC M:200 (with reinforcement, Mixer and vibrator should be used in placing concrete, fresh portland cement should be used and water is clean, at least 15 days curing & as per drawings and specifications | 7.68 | m3 |  |  |
| 7 | Plaster work with cement-sand M:300 (1:4) | 10.08 | m2 |  |  |
| 8 | Back Filling with compaction | 965.65 | m3 |  |  |
| 17 | Metallic reservoir 16 m3 with total high of 8.6m (just it columns is 6m), GI columns 6", with thickness of 2.7mm, connections GI pipe 4", thickness of 2.7mm, connection Angle iron 2 inch, thickness of 3mm, thickness of reservoir under steel is 4mm and around is 3mm with anti oxide painting and 2 layers oil painting (inside & outside) with hand rail around the reservoir, stairs with sefety semi circle, insulation layers with glass wool around the reservoir and Pipes (inlet, outlet, over flow and drainage pipes) with cover of narrow Iron sheet and other nessesery works with installation as all completed with transportation, best quality according to maps and drawings. | 1.00 | LS |  |  |
| 18 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 50mm, Best quality | 342.00 | m |  |  |
| 19 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 40mm, Best quality | 313.00 | m |  |  |
| 20 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 32mm, Best quality | 969.00 | m |  |  |
| 21 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 20mm, Best quality | 426.00 | m |  |  |
| 22 | Supply and installation of Polyethylene PN16 Elbow 40mm, best quality | 5.00 | PCs |  |  |
| 23 | Supply and installation of Polyethylene PN16 Elbow 32mm, best quality | 1.00 | PC |  |  |
| 24 | Supply and installation of Polyethylene Straight Coupling PN16 32x32mm, best quality | 7.00 | PCs |  |  |
| 25 | Supply and installation of Polyethylene PN16 TEE 32x32x32, best quality | 1.00 | PC |  |  |
| 26 | Supply and installation of Polyethylene PN16 TEE 50x50x50, best quality | 2.00 | PCs |  |  |
| 27 | Supply and installation of Polyethylene PN16 TEE 50x40x50, best quality | 1.00 | PC |  |  |
| 28 | Supply and installation of Polyethylene PN16 TEE 50x32x50, best quality | 5.00 | PCs |  |  |
| 29 | Supply and installaiton of Male threaded Adapter (MTA), Size (20x 1/2"), best quality | 31.00 | PCs |  |  |
| 30 | Supply and installaiton of Male threaded Adapter (MTA), Size (50x40), best quality | 1.00 | PC |  |  |
| 31 | Supply and installaiton of Saddle Clamp, Size (32x1/2"), best quality | 23.00 | PCS |  |  |
| 32 | Supply and installaiton of Saddle Clamp, Size (50x1/2"), best quality | 3.00 | PCs |  |  |
| 33 | Supply and installaiton of Saddle Clamp, Size (40x1/2"), best quality | 3.00 | PCs |  |  |
| 34 | Supply and installaiton of Saddle Clamp, Size (50x32), best quality | 2.00 | PCs |  |  |
| 35 | Supply and installation of Reducer (50x32), best quality | 2.00 | PCs |  |  |
| 36 | Supply and installation of Reducer (40x32), best quality | 2.00 | PCs |  |  |
| 37 | Supply and installation of HDPE Polyethylene PN16 End Cap 32mm, best quality | 9.00 | PCS |  |  |
| 38 | Gate Valve D=32mm with all its equipments (flange, gasket) best quality | 1.00 | PC |  |  |
| 39 | Gate Valve D=40mm with all its equipments (flange, gasket) best quality | 1.00 | PC |  |  |
| 40 | Gate Valve D=50mm with all its equipments (flange, gasket) best quality | 4.00 | PCs |  |  |
| 41 | Steel bar with 8 nut & 4 bolt 18mm, L=1.55m according to the drawings | 16.00 | PCs |  |  |
| 42 | Steel Plat (40*40)cm with thickness of 10mm according to the drawings | 4.00 | PCs |  |  |
| 43 | Supply and installation of stairs for inside of valve boxes with Pipe GI 0.5" with all required activites according to drawings | 1.00 | PCS |  |  |
| 44 | Non Return Gate Valve 1.25inch or 40mm best quality | 1.00 | PC |  |  |
| 45 | Water taps 20mm best quality | 31.00 | PCS |  |  |
| 46 | GI Pipe, 20mm for Household connection, (with installation) | 37.20 | m |  |  |
| 47 | GI Elbow 20mm for Household connection, best quality | 62.00 | PCS |  |  |
| 48 | GI Adapter HDPE 25mm to GI 3/4", Female threaded Adapter for Household connection best quality | 2.00 | PCS |  |  |
| 49 | Supply and installation of Galvanized Iron (GI) Pipe, inside diameter 1.5" for inlet pipe of Metallic water Tank with Glass wool and iron sheet cover best quality | 26.00 | m |  |  |
| 50 | Supply and installation of Galvanized Iron (GI) Pipe, inside diameter 1 1/4" for outlet pipe of Metallic water Tank with Glass wool and iron sheet cover best quality | 10.00 | m |  |  |
| 51 | Supply and installation of GI elbow 1.5'' for inlet pipe of Metallic water tank best quality | 4.00 | PCs |  |  |
| 52 | Supply and installation of GI elbow 1 1/4'' for outlet pipe of Metallic water tank best quality | 4.00 | PCs |  |  |
| 53 | Supply and installaiton of Coupling (Socket), (GI), 1.5", best quality for Metallic water Tank | 6.00 | PCS |  |  |
| 54 | Supply and installaiton of Coupling (Socket), (GI), 1 1/4", best quality for Metallic water Tank | 2.00 | PCs |  |  |
| 55 | Supply and installaiton of Elbow (GI), 1.5", best qualtiy for RCC water Tank | 6.00 | PCS |  |  |
| 56 | Supply and installaiton of Elbow (GI), 1 1/4", best qualtiy for RCC water Tank | 2.00 | PCs |  |  |
| 57 | Supply and installation of Straight coupler (GI) 40mm best quality | 1.00 | PC |  |  |
| 58 | Warning tape for water supply network best quality | 1,924.00 | m |  |  |
| 59 | Teflon Tape best quality | 10.00 | PCS |  |  |
| 60 | Brick masonry with mortar M:300 (1:4) | 3.36 | m3 |  |  |
| 61 | Sign board size (80*120)cm with installation and writing two sides from iron sheet 04 with its stand | 1.00 | PC |  |  |
| Grand Total |  |  |  |  |  |

Lot-02 - Rehabilitation and Prolongation of Water irrigation Network

Balkh Privince, Mazar-e-Sharif, District 11, Maaz Ebn-e-Jabal

| SN | Description of work or (Item & Specification) | Quantity | Unit | Unit Cost | Total (AFA) |
| --- | --- | --- | --- | --- | --- |
| 1 | Site preparation including leveling of site | 16.00 | m2 |  |  |
| 2 | Excavation | 82.66 | m3 |  |  |
| 3 | Gravel for filling and compaction | 1.56 | m3 |  |  |
| 4 | Shuttering (shuttering should be checked by field engineer that it is well tied, flat and no hole or space between two adjecent planks) | 32.00 | m2 |  |  |
| 5 | PCC M:150 (Under the PCC a layer of gravel is necessary, Mixer and vibrator should be used in placing concrete the cement is fresh, at least 10 days curing) | 0.68 | m3 |  |  |
| 6 | RCC M:200 (with reinforcement, Mixer and vibrator should be used in placing concrete, fresh portland cement should be used and water is clean, at least 15 days curing & as per drawings and specifications | 2.92 | m3 |  |  |
| 7 | Back Filling with compaction | 69.55 | m3 |  |  |
| 8 | Metallic reservoir 3 m3 with total high of 6.75m (just it columns is 5m), GI columns 4", with thickness of 2.5mm, connections GI pipe 3", thickness of 2mm, connection Angle iron 1.5 inch, thickness of 2.5mm, thickness of reservoir under steel is 2mm and around is 1.5mm with anti oxide painting and 2 layers oil painting (inside & outside) with hand rail around the reservoir, stairs with sefety semi circle, insulation layers with glass wool around the reservoir and Pipes (inlet, outlet, over flow and drainage pipes) with cover of narrow Iron sheet and other nessesery works with installation as all completed with transportation, best quality according to maps and drawings. | 1.00 | LS |  |  |
| 9 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 32mm, Best quality | 159.00 | m |  |  |
| 10 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 25mm, Best quality | 100.00 | m |  |  |
| 11 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 16 SDR 17), Outside Diameter: 20mm, Best quality | 30.00 | m |  |  |
| 12 | Supply and installation of Polyethylene PN16 Elbow 25mm, best quality | 3.00 | PCs |  |  |
| 13 | Supply and installation of Polyethylene PN16 Elbow 32mm, best quality | 3.00 | PC |  |  |
| 14 | Supply and installation of Polyethylene Straight Coupling PN16 32x32mm, best quality | 4.00 | PCs |  |  |
| 15 | Supply and installation of Polyethylene PN16 TEE 32x32x32, best quality | 1.00 | PC |  |  |
| 16 | Supply and installaiton of Male threaded Adapter (MTA), Size (20x 1/2"), best quality | 2.00 | PCs |  |  |
| 17 | Supply and installaiton of Saddle Clamp, Size (32x1/2"), best quality | 2.00 | PCS |  |  |
| 18 | Supply and installation of Reducer (32x25), best quality | 2.00 | PCs |  |  |
| 19 | Supply and installation of Reducer (25x20), best quality | 2.00 | PCs |  |  |
| 20 | Supply and installation of HDPE Polyethylene PN16 End Cap 32mm, best quality | 2.00 | PCS |  |  |
| 21 | Gate Valve D=32mm with all its equipments (flange, gasket) best quality | 1.00 | PC |  |  |
| 22 | Steel bar with 8 nut & 4 bolt 18mm, L=1.55m according to the drawings | 16.00 | PCs |  |  |
| 23 | Steel Plat (40*40)cm with thickness of 10mm according to the drawings | 4.00 | PCs |  |  |
| 24 | Non Return Gate Valve 1.25inch or 25mm best quality | 1.00 | PC |  |  |
| 25 | Water taps 20mm best quality | 31.00 | PCS |  |  |
| 26 | GI Pipe, 20mm for Household connection, (with installation) | 5.00 | m |  |  |
| 27 | GI Elbow 20mm for Household connection, best quality | 6.00 | PCS |  |  |
| 28 | GI Adapter HDPE 25mm to GI 3/4", Female threaded Adapter for Household connection best quality | 2.00 | PCS |  |  |
| 29 | Supply and installation of Galvanized Iron (GI) Pipe, inside diameter 25mm for inlet pipe of Metallic water Tank with Glass wool and iron sheet cover best quality | 8.00 | m |  |  |
| 30 | Supply and installation of Galvanized Iron (GI) Pipe, inside diameter 1" for outlet pipe of Metallic water Tank with Glass wool and iron sheet cover best quality | 7.00 | m |  |  |
| 31 | Supply and installation of GI elbow 25mm for inlet pipe of Metallic water tank best quality | 4.00 | PCs |  |  |
| 32 | Supply and installation of GI elbow 1'' for outlet pipe of Metallic water tank best quality | 4.00 | PCs |  |  |
| 33 | Supply and installaiton of Coupling (Socket), (GI), 1", best quality for Metallic water Tank | 2.00 | PCS |  |  |
| 34 | Supply and installaiton of Coupling (Socket), (GI), 25mm, best quality for Metallic water Tank | 2.00 | PCs |  |  |
| 35 | Warning tape for water supply network best quality | 189.00 | m |  |  |
| 36 | Teflon Tape best quality | 10.00 | PCS |  |  |
| 37 | Supply and installation of Solar panel best quality 235w up to 250w Power of Tolerance: ±3 Open circuit voltage: 39.42 V Short circuit current: 9.03 A Contractor must submit manufucturer warranty for solar panels for a period of not less then 25 years, according to MRRD Standard. Performance to 10 years (min 90% power output), Performance to 15years (min 80% power output), must be confirmed by producer company, Visible label on solar panel with technical specification. | 4.00 | PCs |  |  |
| 38 | Sign board size (80*120)cm with installation and writing two sides from iron sheet 04 with its stand | 1.00 | PC |  |  |
| Grand Total |  |  |  |  |  |

Lot-03 - Rehabilitation and Prolongation of Water  Network (Household Connection)

Balkh Privince, Mazar-e-Sharif, District 11 and 12

| SN | Description of work or (Item & Specification) | Quantity | Unit | Unit Cost | Total (AFA) |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation | 1,205.38 | m3 |  |  |
| 2 | Gravel for stand tap foundation (apron) | 4.18 | m3 |  |  |
| 3 | Shuttering (shuttering should be checked by field engineer that it is well tied, flat and no hole or space between two adjecent planks) | 33.40 | m2 |  |  |
| 4 | PCC M:150 (Under the PCC a layer of gravel is necessary, the cement is fresh, at least 10 days curing) | 4.18 | m3 |  |  |
| 5 | Backfilling of pipe trench | 1,201.20 | m3 |  |  |
| 6 | Pipe HDPE 100, PN10, 25mm for water network | 3,432.00 | m |  |  |
| 7 | Pipe (1/2)inch (کرمچی) best quality | 1,670.00 | m |  |  |
| 8 | Supply and installation of HDPE PN16 Elbow 25mm, best quality | 167.00 | PCS |  |  |
| 9 | Supply and installation of HDPE Straight Coupling PN16 (25x25)mm, best quality | 167.00 | PCS |  |  |
| 10 | Water Tap 20mm best quality | 167.00 | PCS |  |  |
| 11 | GI Pipe, 20mm (1/2)" for Stand Tap, (with installation of Glass wool) | 200.40 | m |  |  |
| 12 | GI Elbow 20mm for Stand Tap, best quality | 334.00 | PCS |  |  |
| 13 | GI Adapter HDPE 25mm to GI 1/2", Female threaded Adapter for Stand Tap best quality | 167.00 | PCS |  |  |
| 14 | Teflon Tape best quality | 167.00 | PCS |  |  |
| 15 | Supply and writing of Sign board (100x80)cm from iron sheet 18 gauge with installation | 4.00 | PCs |  |  |
| Grand Total |  |  |  |  |  |

Lot-04 - Pipe Extension of water network

Kunduz Province, Kunduz City, District 5 and 6

| SN | Description of work or (Item & Specification) |  | Quantity | Unit | Unit Cost | Total (AFA) |
| --- | --- | --- | --- | --- | --- | --- |
| 1.00 |  | Well Cleaning ((3.14*0.5*0.5)*1)M ,140 #Well | 109.90 | m3 |  |  |
| 2.00 |  | Water Pump 1inch (~1 Phase,220-240 voltage, 1.5 HP, 1.1 KW, 50HZ, H max=45m@50Lit/min ) From (JD) Company For 200 Beneficiary | 200.00 | Pcs |  |  |
| 3.00 |  | Flexible Pipe 25mm Best Quality (15m*200BNFs) | 3,000.00 | M |  |  |
| 4.00 |  | HDPE Pipe 25mm Best Quality (30m*200BNFs) | 6,000.00 | M |  |  |
| 5.00 |  | HDPE Female Adapter 25mm Best Quality (1*200BNFs) | 200.00 | Pcs |  |  |
| 6.00 |  | (Barb Brass) Male Brass Pipe Nipple 25mm Best Quality (1*200BNFs) | 200.00 | Pcs |  |  |
| Grand Total |  |  |  |  |  |  |

Lot-05 - Pipe Extension to the KG BNFs from the existing water network and new Solar+Water pumps, Jalalabad PD#8, Nangarhar Province

Nengerhar Province, Jalalabad City, District 8

| SN | Description of work or (Item & Specification) | Quantity | Unit | Unit Cost | Total (AFA) |
| --- | --- | --- | --- | --- | --- |
| Miscellaneous work |  |  |  |  |  |
| 1 | Cutting of hard PCC paved streets (H 0.15)m with cutter machine and remove the materials from the site according to the drawing and technical specification | 70.00 | m |  |  |
| 2 | Excavation for the Pipe location, HH connection in land type 1 (Soft Cutting), and Transportation of Excess soil from the site according to drawing and technical specification | 257.58 | m3 |  |  |
| 3 | Backfilling of pipe trench for the distribution pipes with soil, all related work according to drawing and technical specification | 167.52 | m3 |  |  |
| 4 | Backfilling of pipe trench for the distribution pipes with sand, all related work according to drawing and technical specification | 83.76 | m3 |  |  |
| 5 | Crash Gravel for patching under the foundation of the water tap point and the foundation of the PV frame according to the drawing and specification | 2.37 | m3 |  |  |
| 6 | PCC-M150 for Stand posts, Existing road (Under the PCC, a layer of sand is necessary, the cement is fresh, a mixer should be used for placing concrete, and at least 10 days of curing should be allowed), according to the drawing and technical specification. | 9.37 | m3 |  |  |
| 7 | Shuttering (shuttering should be checked by field engineer that it is well tied, flat and no hole or space between two adjecent planks) | 8.20 | m2 |  |  |
| Solar System |  |  |  |  |  |
| 8 | Solar panels from 250 watts are internationally certified by IEC, ISO, TUV, and CE. Range of ambient temperature: 233..358k Power of Tolerance: +3% up to 5% Maximum power voltage: 31.8–33.2 v Open circuit voltage: 37.4–39.5V Max power point current: 8.5-9.5A Model shortcut current: 9-10A Minimum power output: 250 Watt Solar model : polycrystalline or Monocrystalline The contractor must submit a manufacturer warranty for solar panels for a period of not less than 20 years The contractor must submit all the required certificates for each PV solar panel. PV solar panels should be certified by the manufacturing company and MRRD. | 85.00 | pcs |  |  |
| 9 | Supply of solar pump with its control box and fuse box in stainless steel Rated Power :250 watt Rated Voltage:DC24V 8AMP Main frequency:50/60HZ Avg. water production :1.5m3/hr. outlet 0.75 inch Total Head: 30-40m | 84.00 | pcs |  |  |
| 10 | 3*1.5mm cable for the solar system and water pump best quality of the market. | 2100.00 | m |  |  |
| Pipe and fitting |  |  |  |  |  |
| 11 | Supplying, installation, laying, and fitting in place of high-density polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 20mm | 2462.00 | m |  |  |
| 12 | Supply and installation of Polyethylene Sockets 40mm Best quality of Market | 10.00 | pcs |  |  |
| 13 | Supply and installation of Polyethylene Elbow 1" inch, (32mm) Best quality of Market | 2.00 | pcs |  |  |
| 14 | Supply and installation of Gate valve 1" inch , (32mm)Best quality of Market with all it's necessary equipment | 3.00 | pcs |  |  |
| 15 | Supply and installation of Gate valve 3" inch Best quality of Market with all it's necessary equipment | 5.00 | pcs |  |  |
| 16 | Supply and installation of Gate valve 2" inch ,Best quality of Market with all it's necessary equipment | 4.00 | pcs |  |  |
| 17 | House connection from main pipe to inside houses, public buildings with all accessories including 1/2" Saddle clamp, Elbow, Female threaded adapter (MTA), Gate valve, Water tap, Socket, 2m GI pipe with die (1/2) inch, 20mm HDPE pipe with an average length of 15 meters each (including TEE to connect to main pipe) | 41.00 | Piece |  |  |
| 18 | Pipe (1/2)inch (کرمچی) best quality | 448.00 | m |  |  |
| 19 | Supply and installation of HDPE Straight Coupling PN16 (25x25)mm, best quality | 11.00 | PCS |  |  |
| Grand Total |  |  |  |  |  |

Lot-06 - Rehabilitation and Prolongation of Water Irrigation Network (Household Connection)

Herat Province, Herat City, District 13, Kahdistan

| SN | Description of work or (Item & Specification) | Quantity | Unit | Unit Cost | Total (AFA) |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation | 1,997.00 | m3 |  |  |
| 2 | Gravel for stand tap foundation (apron) | 5.00 | m3 |  |  |
| 3 | Shuttering (shuttering should be checked by field engineer that it is well tied, flat and no hole or space between two adjecent planks) | 40.00 | m2 |  |  |
| 4 | PCC M:150 (Under the PCC a layer of gravel is necessary, the cement is fresh, at least 10 days curing) | 5.00 | m3 |  |  |
| 5 | Backfilling of pipe trench | 1,992.00 | m3 |  |  |
| 6 | Pipe HDPE 100, PN10, 25mm for water network | 6,225.00 | m |  |  |
| 7 | Hose pipe (1/2)inch best quality | 2,000.00 | m |  |  |
| 8 | Supply and installation of HDPE PN10 Elbow 25mm, best quality | 200.00 | PCS |  |  |
| 9 | Supply and installation of HDPE Straight Coupling PN10 (25x25)mm, best quality | 200.00 | PCS |  |  |
| 10 | Water Tap 20mm best quality | 200.00 | PCS |  |  |
| 11 | GI Pipe, 20mm (1/2)" for Stand Tap, (with installation of Glass wool) | 200.00 | m |  |  |
| 12 | GI Elbow 20mm for Stand Tap, best quality | 400.00 | PCS |  |  |
| 13 | GI Adapter HDPE 25mm to GI 1/2", Female threaded Adapter for Stand Tap best quality | 200.00 | PCS |  |  |
| 14 | Teflon Tape best quality | 200.00 | PCS |  |  |
| 15 | Supply and writing of Sign board (100x80)cm from iron sheet 18 gauge with installation | 13.00 | PCs |  |  |
| Grand Total |  |  |  |  |  |

Workplan:

Please attach a detailed work plan demonstrating your ability to fulfil ACTED’s expectations.

Bidder’s Conditions:

|  | General conditions recommended by ACTED | General conditions offered by Bidders (if different) |
| --- | --- | --- |
| Validity of the offer | Six months |  |
| Terms of payment | Negotiable |  |

Name of Bidder’s Authorized Representative     :________________________

Authorized signature and stamp: 		________________________

Date: 	________________________