## Herat
Bill of Quantity (BoQ)- Herat PERMANENT SHELTER - REGULAR (Two Rooms Shelter and Latrine)
S.no | Line Item/Description | Unit | Qty/Unit | Unit Cost AFN | No of Shelter | Total Cost (AFN)
1 | Sand for PCC blinding, Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 24.21 |  | 120 | 0
2 | Sand for Plaster work. Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 2.64 |  | 120 | 0
3 | Gravel/aggregate for PCC blinding (river course aggregate). Including transportation and all related works. | m3 | 5.43 |  | 120 | 0
4 | Foundation stone masonry with 1:6 cement and sand mortar with quality stone from granite or any other good stone locally available and approved by engineer in charge including pointing | m3 | 31.22 |  | 120 | 0
5 | Plastic Sheeting | m2 | 51 |  | 120 | 0
6 | caly for Gypsum plaster of masonry walls, Soil for mud for ceiling brick masonry | m3 | 2.78 |  | 120 | 0
7 | Hardcore filling for internal floor | m3 | 6.9 |  | 120 | 0
8 | Soil for ceiling bricks grounting and sloping | m3 | 4.2 |  | 120 | 0
9 | Compacted backfilling for internal floor, 10cm layer of good quality soi | m3 | 3.45 |  | 120 | 0
10 | First Class Cooked brick masonry for walls (200x100x70), 0.32m width, according to the drawings. Including transportation and all related works. | Pcs | 20943 |  | 120 | 0
11 | RCC squating slab, 1.2x1.2m 5cm thick, according to the drawings. Including all materials,and related works. | pcs | 1 |  | 120 | 0
12 | RCC vault door and frame, total size 0.66x0.66m 10cm thick, according to the drawings. Including materials and all related works | pcs | 1 |  | 120 | 0
13 | Hollow concrete blocks, 30x30cm, covered with net, according to the drawings. Including all related works. | L.S | 1 |  | 120 | 0
14 | Mobilization of tools, equipment, machinary, scaffolding, temporary facilities, workmanship, protection gear / PPE as per tasks, to the project as required. | L.S | 1 |  | 120 | 0
15 | Ventilation pipe PVC 4" diameter, according to the drawings. Including transportation and all related works. | m | 3 |  | 120 | 0
16 | Wire gauze fly trap for PVC ventilation pipe. Including transportation and all related works. | pcs | 1 |  | 120 | 0
17 | Metallic downspout, section 12x10cm - gauge 18, 2 pieces of 3.5m height, according to the drawings. Including transportation and all related works. | pcs | 2 |  | 120 | 0
18 | Metallic gutter, section 12x10cm - gauge 26 according to the drawings. Including transportation and all related works. | pcs | 1 |  | 120 | 0
19 | Metallic sign board for shelter identification, 30x20cm, clean, wih one coat of anti-rust paint and one coat of final paint, with all related works. | pcs | 1 |  | 120 | 0
Grand Total in AFN | [5 empty] | 0

## Herat-EQ(NDR)
Bill of Quantity (BoQ)-Herat PERMANENT SHELTER - Natural Disaster Resilient Shelter (Two Rooms Shelter, Kitchen and Latrine)
S.no | Line Item/Description | Unit | Qty/Unit | Unit Cost AFN | No of Shelter | Total Cost (AFN)
1 | Sand for wall masonry, including transportation. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 5.2 | 390 |  | 0
2 | Sand for Plaster work. Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 4.05 | 390 |  | 0
3 | Sandy Gravel (Mix of sand and River gravel) for PCC blinding. Including transportation and all related works. | m3 | 12.51 | 390 |  | 0
4 | Sand for RCC footing, ring beam, lintels, Roof beams and columns | m3 | 5.7 | 1400 |  | 0
5 | Crush aggregate for footings, Ring beam, lintels, Roof beams and columns | m3 | 9.4 | 1400 |  | 0
6 | Foundation stone masonry with 1:6 cement and sand mortar with quality stone from granite or any other good stone locally available and approved by engineer in charge including pointing | m3 | 9.85 | 840 |  | 0
7 | Plastic Sheeting | m2 | 55 | 15 |  | 0
8 | caly for Gypsum plaster of masonry walls, Soil for mud for ceiling brick masonry | m3 | 2.4 | 280 |  | 0
9 | Hardcore filling for internal floor | m3 | 8 | 450 |  | 0
10 | Soil for ceiling bricks grounting and sloping | m3 | 5.6 | 280 |  | 0
11 | Compacted backfilling for internal floor, 10cm layer of good quality soi | m3 | 7.8 | 250 |  | 0
12 | First Class Cooked brick masonry for walls (200x100x70), 0.32m width, according to the drawings. Including transportation and all related works. | Pcs | 15100 | 4.2 |  | 0
13 | RCC squatting slab, 1.4x1.4m 7cm thick, according to the drawings. Including all materials, and related works. | pcs | 1 | 1200 |  | 0
14 | RCC vault door and frame, total size 0.66x0.66m 10cm thick, according to the drawings. Including materials and all related works | pcs | 1 | 600 |  | 0
15 | Hollow concrete blocks, 30x30cm, covered with net, according to the drawings. Including all related works. | L.S | 1 | 50 |  | 0
16 | Mobilization of tools, equipment, machinary, scaffolding, temporary facilities, workmanship, protection gear / PPE as per tasks, to the project as required. | L.S | 1 | 2500 |  | 0
17 | Ventilation pipe PVC 4" diameter, according to the drawings. Including transportation and all related works. | m | 3 | 60 |  | 0
18 | Wire gauze fly trap for PVC ventilation pipe. Including transportation and all related works. | pcs | 1 | 100 |  | 0
19 | Metallic downspout, section 12x10cm - gauge 18, 2 pieces of 3.5m height, according to the drawings. Including transportation and all related works. | pcs | 2 | 1050 |  | 0
20 | Metallic gutter, section 12x10cm - gauge 26 according to the drawings. Including transportation and all related works. | pcs | 1 | 300 |  | 0
21 | Metallic sign board for shelter identification, 30x20cm, clean, wih one coat of anti-rust paint and one coat of final paint, with all related works. | pcs | 1 | 150 |  | 0
Grand Total in AFN | [5 empty] | 0

## Badghis
Bill of Quantity (BoQ)- Badghis PERMANENT SHELTER - REGULAR (Two Rooms Shelter and Latrine)
S.no | Line Item/Description | Unit | Qty/Unit | Unit Cost AFN | No of Shelter | Total Cost (AFN)
1 | Sand for PCC blinding, Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 24.21 |  | 48 | 0
2 | Sand for Plaster work. Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 2.64 |  | 48 | 0
3 | Gravel/aggregate for PCC blinding (river course aggregate). Including transportation and all related works. | m3 | 5.43 |  | 48 | 0
4 | Foundation stone masonry with 1:6 cement and sand mortar with quality stone from granite or any other good stone locally available and approved by engineer in charge including pointing | m3 | 31.22 |  | 48 | 0
5 | Plastic Sheeting | m2 | 47 |  | 48 | 0
6 | caly for Gypsum plaster of masonry walls, Soil for mud for ceiling brick masonry | m3 | 2.78 |  | 48 | 0
7 | Hardcore filling for internal floor | m3 | 6.9 |  | 48 | 0
8 | Soil for ceiling bricks grounting and sloping | m3 | 4.2 |  | 48 | 0
9 | Compacted backfilling for internal floor, 10cm layer of good quality soi | m3 | 3.45 |  | 48 | 0
10 | First Class Cooked brick masonry for walls (200x100x70), 0.32m width, according to the drawings. Including transportation and all related works. | Pcs | 20943 |  | 48 | 0
11 | RCC squating slab, 1.2x1.2m 5cm thick, according to the drawings. Including all materials,and related works. | pcs | 1 |  | 48 | 0
12 | RCC vault door and frame, total size 0.66x0.66m 10cm thick, according to the drawings. Including materials and all related works | pcs | 1 |  | 48 | 0
13 | Hollow concrete blocks, 30x30cm, covered with net, according to the drawings. Including all related works. | L.S | 1 |  | 48 | 0
14 | Mobilization of tools, equipment, machinary, scaffolding, temporary facilities, workmanship, protection gear / PPE as per tasks, to the project as required. | L.S | 1 |  | 48 | 0
15 | Ventilation pipe PVC 4" diameter, according to the drawings. Including transportation and all related works. | m | 3 |  | 48 | 0
16 | Wire gauze fly trap for PVC ventilation pipe. Including transportation and all related works. | pcs | 1 |  | 48 | 0
17 | Metallic downspout, section 12x10cm - gauge 18, 2 pieces of 3.5m height, according to the drawings. Including transportation and all related works. | pcs | 2 |  | 48 | 0
18 | Metallic gutter, section 12x10cm - gauge 26 according to the drawings. Including transportation and all related works. | pcs | 1 |  | 48 | 0
19 | Metallic sign board for shelter identification, 30x20cm, clean, wih one coat of anti-rust paint and one coat of final paint, with all related works. | pcs | 1 |  | 48 | 0
Grand Total in AFN | [5 empty] | 0

## Farah
Bill of Quantity (BoQ)- Farah PERMANENT SHELTER - REGULAR (Two Rooms Shelter and Latrine)
S.no | Line Item/Description | Unit | Qty/Unit | Unit Cost AFN | No of Shelter | Total Cost (AFN)
1 | Sand for PCC blinding. Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 25.39 |  | 20 | 0
2 | Sand for Plaster work. Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 2.64 |  | 20 | 0
3 | Gravel/aggregate for PCC blinding. Course aggregate (river course sand). Including transportation and all related works. | m3 | 6.05 |  | 20 | 0
4 | Foundation stone masonry with 1:6 cement and sand mortar with quality stone from granite or any other good stone locally available and approved by engineer in charge including pointing | m3 | 31.22 |  | 20 | 0
5 | Plastic Sheeting | m2 | 48 |  | 20 | 0
6 | caly for Gypsum plaster of masonry walls, Soil for mud for ceiling brick masonry | m3 | 2.7 |  | 20 | 0
7 | Hardcore filling for internal floor | m3 | 6.9 |  | 20 | 0
9 | Compacted backfilling for internal floor, 10cm layer of good quality soi | m3 | 3.45 |  | 20 | 0
10 | Hollow concrete blocks (300x150x150), 0.30m width, according to the drawings. Including transportation and all related works. | Pcs | 4185 |  | 20 | 0
11 | Ceiling concrete Hollow blocks 600x150x200mm | Pcs | 555 |  | 20
12 | RCC squating slab, 1.2x1.2m 5cm thick, according to the drawings. Including all materials,and related works. | pcs | 1 |  | 20 | 0
13 | RCC vault door and frame, total size 0.66x0.66m 10cm thick, according to the drawings. Including materials and all related works | pcs | 1 |  | 20 | 0
14 | Hollow concrete blocks, 30x30cm, covered with net, according to the drawings. Including all related works. | L.S | 1 |  | 20 | 0
15 | Mobilization of tools, equipment, machinary, scaffolding, temporary facilities, workmanship, protection gear / PPE as per tasks, to the project as required. | L.S | 1 |  | 20 | 0
16 | Ventilation pipe PVC 4" diameter, according to the drawings. Including transportation and all related works. | m | 3 |  | 20 | 0
17 | Wire gauze fly trap for PVC ventilation pipe. Including transportation and all related works. | pcs | 1 |  | 20 | 0
18 | Metallic downspout, section 12x10cm - gauge 18, 2 pieces of 3.5m height, according to the drawings. Including transportation and all related works. | pcs | 2 |  | 20 | 0
19 | Metallic gutter, section 12x10cm - gauge 26 according to the drawings. Including transportation and all related works. | pcs | 1 |  | 20 | 0
20 | Metallic sign board for shelter identification, 30x20cm, clean, wih one coat of anti-rust paint and one coat of final paint, with all related works. | pcs | 1 |  | 20 | 0
Grand Total in AFN | [5 empty] | 0

## Farah-Gulistan
Bill of Quantity (BoQ)- Farah(Gulistan) PERMANENT SHELTER - REGULAR (Two Rooms Shelter and Latrine)
S.no | Line Item/Description | Unit | Qty/Unit | Unit Cost AFN | No of Shelter | Total Cost (AFN)
1 | Sand for PCC blinding. Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 25.39 |  | 35 | 0
2 | Sand for Plaster work. Including transportation and all related works. Natural sand deposited by stream or glacial agencies as a result of disintegration of rock is best form of sand. | m3 | 2.64 |  | 35 | 0
3 | Gravel/aggregate for PCC blinding. Course aggregate (river course sand). Including transportation and all related works. | m3 | 6.05 |  | 35 | 0
4 | Foundation stone masonry with 1:6 cement and sand mortar with quality stone from granite or any other good stone locally available and approved by engineer in charge including pointing | m3 | 31.22 |  | 35 | 0
5 | Plastic Sheeting | m2 | 48 |  | 35 | 0
6 | caly for Gypsum plaster of masonry walls, Soil for mud for ceiling brick masonry | m3 | 2.7 |  | 35 | 0
7 | Hardcore filling for internal floor | m3 | 6.9 |  | 35 | 0
9 | Compacted backfilling for internal floor, 10cm layer of good quality soi | m3 | 3.45 |  | 35 | 0
10 | Hollow concrete blocks (300x150x150), 0.30m width, according to the drawings. Including transportation and all related works. | Pcs | 4185 |  | 35 | 0
11 | Ceiling concrete Hollow blocks 600x150x200mm | Pcs | 555 |  | 35 | 0
12 | RCC squating slab, 1.2x1.2m 5cm thick, according to the drawings. Including all materials,and related works. | pcs | 1 |  | 35 | 0
13 | RCC vault door and frame, total size 0.66x0.66m 10cm thick, according to the drawings. Including materials and all related works | pcs | 1 |  | 35 | 0
14 | Hollow concrete blocks, 30x30cm, covered with net, according to the drawings. Including all related works. | L.S | 1 |  | 35 | 0
15 | Mobilization of tools, equipment, machinary, scaffolding, temporary facilities, workmanship, protection gear / PPE as per tasks, to the project as required. | L.S | 1 |  | 35 | 0
16 | Ventilation pipe PVC 4" diameter, according to the drawings. Including transportation and all related works. | m | 3 |  | 35 | 0
17 | Wire gauze fly trap for PVC ventilation pipe. Including transportation and all related works. | pcs | 1 |  | 35 | 0
18 | Metallic downspout, section 12x10cm - gauge 18, 2 pieces of 3.5m height, according to the drawings. Including transportation and all related works. | pcs | 2 |  | 35 | 0
19 | Metallic gutter, section 12x10cm - gauge 26 according to the drawings. Including transportation and all related works. | pcs | 1 |  | 35 | 0
20 | Metallic sign board for shelter identification, 30x20cm, clean, wih one coat of anti-rust paint and one coat of final paint, with all related works. | pcs | 1 |  | 35 | 0
Grand Total in AFN | [5 empty] | 0
0

## Shelters Location
Afghan Community and Health Rehabilitation Organization
Construction of Permanent Shelters In Western Region 2024
Province | District | Number of shelter
Herat | Herat City | 4
| Anjel | 93
| Guzara | 23
| Koshki robati sangi | 158
Herat Total |  | 278
Badghis | Qalai Now | 48
Badghis Total |  | 48
Farah | Farah City | 20
| Gulistan | 35
Farah Total |  | 55
Grant Total |  | 381