## Estimation Sheet
Project: | DAWAM |  |  | province | Faryab |  | Date:
ID# |  |  |  | district | Shirin Tagab
Project purpose: cosntruction of sorlar powered water supply network |  |  |  | village | Faizabad DH
S/N | Particulars of Items شرح موضوع | No. تعداد | Area مساحت |  | Length طول | Legth or Depth. طول یا صخامت | Qty مقدار | Total Qty مقدارمجموعی | Unit مقدار
1 | Excavation Work | [6 empty] | 66.215 | M3
| Excavation for sewer pipe (outside existing buildings) | 1 | b*h*L | 0.6 | 0.7 | 77 | 32.34 | 32.34 | M3
| Excavation for water supply pipe (outside existing buildings) | 1 | b*h*L | 0.4 | 0.7 | 50 | 14 | 14 | M3
| Excavation for Wells (Septic Wells) | 3 | (3.14*d*d/4)*h | 0.785 | 1 | 5 | 3.925 | 11.775 | M3
| Excavation for Manhole | 3 | b*h*L | 1.5 | 1.5 | 1.2 | 2.7 | 8.1 | M3
2 | Ceramic/Tile Work Demolition | [6 empty] | 126
| Excavation and dimolition of ceramic and tiles on Floor | 1 | b*L | 0.8 | 1 | 129.5 | 103.6 | 103.6 | M2
| Excavation and dimolition of ceramic and tiles on Wash Basin Back | 10 | b*L | 1.4 | 1.6 | 1 | 2.24 | 22.4 | M2
3 | Ceramic/Tile Work | [6 empty] | 126
| Ceramic and tiles on Floor | 1 | b*L | 0.8 | 1 | 129.5 | 103.6 | 103.6 | M2
| Ceramic and tiles on Wash Basin Back | 10 | b*L | 1.4 | 1.6 | 1 | 2.24 | 22.4 | M2
4 | Painting Work | [6 empty] | 180
| Existing Operation Room wall painting | 1 | b*L | 1.5 | 1 | 10 | 15 | 15 | M2
| Existing Operation Room cielling painting | 1 | b*L | 2 | 3 | 1 | 6 | 6 | M2
| Existing Female BNF toilet wall painting | 1 | b*L | 6 | 8 | 74 | 111 | 111 | M2
| Existing Operation Room cielling painting | 1 | b*L | 6 | 8 | 48 | 48 | 48 | M2
4 | Plumbing
| PPR- 32mm, PN-10 | 1 | L |  |  | 90 | 90 | 90 | M
| PPR- 25mm, PN-10 | 1 | L |  |  | 129.5 | 129.5 | 129.5 | M
| PPR- 25mm, PN-20 | 1 | L |  |  | 129.5 | 129.5 | 129.5 | M
| PVC- d=2" | 1 | L |  |  | 134 | 134 | 134 | M
| PVC- d=4" | 1 | L |  |  | 54 | 54 | 54 | M
5 | Gravel for Soling | [6 empty] | 0.3375 | M3
| Manhole | 3 | b*h*t | 1.5 | 1.5 | 0.05 | 0.1125 | 0.3375 | M3
6 | Plaster Work | [6 empty] | 12 | M3
| Inside Wall Manhole | 3 | b*h*t | 1 | 1 | 4 | 4 | 12 | M3
7 | PCC 150 (1:2:4) | [6 empty] | 3.45 | M3
| PCC for Manhole | 3 | b*h*t | 1 | 1 | 0.15 | 0.15 | 0.45 | M3
| PCC for Over the water pipe treanch | 1 | b*h*L | 0.6 | 0.1 | 50 | 3 | 3 | M3
8 | Burnt Brick Work (Mortar 1:4) | [5 empty] | M3 | 4.5
| Burnt brick with Masonry Man hole wall | 3 | a*b*c | 0.25 | 1.5 | 1 | 1.5 | 4.5 | M3
9 | Earthwork (Backfilling with soil and compaction) | [6 empty] | 37.44
| Earthwork Backfilling for water pipe | 1 | b*h*L | 0.4 | 0.8 | 50 | 16 | 16 | M3
| Earthwork Backfilling for sewer pipe | 1 | b*h*L | 0.4 | 0.8 | 67 | 21.44 | 21.44 | M3
10 | Ceramic and tiles work | [6 empty] | #REF!
Project Engineer/انجینرپروژه
| Project Manager/مسؤل پروژه |  |  |  | Zone Manager/ مسؤل دفتر ساحوی ورلدویژن
| H&C/مسول کلینیک |  |  |  | DRRD/رییس ریاست صحت عامه

## Faizabad DH BoQ PR
WORLD VISION INTERNATIONAL DAWAM WASH Project BoQ for Faizabad District Hospital Rehabilitation Project
Health Center Name: Faizabad DH District: Shirin Tagab Province: Faryab
S/N | Activity/Item/Description | Unit | Quantity | Unit Cost AFN | Total Cost AFN | Remarks
A | BoQ for Water Supply and Sewer System
A1 | Excavation Work: Excavation works in all kinds of soil including PCC for Sewer and water supply pipe lines. | M3 | 66.215
A2 | Gravel for Soling: Providing and filling gravel th=5cm. | M3 | 0.3375
A3 | PCC M: 1:2:4: Providing and laying 10 cm. thick plain cement concrete 1:2:4 (M15) with neat cement finish including necessary formworks and curing all complete | M3 | 3.45
A4 | Burnt Brick Work: Providing and laying first-class burnt brickwork in 1:4 cement mortar in perfect line & level and curing all complete. | M3 | 4.5
A5 | Plaster Work: 12.5mm. or more thick Water Proof Cement (WPC) plaster in 1:2 cement mortar with a smooth finish in line & level including raking the joints, wetting the surface, and curing all complete. | M2 | 12
A6 | PPR Pipe: Supply and installation of PPR pipe, dia=32mm, PN-10 for water supply system | M | 90
A7 | PPR Pipe: Supply and installation of PPR pipe, dia=25mm, PN-10 for water supply system | M | 129.5
A8 | PPR Pipe: Supply and installation of PPR pipe, dia=25mm, PN-20 for hot water supply system | M | 129.5
A9 | PVC Pipe: Supply and installation of PVC pipe, dia=2", Class-C for Sewer system | M | 134
A10 | PVC Pipe: Supply and installation of PVC pipe, dia=4", Class-C for Sewer system | M | 54
A11 | Plumbing Work: Plumbing works including cold and hot water, sewer system with connection water consummers fixtures plus all required fittings and accessories, complete work. | Lum Sum | 1
A12 | RCC Pre Cast Cover for Manhole: Providing and installation of RCC Cover size 150cm X 150cm, Th=8cm for Manhole. | No | 3
A13 | RCC Pre Cast Cover for Septic Well: Providing and installation of RCC Cover, D=140cm, D=40cm, Th=10cm for septic Well cover as per attached drawings. | No | 3
A14 | Demolition of Existing Ceramic/Tile: Demolition of existing ceramic and tiles plus making treanch for water and sewer pipe. | M2 | 126
A15 | Ceramic and Tile Work: Providing and laying approved color ceramic glazed tile on floor and tiles on existing wall with 1:4 cement mortar base in a perfect line and level all complete. | M2 | 126
A16 | Backfilling Works: Backfilling from excavated materials with compaction. | M3 | 3
A17 | Site Cleaning: Cleaning of the site from constructional materials (debris, dust, demolished) after work completion. | Lum Sum | 1
Sub Total cost of Water Supply and Sewer System Rehabilitation
B | Existing Female BNFs and Operation Room Toilet Painting Work
B1 | Painting Work: Two or more coats of approved color waterproof plastic paint with plaster of Paris (gypsum) giving uniform color on walls and ceiling. | M2 | 180
Sub Total cost of Female Toilet and Operation Toilet Painting
C | Existing Male BNFs Toilet Rehabilitation
C1 | Existing wash basin Repairing: Supply and installation of wash basin's approved mixer(tap) plus all required fittings and accessories. | No | 2
C2 | Existing wash basin Repairing: Supply and installation of shutoff valves, plus flexible pipes and all required fittings and accessories. | Pair | 2
C3 | Flush Tank Installation: Providing and installation of flush tank with all fittings and accessories, complete work. | No | 3
C4 | Muslim Shower Installation: Providing and installation of muslim shower with all fittings and accessories, complete work. | No | 3
C5 | Western Toilet: Providing and installation of European toilet plus all fittings and accessories, complete work. | No | 1
C6 | Electricle Works: Supply and installation of electrical lighting bulbs with connection to the electrical wiring plus all required acitivities. | No | 2
C7 | Supply and installation of New wash basin for Dressing Room: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 1
C8 | Supply and installation of Mirror for Dressing Room's Wash Basin: Supply and installation of mirror 40 x 60 cm. | No | 1
C9 | Supply and installation of Mixer for New wash basin for Dressing Room: Supply and installation of approved stainless steel mixer(taps). | No | 1
C10 | Supply and installation of soap keeper for New wash basin for Dressing Room: Supply and installation of soap keeper. | No | 1
C11 | Paper Holder: Providing and installation of paper holder. | No | 3
C12 | Supply and installation of shoutoff valves and flexible pipe for Dressing Room Wash Basin: Supply and installation of shoutoff valves and flexible pipse with all required fittings and accessories. | Pair | 2
Sub Total cost of Male BNFs Toilet Rehabilitation
D | Existing Recovery Room, Male IPD & Female IPD Rehabilitation
D1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 3
D2 | Supply and installation of Mirror for Dressing Room Wash Basin: Supply and installation of mirror 40 x 60 cm. | No | 3
D3 | Supply and installation of Mixer for New wash basin: Supply and installation of approved stainless steel mixer(taps). | No | 3
D4 | Supply and installation of soap keeper for New wash basin: Supply and installation of soap keeper. | No | 3
D5 | Supply and installation of shoutoff valves and flexible pipe for Wash Basin: Supply and installation of shoutoff valves and flexible pipse with all required fittings and accessories. | Pair | 3
Sub Total cost of Recovery Room, Male IPD & Female IPD Rehabilitation
E | Existing Operation Room Rehabilitation
E1 | Exuast Fan: Supply and installation of exuast fan on operation room window including electrical works plus all required activities according to engineering considerations. | Lum Sum | 2
E2 | Existing wash basin Repairing: Supply and installation of wash basin approved mixer(tap) plus all required fittings and accessories. | No | 2
E3 | Existing wash basin Rehabilitation: Supply and installation of shutoff valves, plus flexible pipes and all required fittings and accessories. | Pair | 2
E4 | Toilet's Flush Tank Installation: Providing and installation of flush tank with all fittings and accessories, complete work. | No | 2
E5 | Muslim Shower Installation: Providing and installation of muslim shower with all fittings and accessories, complete work. | No | 2
Sub Total cost of Operation Room Rehabilitation
F | Existing Midwife Room Rehabilitation
F1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 1
F2 | Supply and installation of Soap Keeper for New wash basin: Supply and installation of soap keeper. | No | 1
F3 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 1
F4 | Supply and installation of Mixer for New wash basin: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 1
F5 | Supply and installation of Shoutoff Valves and Flexible Pipes for New wash basin: Supply and installation of shoutoff valves, flexible pipse plus all required fittings and activities. | Pair | 1
F6 | Western Toilet: Providing and installation of European toilet plus all fittings and accessories, complete work. | No | 1
F7 | Muslim Shower: Providing and installation of Muslim shower with all fittings and accessories, complete work. | No | 1
F8 | Flush Tank: Providing and installation of Flush tank including all fittings and accessories, complete work. | No | 1
F9 | Shower: Supply and installation of shower with all required fittings, complete package. | No | 1
F10 | Paper Holder: Providing and installation of paper holder. | No | 1
F11 | Floor Drain: Supply and installation of floor drain plus resolving blockage of the sewer system, complete work. | Activity | 1
Sub Total cost of Midwife Room Rehabilitation
G | Existing Delivery Room Rehabilitation
G1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 1
G2 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 2
G3 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 2
G4 | Supply and installation of Mixer for Wash Basin: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 1
G5 | Supply and installation of Shoutoff Valves and Flexible Pipe: Supply and installation of shoutoff valves, flexible pipes plus all required fittings and activities. | Pair | 1
G6 | Existing wash basin Repairing: Supply and installation of wash basin approved mixer(tap) plus all required fittings and accessories. | No | 1
G7 | Existing wash basin Rehabilitation: Supply and installation of shutoff valves, plus flexible pipes and all required fittings and accessories. | Pair | 1
Sub Total cost of Delivery Room Rehabilitation
H | Existing Nutrition Room & Children IPD Room Rehabilitation
H1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 3
H2 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 3
H3 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 3
H4 | Supply and installation of Mixer: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 3
H5 | Supply and installation of Shoutoff Valves and Flexible Pipe: Supply and installation of shoutoff valves, flexible pipes plus all required fittings and activities. | Pair | 3
H6 | Supply and installation of 50 Litres Boiler: Supply and installation of 50 Litres boiler plus all required fittings and activities, complete work. | No | 1
Sub Total cost of Nutrition Room & Children IPD Room Rehabilitation
I | Existing Female BNFs Toilet Rehabilitation
I1 | Existing wash basin Repairing: Supply and installation of wash basin approved mixer(tap) plus all required fittings and accessories. | No | 2
I2 | Existing wash basin Repairing: Supply and installation of shutoff valves, plus flexible pipes and all required fittings and accessories. | Pair | 2
I3 | Western Toilet: Providing and installation of European toilet plus all fittings and accessories, complete work. | No | 2
I4 | Flush Tank: Providing and installation of toilet's flush tank with all fittings and accessories, complete work. | No | 4
I5 | Muslim Shower: Providing and installation of muslim shower with all fittings and accessories, complete work. | No | 4
I6 | Water Tap: Providing and installation of water taps with all fittings and accessories, complete work. | No | 3
I7 | Shower: Providing and installation of shower with all fittings and accessories, complete package. | No | 2
I8 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 2
I9 | Paper Holder: Providing and installation of paper holder. | No | 4
I10 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 2
Sub Total cost of Female BNFs Toilet Rehabilitation
J | Existing Laboratory Room Rehabilitation
J1 | Roof Tank: Supply and installation of plastic 3-layer roof tank, capacity=2000 litres, plus covering with glass wool and all required fittings and accessories, complete work. | No | 1
J2 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 1
J3 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 2
J4 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 2
J5 | Supply and installation of Mixer: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 1
J6 | Supply and installation of Soutoff Valves and Flexible Pipes: Supply and installation of shoutoff valves, flexible pipse plus all required fittings and activities. | Pair | 1
J7 | Existing wash basin Repairing: Supply and installation of wash basin approved mixer(tap) plus all required fittings and accessories. | No | 1
J8 | Existing wash basin Repairing: Supply and installation of shutoff valves, plus flexible pipes and all required fittings and accessories. | Pair | 1
Sub Total cost of Laboratory Room Rehabilitation
K | Existing Toilet Rehabilitation
K1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 1
K2 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 1
K3 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 1
K4 | Supply and installation of Mixer: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 1
K5 | Supply and installation of Soutoff Valves and Flexible Pipes: Supply and installation of shoutoff valves, flexible pipse plus all required fittings and activities. | Pair | 1
K6 | Supply and installation of 80 Litres Boiler: Supply and installation of 80 Litres boiler plus all required fittings and activities, complete work. | No | 1
K7 | Shower: Supply and installation of shower with all required fittings, complete package. | No | 1
K8 | Western Toilet: Providing and installation of European toilet plus all fittings and accessories, complete work. | No | 1
K9 | Toilet Flush Tank: Providing and installation of western toilet's Flush tank including all fittings and accessories, complete work. | No | 1
K10 | Muslim Shower: Providing and installation of muslim shower with all fittings and accessories, complete work. | No | 1
K11 | Paper Holder: Providing and installation of paper holder. | No | 1
Sub Total cost of Toilet Rehabilitation
L | Existing Female OPD Rehabilitation
L1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 2
L2 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 2
L3 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 2
L4 | Supply and installation of Mixer: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 2
L5 | Supply and installation of Shoutoff valve and Flexible Pipe: Supply and installation of shoutoff valves, flexible pipse plus all required fittings and activities. | Pair | 2
Sub Total cost of Female OPD Rehabilitation
M | Existing MCH Room Rehabilitation
M1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 1
M2 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 1
M3 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 1
M4 | Supply and installation of Mixer: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 1
M5 | Supply and installation of Shoutoff valve and Flexible Pipe: Supply and installation of shoutoff valves, flexible pipse plus all required fittings and activities. | Pair | 1
Sub Total cost of MCH Room Rehabilitation
N | Existing Male OPD Room and Vaccination Room Rehabilitation
N1 | Supply and installation of New wash basin: Supply and installation of wash basin plus flexible drainage pipe and all required fittings and accessories. | No | 3
N2 | Supply and installation of Soap Keeper: Supply and installation of soap keeper. | No | 3
N3 | Supply and installation of Mirror: Supply and installation of Mirror size 40x 60 cm. | No | 3
N4 | Supply and installation of Mixer: Supply and installation of approved stainless steel mixer(taps) with all required fittings. | No | 3
N5 | Supply and installation of Shoutoff valve and Flexible Pipe: Supply and installation of shoutoff valves, flexible pipse plus all required fittings and activities. | Pair | 3
Sub Total cost of Male OPD and Vaccination Room Rehabilitation
Grand Total for All BoQ (A+B+C+D+E+F+G+H+I+J+K+L+M+N)