## Summary Sheet
Summary Sheet | Cost (AFN)
Priority 1 ( renovation of school building ) | 0
Priority 2( drilling of 75m water well with solar systerm) | 0
Total Cost of Shikh Ahmad Achack zai Primary School | 0

## Priority 1
Renovation of school building, Shikh Ahmad Achack zai Primary School
The cost for all items in this BOQ, in general, includes deploying of any machineries, manpower, carrying out of any relocations/ removal/ salvage/ disposal /reinstating tasks. The costs of check and testing's for all items and materials needs to be used should be included in the relevant unit cost of related items. However, particular issues to the costs of items mentioned under each section in this BOQ. Details of work method & equipment/machinery for different types of work shall be brought to the attention of Engineer to get approval of Engineer before commencing the jobs. Read given all project document before pricing the job. Changes of market prices during project period for any item is to the responsibility of the Contractor without any extra payment. For all the finishing, electrical accessories, structural items & materrials,mechnial accessories/equipment, plumbing related materials/items and other equipment's which are mentioned in this BoQ and going to be used ,samples, product data from manufactures/companies, certificates should be submitted to Client in charge Engineer and get their approvals from in charge engineer prior to start the activity or use the materials and accessories in the project. Contractor have to produce the manufacturer approval certificate of the production country for all the major construction materials and ISO certificate. The contractor must provide samples, mockups, catalogues for testing / inspection and approval by the site engineer, Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. The contractor must provide PPE for all laborers, personnel, engineers and possible visitors to the site.
S.N | Description | Unite | Quantity | Cost /Unite | Total Cost | Remarks
1 | Waterproofing membrane: Prepare all materials, equipment, and manpower for Supply and application of 2 layer Isogam on main building roof . Isogam 4mm waterproof bitumen membrane (Isogam or similar) glued on support by heat, second layer installed at right angle with respect to the first, finished with aluminum foil; including and penetrations, with preparation of support and all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 419.68 |  | 0
2 | Downspouts: Prepare all materials, equipment, and manpower for Supply and installtion of 22 Gauge Galvanized Steel DownSpouts With Size(120x150)mm.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M | 24 |  | 0
3 | Ceiling cement and sand Plaster 1:4 :Prepare all materials, equipment, and manpower for ceiling cement and sand Plaster 1:4 ,with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer. | M2 | 290.5 |  | 0
4 | Ceiling 75% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the Ceiling 75% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with all related activities to complete the job as per drawing and instruction of the in-charge engineerall related activities to complete the job as per drawing and instruction of in charge engineer | M2 | 290.5 |  | 0
5 | Exterior wall cement and sand Plaster 1:4 : Prepare all materials, equipment, and manpower for exterior wall cement and sand Plaster 1:4 with as per drawing and instruction of the in-charge engineer all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 66 |  | 0
6 | Exterior wall and parapet 100% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the exterior wall 100% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with as per drawing and instruction of the in-charge engineer all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 322.82 |  | 0
7 | Interior Wall 100% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the interior Wall 100% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 539.023 |  | 0
8 | Terrazo tiles for floor of building and stairs : Prepare all materials, equipment, and manpower for Supply and installation of terrazzo tiles (30x30cm) for entrance stairs , Thickness 30mm , using cement sand mortar(1:3), filling the joints with white cement paste and removal of existing PCC of entrance stairs ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 297.34 |  | 0
9 | Oil base painting of metal windows: Prepare all materials, equipment, and manpower for Supply manpower and material to apply three coats of oil based paint on wooden windows, the job includes removal of damaged paints , cleaning and application of 3 coats of oil based paint,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 51.1 |  | 0
10 | Windows glazes :Prepare all materials, equipment, and manpower for supply and installation of 4mm glasses with all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 16.2 |  | 0
11 | Windows hinges:Prepare all materials, equipment, and manpower for Supply and installation of good quality windows hinges as per specifications and requirement,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | LM | 14 |  | 0
12 | Windows locks:Prepare all materials, equipment, and manpower for supply and installation of good quality windows locks as per specifications and requirement,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | LM | 7 |  | 0
13 | Windows panels size (50x100)cm:Prepare all materials, equipment, and manpower for supply and installation of good quality windows panels size (50x100)cm as per specifications and requirement,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 0.5 |  | 0
14 | Oil base painting of metal Doors: Prepare all materials, equipment, and manpower for Supply manpower and material to apply three coats of oil based paint on wooden windows, the job includes removal of damaged paints , cleaning and application of 3 coats of oil based paint.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 72.8 |  | 0
15 | Doors locks:Prepare all materials, equipment, and manpower for Supply and installation of good quality locks for doors as per specifications and requirement, The job includes Supply of materials, installation with all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | LM | 10 |  | 0
16 | SideWalk PCC 15 MPA: Prepare all materials, equipment, and manpower for casting 15 MPA PCC for sidewalk with formworks and surface preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 12.75 |  | 0
17 | 15cm approved Boulder for sidewalk:Prepare all materials, equipment, and manpower for 15cm boulder for sidewalks with all related activities and compaction of excavated ground properly compacted (95%) MDD. the price including ‐ Removal of all debris and excavation of the existing ground 15cm,execution, curing with all related activities. | m3 | 12.75 |  | 0
total renovation cost of school building (AFG) |  |  |  |  | 0

## Priority2
Drilling of 75m water well with solar system, Shikh Ahmad Achack zai Primary School
The cost for all items in this BOQ, in general, includes deploying of any machineries, manpower, carrying out of any relocations/ removal/ salvage/ disposal /reinstating tasks. The costs of check and testing's for all items and materials needs to be used should be included in the relevant unit cost of related items. However, particular issues to the costs of items mentioned under each section in this BOQ. Details of work method & equipment/machinery for different types of work shall be brought to the attention of Engineer to get approval of Engineer before commencing the jobs. Read given all project document before pricing the job. Changes of market prices during project period for any item is to the responsibility of the Contractor without any extra payment. For all the finishing, electrical accessories, structural items & materrials,mechnial accessories/equipment, plumbing related materials/items and other equipment's which are mentioned in this BoQ and going to be used ,samples, product data from manufactures/companies, certificates should be submitted to Client in charge Engineer and get their approvals from in charge engineer prior to start the activity or use the materials and accessories in the project. Contractor have to produce the manufacturer approval certificate of the production country for all the major construction materials and ISO certificate. The contractor must provide samples, mockups, catalogues for testing / inspection and approval by the site engineer, Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. The contractor must provide PPE for all laborers, personnel, engineers and possible visitors to the site.
A-Drilling of water well
S/No | Description | unit | Quantity | Cost/Unit (Afs.) | Total Cost (Afs.)
A-1 | Well drilling: Prepare all materials, equipment, and manpower for well drilling with rotary diameter (12") depends all soil stratums and sampling form every geological formations,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | M | 75 |  | 0
A-2 | PVC casing: Prepare all materials, equipment, and manpower for supply and Installation of PVC casing pipe class -D, dia. 8",all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | M | 43 |  | 0
A-3 | Filter pipe :Prepare all materials, equipment, and manpower for supply and installation of Filter pipe PVC Class-D. 8 inch dia . Total area for filter pipe openings should not be more than 25% of total area. (PVC quality test result is required) all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | M | 35 |  | 0
A-4 | Gravel Packing:Prepare all materials, equipment, and manpower for gravel packing depends on soil texture.( casing pipe and filter) The diameter of the gravel around the filter and the casing should be considered for the layers, the diameter of the gravel is 5 to 10 to 12 mm. should be washed,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | M3 | 3 |  | 0
A-5 | Back filling : Prepare all materials, equipment, and manpower for back filling for casing pipe should be clay soil without gravel stone ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | M3 | 1 |  | 0
A-6 | Comperssor Test: Prepare all materials, equipment, and manpower for comperssor testfor well cleaning and devoloping the water be completely clear form fine material. all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | Job | 1 |  | 0
A-7 | Pump test :Prepare all materials, equipment, and manpower for pump testfor determination of Hydro geological Parameters,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | hour | 8 |  | 0
A-8 | LOG tes:Prepare all materials, equipment, and manpower for LOG tes with sampling for determine the soil texture, the sample tacken should be done by skilled labour of accepted laberator for exact determination of casing and filter installation location,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | Job | 1 |  | 0
A-9 | Well header: Prepare all materials, equipment, and manpower for well header including protection PCC work with all requirement according to drawing,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | job | 1 |  | 0
A-10 | water quality test: Prepare all materials, equipment, and manpower for water quality testfor obtaining information about properties of water include of all required test by an accepted labrotor,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | job | 1 |  | 0
A-11 | Pipes and Fitting: Prepare all materials, equipment, and manpower for supply and instalation of all pipe and fitting with all requirement from well to Water tank Up Latrine and Hand wash facilty all accessories such as saddle clump, elbow, female threaded adoptor (MTA),Gate Valve, water meter, non returning valve, water tap, Socket, pipe HDPE-PN16, or PVC ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer. | L/S | 1 |  | 0
| Sub total A |  |  |  | 0
B-Supply and installation of submersible pump and solar system
B-1 | Submersible pump : Prepare all materials, equipment, and manpower for supply of Submersible pump with its Compatible inverter, control box and Fuse box in stainless steel. EN 1.4301 (AISI 304).EN 1.4301 (AISI 304). EN 1.4539 (AISI 904L). Rated power - P: 0.7 to 1.1 kW, Rated voltage: 220-230 V Main frequency: 50 Hz Compatible inverter: IP65-68, Pure sine wave, VFD and soft starter Avg. water production per day: 8 m³/day, Total head: 80 m Solar pump 1.1KW according to the technical specification and requirement.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | No | 1 |  | 0
B-2 | Solar panels :Prepare all materials, equipment, and manpower for supply and installation of Solar panels 260 to 270watt internationaly certified by IEC, ISO, TUV and CE Range of ambient temperature: 233 .. 358 K Temperature coefficient (Voc): -0.31% /Cº Power tolerance: +3 to 5 % Maximum power voltage: 32 - 33.2V Open circuit voltage: 38 - 39.5V Max power point current: 8.5 - 9.5A Module shortcut current: 9 - 10 A Minimum power output: 260-270 W Solar module type: POLYCRYSTALLINE made in European Water proof PV junction boxes IP68 for each array including DC Fuses, DC switch disconnectors, bus bars ,terminals, ducts or trays, supports & labels suitable to the PV arrays loads.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | No | 6 |  | 0
B-3 | Solar Panel Stand :Prepare all materials, equipment, and manpower for supply and installation Solar Panel Stand steel 25 & 45 deg. Large (solar panels support structure) all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Set | 1 |  | 0
B-4 | Well probe sensor:Prepare all materials, equipment, and manpower for supply and installation Well probe sensor, all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Set | 1 |  | 0
B-5 | Cable splice kit 2.5-6mm2:Prepare all materials, equipment, and manpower for supply and installation of Cable splice kit 2.5-6mm2 ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Set | 1 |  | 0
B-6 | Submercible drop cable:Prepare all materials, equipment, and manpower for supply and installation of submercible drop cable (4*6)mm2 from panels to solar pump ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M | 106 |  | 0
B-7 | Cable (2*1.5)mm2 :Prepare all materials, equipment, and manpower for supply and installation of Cable (2*1.5)mm2 ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M | 106 |  | 0
B-8 | Conduct pipe :Prepare all materials, equipment, and manpower for supply and installation of conduct pipe,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M | 106 |  | 0
B-9 | Cable (1*10)mm2 :Prepare all materials, equipment, and manpower for supply and installation of Cable (1*10)mm2 ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M | 25 |  | 0
B-10 | Galvanized Iron :Prepare all materials, equipment, and manpower for supply and installation of protection of Galvanized Iron for solar panels with all requirement (RCC culam , GI pipe culam,door .loack , Concertina wire on boundary...) according to drawing ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | L/S | 1 |  | 0
B-11 | Ground rod:Prepare all materials, equipment, and manpower for supply and installation of Ground rod with copper Cable for all system (Solar Panels and pump) ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Set | 1 |  | 0
B-12 | Solar pump set and solar panels :Prepare all materials, equipment, and manpower for supply and transportation of solar pump set and solar panels ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer . | Set | 1 |  | 0
B-13 | Installation of solar pump set and solar panels :Prepare all materials, equipment, and manpower for Installation of solar pump set and solar panels,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer . | Set | 1 |  | 0
B-14 | Adapter pipe:Prepare all materials, equipment, and manpower for supply and Installation of adapter pipe,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer . | Set | 1 |  | 0
B-15 | Float Switch:Prepare all materials, equipment, and manpower for supply and Installation of float switch,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer . | Set | 1 |  | 0
B-16 | Wire tire white &black:Prepare all materials, equipment, and manpower for supply and Installation of Wire tire white &black,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer . | Pckt | 2 |  | 0
B-17 | Safty rope for holding of solar pump :Prepare all materials, equipment, and manpower for supply and Installation of safty rope for holding of solar pump,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer . | M | 100 |  | 0
B-18 | Polyethylene pipe:Prepare all materials, equipment, and manpower for supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 16 SDR 11), Outside Diameter: 32 mm, wall thickness 2.9 mm ,weight 0.275 kg/m, Best quality,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer . | M | 100 |  | 0
| Sub total B |  |  |  | 0
| Grand Total (A+B) |  |  |  | 0