## Summary Sheet
Summary Sheet | Cost
Priority 1 ( construction of 126M boundary wall ) | 0
Priority 3 ( renovation of School buildign ,Latrines and Hand Washing Facility) | 0
Priority 2 (Handwashing facility) | 0
Total Cost of Bismillah Bismall Primary School | 0

## Priority 1
Construction of Boundary Wall for ‌Bismillah Besmel Primary School L=126M ,Injil District, Herat Province
The cost for all items in this BOQ, in general, includes deploying of any machineries, manpower, carrying out of any relocations/ removal/ salvage/ disposal /reinstating tasks. The costs of check and testing's for all items and materials needs to be used should be included in the relevant unit cost of related items. However, particular issues to the costs of items mentioned under each section in this BOQ. Details of work method & equipment/machinery for different types of work shall be brought to the attention of Engineer to get approval of Engineer before commencing the jobs. Read given all project document before pricing the job. Changes of market prices during project period for any item is to the responsibility of the Contractor without any extra payment. For all the finishing, electrical accessories, structural items & materrials,mechnial accessories/equipment, plumbing related materials/items and other equipment's which are mentioned in this BoQ and going to be used ,samples, product data from manufactures/companies, certificates should be submitted to Client in charge Engineer and get their approvals from in charge engineer prior to start the activity or use the materials and accessories in the project. Contractor have to produce the manufacturer approval certificate of the production country for all the major construction materials and ISO certificate. The contractor must provide samples, mockups, catalogues for testing / inspection and approval by the site engineer, Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. The contractor must provide PPE for all laborers, personnel, engineers and possible visitors to the site.
No | Description of Work | Unit | Quantity | unit cost (Afg) | Total cost(Afg) | Remarks
1 | Site Leveling and Preparation:Prepare all materials, equipment, and manpower for Site preparation this include site leveling (excavation ,backfilling and demolition of existing mud wall ) removing any trees, vegetation, debris, or other obstructions from the construction site as per specification and engineers’ directions with all required activities | Job | 1 |  | 0
2 | Excavation works: Prepare all materials, equipment, and manpower for Excavation to the required level of foundations with dimensions 70xcmx90cm foundation under stone masonry . The works include leveling, transporting, loading and unloading all surplus materials to an approved site ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 79.38 |  | 0
3 | Stone Masonry Foundation : Prepare all materials, equipment, and manpower for Build Stone foundation W 70cm* H 70cm using approved Stone and cement mortar (1:5) .all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 61.74 |  | 0
4 | Stone Masonry Super Structure with pointing : Prepare all materials, equipment, and manpower for Build Stone masonry super structure wall with wall dimensions W 60cm* H 50cm using approved Stone and cement mortar (1:5) including pointing with 1:4 cement mart .all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 37.8 |  | 0
5 | Fill and Back Fill around Foundation: Prepare all materials, equipment, and manpower for backfillinng with selected approved soil materials obtained from excavation, including95% compaction with test,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 26.46 |  | 0
6 | PCC above stone masonry: Prepare all materials, equipment, and manpower for Casting (10 cm ) plain concrete (C15MPa) PCC above stone masonry. all needed works to complete the job.the price including Shuttering, execution, curing with all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 11.025 |  | 0
7 | Brick Masonry work : Build brick masonry wall 35cm thick wall with 45cm thick brick columns with 1:5 cement martor, 3cm constrcutoin joint after 15-20m with all related (soaking, placing, leveling, curing) all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 66.15 |  | 0
8 | PCC Concrete Cupping: Prepare all materials, equipment, and manpower for cast 15MpaPCC concrete above the brick finish wall with all related activities (Formwork ,concrete caste, curing).all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 6.8 |  | 0
9 | Cement Plaster: Prepare all materials, equipment, and manpower for plastering both sides of the brick masonry wall with 1:4 cement mart or , plaster should be 2,5cm thick with all related works.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Sqm | 442 |  | 0
10 | Reinforced Concrete for door columns and foundation: Prepare all materials, equipment, and manpower for cast 20Mpa reinforced concrete for door columns and foundations wall with all related activities (Excavation of foundation for RCC Columns ,Form work, steel work, concrete caste, curing).all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M3 | 2.6528 |  | 0
11 | Steel Main Swing Gate and small Gate : Prepare all materials, equipment, and manpower for Installation of steel swing gate and one small steel gate, The job includes: - Installation of(3x2.2)m steel double swing door and (1.2*2.2)m one small gate including locks . -Painting of the gate ( one coat of anti rust paint and two coats of oil based metallic paint).all task should be included to complete the job for details follow the drawings. all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Sqm | 9.24 |  | 0
12 | Oil base painting for Stone masonry pointing : Prepare all materials, equipment, and manpower to apply three coats of oil based paint on stone masonry pointing, the job includes removal of damaged paints , cleaning and application of 3 coats of oil based paint,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Sqm | 75.6 |  | 0
13 | Boundary wall Paint: Prepare all materials, equipment, and manpower for 100% acrylic Weather sheet paint on exterior surface of exterior walls. The job includes: - Surface preparation, grinding and cleaning. -Application of 3 coats of 100% of acrylic weather sheet paint on exterior walls with one coat primer and two coats of paint.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Sqm | 442 |  | 0
Total cost (AFG) |  |  |  |  | 0

## Priority 2
The cost for all items in this BOQ, in general, includes deploying of any machineries, manpower, carrying out of any relocations/ removal/ salvage/ disposal /reinstating tasks. The costs of check and testing's for all items and materials needs to be used should be included in the relevant unit cost of related items. However, particular issues to the costs of items mentioned under each section in this BOQ. Details of work method & equipment/machinery for different types of work shall be brought to the attention of Engineer to get approval of Engineer before commencing the jobs. Read given all project document before pricing the job. Changes of market prices during project period for any item is to the responsibility of the Contractor without any extra payment. For all the finishing, electrical accessories, structural items & materrials,mechnial accessories/equipment, plumbing related materials/items and other equipment's which are mentioned in this BoQ and going to be used ,samples, product data from manufactures/companies, certificates should be submitted to Client in charge Engineer and get their approvals from in charge engineer prior to start the activity or use the materials and accessories in the project. Contractor have to produce the manufacturer approval certificate of the production country for all the major construction materials and ISO certificate. The contractor must provide samples, mockups, catalogues for testing / inspection and approval by the site engineer, Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. The contractor must provide PPE for all laborers, personnel, engineers and possible visitors to the site.
A-Hand Washing Facility (without hand pump)
S/No | Description |  | Unit | Quantity | Cost/Unit (Afs.) | Total Cost (Afs.)
A-1 | Site Leveling and Preparation:Prepare all materials, equipment, and manpower for Site preparation this include site leveling (excavation or backfilling) removing any trees, vegetation, debris, or other obstructions from the construction site as per specification and engineers’ directions with all required activities |  | job | 1 |  | 0
A-2 | Excavation of foundation :Prepare all materials, equipment, and manpower for excavation of hand washing facilty ,Excavation to the required level of foundations of hand washing faciltyas per drawings. The works include leveling, transporting, loading and unloading all surplus materials to an approved site . All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Excavation of foundation for hand washing facilty :Excavation to the required level of foundations of hand washing faciltyas per drawings. The works include leveling, transporting, loading and unloading all surplus materials to an approved site . All needed work to complete the job (materials, tools and manpower) to be included in the price. | M3 | 2.25 |  | 0
A-3 | Crush Aggregate under foundation slab: Prepare all materials, equipment, and manpower for supply and placing of of crush aggregate in the filling for floo as per drawings by 10 cm thickness.All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Crush Aggregate under foundation slab: Supply and placing of of crush aggregate in the filling for floo as per drawings by 10 cm thickness.All needed work to complete the job (materials, tools and manpower) to be included in the price. | M3 | 2.95 |  | 0
A-4 | PCC for foundation 15 MPA: Prepare all materials, equipment, and manpower for casting 15 MPA PCC for foundation with formworks and surface preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | PCC for foundation 15 MPA: Prepare all materials, equipment, and manpower for casting 15 MPA PCC for foundation with formworks and surface preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 3.007 |  | 0
A-5 | Water Tank Stand: Prepare all materials, equipment, and manpower for supply and Providing of water tank stand from profile 40x60mm T=2mm with all required activities according to the drawing and All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Supply and Providing of water tank stand from profile 40x60mm T=2mm with all required activities according to the drawing and All needed work to complete the job (materials, tools and manpower) to be included in the price. | M2 | 1.197 |  | 0
A-6 | Shelter for Handwashing Facility :Prepare all materials, equipment, and manpower for supply and Installation of Shelter for handwashing facility with profile pipe frame and iron sheet 20G and Irone pialer dia =3 inch with all required activities according to the drawing and All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Provision and Installation of Shelter for handwashing facility with profile pipe frame and iron sheet 20G and Irone pialer dia =3 inch with all required activities according to the drawing and All needed work to complete the job (materials, tools and manpower) to be included in the price. | M2 | 10.12 |  | 0
A-7 | water reservoir: Prepare all materials, equipment, and manpower for supply and installation of 20G Irone(GI) water reservoir, with 1000 Lit capacity and covering it with fiber glass parachute and connection with flush toilets pipe with all required activities and tools.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Providing and installation of 20G Irone(GI) water reservoir, with 1000 Lit capacity and covering it with fiber glass parachute and connection with flush toilets pipe with all required activities and tools. | No | 1 |  | 0
A-8 | GI Pipe dia= 4inch : Prepare all materials, equipment, and manpower for Providing and installation of GI Pipe dia= 4inch for handwash facility with all fitting accordin to the drawing with all required. All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Providing and installation of GI Pipe dia= 4inch for handwash facility with all fitting accordin to the drawing with all required. All needed work to complete the job (materials, tools and manpower) to be included in the price. | M | 3 |  | 0
A-9 | GI Pipe dia= 3inch : Prepare all materials, equipment, and manpower for Providing and installation of GI Pipe dia= 3inch for stand and handwash facility columns with all fitting accordin to the drawing with all required. All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Providing and installation of GI Pipe dia= 3inch for stand of handwash facility with all fitting accordin to the drawing with all required. All needed work to complete the job (materials, tools and manpower) to be included in the price. | M | 18.4 |  | 0
A-10 | Nickel Taps: Prepare all materials, equipment, and manpower for supply and installation of Nickel Tap, diameter 1/2" within 1/2" Gi pipe with all fittings and relavent required according to thr drawing. All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Supply and installation of Nickel Tap, diameter 1/2" within 1/2" Gi pipe with all fittings and relavent required according to thr drawing. All needed work to complete the job (materials, tools and manpower) to be included in the price. | No | 10 |  | 0
A-11 | PPR pipe D-32mm: Prepare all materials, equipment, and manpower for supply and installation of PPR pipe D-32mm from surce to used area with all fitting accordin to the drawing with all required.All needed work to complete the job (materials, tools and manpower) to be included in the price.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Supply and installation of PPR pipe D-32mm from surce to used area with all fitting accordin to the drawing with all required.All needed work to complete the job (materials, tools and manpower) to be included in the price. | L/S | 1 |  | 0
| Total for Handwashing Facility |  |  |  |  | 0

## Priority 3
Renovation BOQ of ‌Bismillah Besmel Primary School
S.N | Description | Unite | Quantity | Cost /Unite | Total Cost | Remarks
The cost for all items in this BOQ, in general, includes deploying of any machineries, manpower, carrying out of any relocations/ removal/ salvage/ disposal /reinstating tasks. The costs of check and testing's for all items and materials needs to be used should be included in the relevant unit cost of related items. However, particular issues to the costs of items mentioned under each section in this BOQ. Details of work method & equipment/machinery for different types of work shall be brought to the attention of Engineer to get approval of Engineer before commencing the jobs. Read given all project document before pricing the job. Changes of market prices during project period for any item is to the responsibility of the Contractor without any extra payment. For all the finishing, electrical accessories, structural items & materrials,mechnial accessories/equipment, plumbing related materials/items and other equipment's which are mentioned in this BoQ and going to be used ,samples, product data from manufactures/companies, certificates should be submitted to Client in charge Engineer and get their approvals from in charge engineer prior to start the activity or use the materials and accessories in the project. Contractor have to produce the manufacturer approval certificate of the production country for all the major construction materials and ISO certificate. The contractor must provide samples, mockups, catalogues for testing / inspection and approval by the site engineer, Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. The contractor must provide PPE for all laborers, personnel, engineers and possible visitors to the site.
A-School building renovation BoQ
A-1 | Waterproofing membrane: Prepare all materials, equipment, and manpower for Supply and application of 2 layer Isogam on main building roof . Isogam 4mm waterproof bitumen membrane (Isogam or similar) glued on support by heat, second layer installed at right angle with respect to the first, finished with aluminum foil; including and penetrations, with preparation of support and all related works and flashing as necessary,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 419.8312 |  | 0
A-2 | Downspouts: Prepare all materials, equipment, and manpower for Supply and installtion of 22 Gauge Galvanized Steel DownSpouts With all required activites, Size(120x150)mm.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M | 4 |  | 0
A-3 | Ceiling cement and sand Plaster 1:4 :Prepare all materials, equipment, and manpower for ceiling cement and sand Plaster 1:4 ,with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer. | M2 | 9 |  | 0
A-4 | Ceiling 75% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the Ceiling 75% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with all related activities to complete the job as per drawing and instruction of the in-charge engineerall related activities to complete the job as per drawing and instruction of in charge engineer | M2 | 274.83 |  | 0
A-5 | Exterior wall cement and sand Plaster 1:4 : Prepare all materials, equipment, and manpower for exterior wall cement and sand Plaster 1:4 with as per drawing and instruction of the in-charge engineerall related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 25 |  | 0
A-6 | Exterior wall and parapet 100% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the exterior wall 100% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with as per drawing and instruction of the in-charge engineer all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 70 |  | 0
A-7 | Interior Wall 100% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the interior Wall 100% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 571.01 |  | 0
A-8 | PCC of Floor: Prepare all materials, equipment, and manpower for Casting (10 cm ) plain concrete (C15MPa) PCC of Floor.all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 3.01 |  | 0
A-9 | Ramp Hand rail :Prepare all materials, equipment, and manpower for supply and installation for main entrance ramp handrail 2.5inch columns pipe and 1.5 inches handrail pipes with all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 5 |  | 0
A-10 | Oil base painting of metal windows: Prepare all materials, equipment, and manpower for Supply manpower and material to apply three coats of oil based paint on wooden windows, the job includes removal of damaged paints , cleaning and application of 3 coats of oil based paint,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 50.7 |  | 0
A-11 | Windows glazes :Prepare all materials, equipment, and manpower for supply and installation of 4mm glasses with all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 10.08 |  | 0
A-12 | Oil base painting of Doors: Prepare all materials, equipment, and manpower for Supply manpower and material to apply three coats of oil based paint on wooden windows, the job includes removal of damaged paints , cleaning and application of 3 coats of oil based paint.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 72.8 |  | 0
A-13 | Doors locks: Prepare all materials, equipment, and manpower for supply and installation of good quality locks for doors as per specifications and requirement, The job includes Supply of materials, installation with all related works and accessaries.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Each | 3 |  | 0
A-14 | Wooden Doors panels size (1x2)m:Prepare all materials, equipment, and manpower for supply and installation of good quality doors panels and remove the exisitng damaged doors panels with all accessarise,(hinges and locks),all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Each | 7 |  | 0
A-15 | LED ceiling light (30 x 60)cm 36 watts: Prepare all materials, equipment, and manpower for supply, installation, connection and commission of (30x 60)cm led ceiling light, ceiling mounting, white color (220VAC/36W with complete set) the price includes supplying, installing, laying, connecting, necessary cutting, drilling, testing, and commissioning with all required accessories, and all related activities to complete the job as per the drawing and instructions of the in-charge engineer ,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Pcs | 19 |  | 0
A-16 | Switches 6A: Prepare all materials, equipment, and manpower for Supply, install and connect single way 6A switches connecting with 1.0 kV grade 2*1.5mm² PVC insulated copper cable with all accessories. The price includes supplying, installing, laying, connecting, necessary cutting, drilling, testing with all accessories to complete works as required. | Pcs | 20 |  | 0
A-17 | Socket 15A: Prepare all materials, equipment, and manpower for Supplying and installation, connection, and commission of socket 15A wiring with 1.0 kV grade PVC insulated copper cable (2*2.5mm²) laid inside heavy duty PVC ( 20mm dia.) the price includes supplying, installing, laying, connecting, necessary cutting, drilling, testing, and commissioning with all required accessories, and all related activities to complete the job as per the drawing and instructions of the in-charge engineer,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Pcs | 20 |  | 0
Sub total A |  |  |  |  | 0
B-Latrines renovation BoQ
B-1 | Waterproofing membrane: Prepare all materials, equipment, and manpower for Supply and application of 2 layer Isogam on latrines roof . Isogam 4mm waterproof bitumen membrane (Isogam or similar) glued on support by heat, second layer installed at right angle with respect to the first, finished with aluminum foil; including and penetrations, with preparation of support and all related works and flashing as necessary,all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 10.9725 |  | 0
B-2 | Downspouts: Prepare all materials, equipment, and manpower for Supply and installtion of 22 Gauge Galvanized Steel DownSpouts With all required activites, Size(120x150)mm.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M | 3 |  | 0
B-3 | Repairing of interior Ceiling plaster with cement and sand 1:4 : Prepare all materials, equipment, and manpower for Repairing the interior ceiling Plaster with cement and sand 1:4 with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of in charge engineer | M2 | 7.5375 |  | 0
B-4 | Ceiling 75% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the Ceiling 75% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with all related activities to complete the job as per drawing and instruction of the in-charge engineerall related activities to complete the job as per drawing and instruction of in charge engineer | M2 | 7.5375 |  | 0
B-5 | Exterior Paint: Prepare all materials, equipment, and manpower for supply and application 100% acrylic Weather sheet paint on exterior surface of exterior walls. The job includes: Surface preparation, grinding and cleaning.Application of 3 coats of 100% of acrylic weather sheet paint on exterior walls with one coat primer and two coats of paint.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 20.375 |  | 0
B-6 | Interior Wall 100% Plastic Paint three coats: Prepare all materials, equipment, and manpower for the interior Wall 100% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 17.46 |  | 0
B-7 | Ceramic tiles for toilets Walls : Prepare all materials, equipment, and manpower for supply and installation of ceramic tiles (30x50)cm for walls. Thickness 6mm , wall height 200cm using cement sand mortar(1:3), filling the joints with white cement paste the job includes removal of the existing plaster. all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 26.19 |  | 0
B-8 | Floor Ceramic Tilles for toilets: Prepare all materials, equipment, and manpower for supply and installation of Ceramic tiles size (30X30)cm(non slippery) thickness no less than 6mm using (1:3) sand and cement mortar, the mortar should be at least 5 cm thick , samples must be submitted to get engineer approval before the work and the work included filling the joints with ceramic filling material and all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 7.5375 |  | 0
B-9 | Muslim Shower complete set: Prepare all materials, equipment, and manpower forSupply of materials,installation, including all connections, fittings, seals with all related works.all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Each | 3 |  | 0
B-10 | Water Closet for latrine of disabled people: Prepare all materials, equipment, and manpower for Supply of materials, tools and manpower to install ceramic western toilet. Including siphon(flush tank), gully trap Ø100mm (4"), flexible hose and water connections (Plastic water pipes (3/4)” diameter supply line and PVC drain pipes 4" with all the required fitting for hot, cold and drain pipes).all related activities to complete the job as per drawing and instruction of in charge engineer All tasks for this item to be under full approval in charge engineer | Each | 1 |  | 0
B-11 | Eastern Water Closet for latrines : Prepare all materials, equipment, and manpower for Supply of materials, tools and manpower to install ceramic Eastern toilet. Including siphon(flush tank), gully trap Ø100mm (4"), flexible hose and water connections (Plastic water pipes (3/4)” diameter supply line and PVC drain pipes 4" with all the required fitting for hot, cold and drain pipes). All needed work to complete the job will be included within the price. | Each | 2 |  | 0
B-12 | Providing and Installation (Wastebasket, mirror, Sanitary items space , hang, bowl, planstic shoes and provide and installation of standing handwahing | Each | 1 |  | 0
Sub total B |  |  |  |  | 0
C-Hand Washing renovation BoQ
C-1 | Ceramic Tiles for hand washing walls: Prepare all materials, equipment, and manpower for supply and installation of Ceramic tiles size (30X30)cm(non slippery) thickness no less than 6mm using (1:3) sand and cement mortar, the mortar should be at least 5 cm thick , samples must be submitted to get engineer approval before the work and the work included filling the joints with ceramic filling material and all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 9.775 |  | 0
C-2 | Plumbing system: Prepare all materials, equipment, and manpower for Plumbing system for hand washing with all related work ,the job include (connection with water source,10 tabs ,materials, tools , manpower and all needed accessaries )all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | Each | 6 |  | 0
Sub total C |  |  |  |  | 0
Grand Total (A+B+C) |  |  |  |  | 0