## both wards (hidden)
INDRI GANDHI INSTITUTE of CHILD HEALTH, KABUL
Bill OF QUANTITY FOR RENOVATION OF NEONATAL, TERAPUTIC FEEDING UNIT AND PLAYGROUND
S/No | ACTIVITIES | Unit |  | Unit Cost USD | Total Cost USD | Remarks
1 | DEMOLITION WORKS IN BOTH WARDS
1.1 | Demolition of existing brick walls in the hall way (from 1.2m high to ceiling ) and Brick parititions Remove rubble and sweep area clean | m | 130 | 15 | 1950
| Removal of wooden partitions with glass (between wards) (6 partitions in each ward) | m | 130 | 15 | 1950
1.2 | Removing of existing terazzo tile skirting: Removing of existing skirting | m | 310 | 1 | 310
Wall Building
1.3 | Build Burned brick walls as required with Cement Mortar (1:4) for walls and Partition walls for toilet area Brick masonry with mortar, curing and all related works. | m2 | 70 | 45 | 3150
| SUB TOTAL |  |  |  | 5410
Erect Partitions
2 | OPENINGS
2.1 | PVC Door D1 (0.90x2.15)m :See drawing for more information Removal of existing doors and Supply of materials, installation with all related works. | pcs | 16 | 150 | 2400
2.2 | Aluminum Door D2 (1.2x2.25)m :See drawing for more information Removal of existing doors and Supply of materials, installation with all related works. | pcs | 22 | 220 | 4840
2.3 | Aluminum Door D3 (2.10x2.25)m :See drawing for more information Removal of existing doors and Supply of materials, installation with all related works.. | pcs | 4 | 400 | 1600
2.4 | Aluminum Door D4 (2.24x2.25) :See drawing for more information (2 doors in the New Born Ward and 1 door in the TFU)b Removal of existing doors and Supply of materials, installation with all related works. | pcs | 3 | 450 | 1350
2.5 | Aluminum Interior Windows W1 (1.90x6.80)m :See note in door schedule sheet for more information Removal of existing windows and walls and Supply of materials, installation with all related works. | m2 | 256 | 100 | 25600
2.6 | Aluminum Exterior Windows W2 (1.45x21.45)m :See note in door schedule sheet for more information Removal of existing windows and Supply of materials, installation with all related works. | m2 | 170 | 100 | 17000
2.7 | Wooden cabinets, h= 2.8m and the length varies in different areas (Frames to be 10x10cm Russian wood and infill partitions 16mm Malaysian MDF) Supply materials and installation, including hardware's, painting and all other related activities. | m2 | 90 | 80 | 7200
2.8 | Replacing existing 0.65m height and continuous wooden cabinets with new ones under exterior window sills: Supply materials and installation, including hardware's, painting and all other related activities. | m | 86 | 25 | 2150
| SUB TOTAL |  |  |  | 62140
3 | FINISHING
3.1 | Re Plaster (inside of External wall surfaces) 1:4 cement:sand mortar mix Supply of materials, execution, preparation, plastering, curing of plaster and all related activities. | m2 | 80 | 8.4 | 672
3.2 | Plaster (Interior wall surfaces) 1:4 Supply of materials, execution, preparation, plastering, curing of plaster and all related activities. | m2 | 60 | 8.4 | 504
3.3 | Repair Plasterwork in parts of Ceiling) 1:4 Supply of materials, execution, preparation, plastering, curing of plaster and all related activities. | m2 | 60 | 8.4 | 504
3.4 | Ceramic tiles with M 400 mortar for walls of toilets : Supply and installation, including bed preparation, bedding, grout with all related activities. | m2 | 460 | 28 | 12880
3.5 | Ceramic tiles with M 400 mortar for floor in the toilet : Supply of tiles and installation, including bed preparatatin, tiling, and grout with all related activities. | m2 | 130 | 28 | 3640
3.6 | Ceramic tiles with M 400 mortar for floor of all rooms and corridors Supply and installation, including bed preparation, bedding, grout with all related activities. | m2 | 900 | 28 | 25200
3.7 | Ceramic tiles with M 400 mortar for walls of all other rooms : Supply and installation, including bed preparation, bedding, grout with all related activities. | m2 | 730 | 28 | 20440
3.8 | Plastic emulsion paint for ceiling 3 coats : Supply of materials, execution, coating, curing with all related works. | m2 | 750 | 6 | 4500
3.9 | Paint toilet walls - glossy enamel paint 3 coats : Supply of materials, execution, coating, curing with all related works. | m2 | 600 | 6 | 3600
| SUB TOTAL |  |  |  | 71940
4 | SPECIAL FITTINGS
4.1 | Stainless steel toilet paper holder, including all connections: Supply of materials, installation with all related works. | pcs | 12 | 15 | 180
4.2 | Mirror of washing basin for toilet 30 x 40 cm: Supply of materials and installation with all related work ,see drawing details. | pcs | 10 | 50 | 500
4.3 | Stainless steel soap dish, including all connections: Supply of materials, installation with all related works. | pcs | 10 | 10 | 100
4.4 | Mop rock: Supply of materials, installation with all related works. | pcs | 6 | 25 | 150
4.5 | Signs (directions, information) made of 3 mm PVC: (sample required) Supply of materials, installation with all related works. | item | xxxx | 20 | #VALUE!
| SUB TOTAL |  |  |  | #VALUE!
5 | PLUMBING
5.1 | Wash basin with “P” trap fit and consoles to support and mixers: Supply of materials, installation, including all connections, all fittings, seals with all related works. | pcs | 10 | 120 | 1200
5.2 | Eastern toilet together with “P” trap, wall Push button tank fit, and Hose Bib : Supply of materials, installation, including all connections, fittings seals with all related works. | pcs | 12 | 80 | 960
5.3 | Kitchen Sink with Mixers and P- Trap : Supply of materials, installation, including all connections, all fittings, seals with all related works. | pcs | 2 | 80 | 160
5.4 | Shower Try with Mixers and P- Trap : Supply of materials, installation, including all connections, all fittings, seals with all related works. | pcs | 6 | 150 | 900
5.5 | Mop Sink Try with tap and P- Trap : Supply of materials, installation, including all connections, all fittings, seals with all related works. | pcs | 12 | 120 | 1440
5.6 | Mixers for HB : Supply of materials, installation, including all connections, all fittings, seals with all related works. | pcs | 6 | 80 | 480
5.7 | Floor drains (PVC) DN 75 mm, with nickel cover : Supply of materials, installation, including all connections, fittings, seals, and all related works. | pcs | 30 | 35 | 1050
| SUB TOTAL |  |  |  | 6190
6 | ELECTRICAL WORKS
6.1 | 2x18 W Fluorescent lighting fixture, 220V, 50 Hz, Recessed mounted with IP20, Modus I418AL.: Supply of materials, installation and with all associated works. | pcs | 52 | 30 | 1560
6.2 | 1x36W fluorescent Cove light IP20, Modus TE136, 220V, 50Hz. Supply of materials, installation and with all associated works. | pcs | 24 | 30 | 720
6.3 | Recessed mounted spot light, FLASSAN, FLDWYI - 2 x18W, with dimmer , 220V, 50Hz. Supply of materials, installation and with all associated works. | pcs | 10 | 10 | 100
6.4 | 2x36W fluorescent pendant light , 220V, 50Hz. Supply of materials, installation and with all associated works. | pcs | 45 | 45 | 2025
6.5 | Emergency rechargeable (10W) lamp, 220V and 50Hz. Supply of material, installation and with all associated works. | pcs | 42 | 30 | 1260
6.7 | 1x18w Fluorescent above mirror light, 220V, 50 Hz, Surface mounted, Modus SB118.Supply of materials, installation and with all associated works. | pcs | 10 | 40 | 400
6.8 | One way switch White PVC decorative water proof switch for wet areas with one button 220V and 50Hz, Recessed mounted, mounting height = 1200mm above finish floor level. Supply of materials, installation and with all associated works. | pcs | 20 | 12 | 240
6.9 | 3- way switch White PVC decorative switch with one buttons 220V, 6Amp and 50Hz, Supply of materials, installation and with all associated works. | pcs | 8 | 15 | 120
6.1 | Fans (Pak fans): Supply of materials, installation and with all associated works. | No | 20 | 35 | 700
6.11 | Main Panel Board MPB, 120cm x 80cm x 20cm with main switch, signal lights for each phase, Volt and Ampere meter and with lock, 1mm steel sheet, one coat anticorrosive, two coats of oven paint together. Supply of materials, installation and with all associated works. | pcs | 8 | 50 | 400
6.12 | 4mm Electric wire high quality (Iranian Maghan): Supply of materials, installation and with all associated works. | m | 160 | 8 | 1280
53 | SUB TOTAL |  |  |  | 8805
7 | MECHANICAL AND PLUMBING WORKS
7.1 | Mechanical and plumbing work: see toilet details Supply of materials, installation, including all connections, fittings, sinks, to, switches, flourcent lights as required with all related works. | lump sum | 2 | 1500 | 3000
7.2 | Central oxygen system: Supply of materials, installation, including all connections, fittings, with all related works. | pcs | 2 | 4000 | 8000
7.3 | Call bell system: Supply of materials, installation, including all connections, fittings, with all related works. | pcs | 2 | 2200 | 4400
| SUB TOTAL |  |  |  | 15400
8 | PLAY GROUND
8.1 | Play ground equipment: (SEE SAW, SWING, B SLIDE AND FRAMES), see attached drawings for above equipment's. Supply of materials, installation, including all connections, fittings, with all related works. | lump sum | 1 | 2500 | 2500
| SUB TOTAL |  |  |  | 2500
| GRAND TOTAL |  |  |  | #VALUE!
NOTE: CONTRACTOR WILL GET MONEY AS PER ACTUAL WORK DONE ON THE PROJECT, THE LAST PAYMENT WILL BE MADE AS PER REVISED BoQ MADE BY UNICEF, THERE MAY BE DEDUCTIONS OR AMMENDMENTS TO THIS BoQ.
A
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration
IOM International Organization for Migration

## Pediatric W tiling 1&2 floor
BOQ OF Pediatric ward First and second floor Tiling and Rehabilitation FOR Kunar APH
| ACTIVITIES | Unit | Quantity | Unit Cost Af | Total Cost Af
1 | excavation of concrete floor and earth whith all respected works | M3 | 10
2 | Installation and suplly of Floor tile 60x60 granite whith all respected works | M2 | 385
3 | Installation and suplly of Wall tile 30x60 And rmoveing of wall Paint | M2 | 400
4 | Installation and suplly of Floor tile 60x60 granite whith all respected works for different side and area of APH | M2 | 100
5 | rmoveing of wall border | M2 | 41
6 | Installation and suplly of marble stone 1" | M2 | 12.5
7 | Plastic Paint painting of wall and ceiling 2 cast Plastic paint and filinbg with all materials | M2 | 1200
8 | Oil Paint painting of Door ,window and some steet Partation with all materials | M2 | 220
9 | replacement of Door and window Wood of kunar with all respected works | M2 | 24
10 | Prapiring of new Canalizations systrem for Corridor three Sewer hole net .Siphon and Piping excavation of concrete Instalation to outside mainhole with all respected works | Jop | 1
11 | replacement of water supply systrem , water tank of commode, tap and mixer of sink, hole net .Siphon and Piping Instalation to outside mainhole with all respected works | Jop | 4
12 | installatiion of aluminum net for window with all respected works | M2 | 36
13 | repiaring of some Door and window and replacement of some handles , lock , hinge and Net and preparing of door after Tiling works for 2 floor | LMS | 2
14 | replacement of hole net .Siphon with all respected works | piece | 15
15 | replacement of PVC Piping 3'' excavation and buck filling of concrete Instalation to outside mainhole with all respected works | meter | 38
16 | Prapiring of new Canalizations systrem from septic tank to outside Piping 6'' excavation of concrete Instalation to outside mainhole with all respected works | meter | 35
17 | press concrete Mosaics tile (Thickness 5cm as a sample) installation on the concrete mortar of zeero chaps , cement and sand with all respectet materils and labors wages , leveling of working area with respected works | meter | 30
18 | repiaring and replacement of Electricety wiring , swetch , Holder, energy sewer laight 36W , socket and Piping for 2 floor | LMS | 2
19 | making of Iron stair main I shape beam 3x6'' angule iron 1.5'' and profil fixed 2x6'' 2 piece for every step total 24 step w=1meter ,L=7.5 meter making of side Iron fence | set | 1
20 | installation of metalic sheet 0.5mm for side of fence and stair H=2meter ,L=7.5 meter | m2 | 15
| GRAND TOTAL |  |  |  | 0