|  |
| --- |
| Norwegian Refugee Council (NRC) |
| **Invitation to Bid**  **Works** |
| ITB reference #8501640Repairing /Upgrading of water point in Herat Province |

**SECTION 1**

**Cover Letter**

09 Sep 2024

**Our reference: PR** 8501640

##### SUBJECT: INVITATION TO TENDER FOR Repairing /Upgrading of water point in Herat Province

Dear Mr./Ms.

Following your enquiry regarding the publication of the above-mentioned invitation to tender, please find enclosed the following documents, which constitute the tender dossier.

Any request for clarification must be received by NRC in writing at least 5 working days before the deadline for submission of tenders. NRC will reply to bidders' questions at least 2 working days before the deadline for submission of tenders.

Costs incurred by the bidder in preparing and submitting the tender proposals will not be reimbursed.

We look forward to receiving your tender at the address specified in the Instructions to Bidders before the date & time of deadline stated in the procurement notice.

If you decide not to submit a tender, we would be grateful if you could inform us in writing, stating the reasons for your decision.

Yours sincerely,

NRC Procurement Department

On behalf of the Bid Analysis Committee

This ITB document contains the following:

* This cover Letter
* Section 2: Bid Data sheet
* Section 3: NRC Invitation to bid general terms & condition
* Section 4:Technical description of the Bid
* Section 5: Bidding form
* Section 6: Work Schedule
* Section 7: Company Profile and Previous Experience
* Section 8: Bill of Quantities
* Section 9: Ethical Standards Declaration
* ANNEX A: Technical Drawings

**SECTION 2**

**Bid Data Sheet**

1. **Background Data**

|  |  |
| --- | --- |
| Contract Name: Repairing /Upgrading of water point in Herat Province | Contract Number: PR 8501640/PO 1501389 |

This bid is issued by Norwegian Refugee Council (NRC office in Kabul) Any correspondence can be addressed the following address office.

House#23, Street#3, Qala-e-Fatullah, District #3, Kabul, Afghanistan or by Email [af.procurement@nrc.no](mailto:af.procurement@nrc.no)

1. **Scope of Work**

|  |  |  |  |
| --- | --- | --- | --- |
| **Contract No.** | **Country** | **Location** | **Work Description** |
| Contract Number: PR 8501640/PO 1501389 | Afghanistan | **1.Gulran District, Khogiyani village**  **2. Gulran District, Khairabad village** 3.Robat Sangi District, Dezwari village | **Repairing of Water Supply system (Change to Solar system) Herat Province** |

Please refer to the technical specifications, drawings and BOQs in section 4 for more details.

**MAXIMUM TIME-FRAME FOR COMPLETION OF WORKS:** The overall schedule for works for each contract must be completed as per the attached format. However, you are expected to prepare a schedule to complete the works within 6 Weeks.

1. **Schedule & Deadline for Submission**

The deadline for submission of bids is 03:00pm on the 01st Oct 2024 Late bids will not be accepted.

|  |  |  |
| --- | --- | --- |
|  | **DATE** | **TIME\*** |
| Invitation to Bid release | 24th Sep 2024 |  |
| Deadline for request for any clarifications from NRC | 28th Sep 2024 | 04:00PM |
| Last date on which clarifications are issued by NRC | 29th Sep 2024 | 04:00PM |
| Deadline for submission of bids (receiving date, not sending date) | 01st Oct 2024 | 03:00PM |

\* All times are in the local time of Afghanistan

Please note all dates are provisional dates and NRC reserves the right to modify this schedule.

1. **Manner of Submission**

Please submit your bids in accordance with the requirements detailed below:

Complete sealed bid documents shall be hand delivered at Herat NRC Office at Char- Rahi Zaman Jan, Jad-e- Arbabzadaha, in front of Alghias Higher Education institute, Herat, Afghanistan not later than 03:00pm on the due date indicated above.

1. **Assessment Criteria**

Award of the contract(s) will be based on the following:

**Step 1: Administrative compliance check**

Bidders must provide evidence of the following for their bid to be considered compliant:

1. Sections 5-9 completed, signed and stamped
2. Bidder has included a copy of their valid business licence.
3. Bids submitted within deadline
4. Tender package (s) duly sealed
5. Copy of tax clearance documents
6. Copy of President and Vice President NID

**Step 2: Technical Evaluation**

A Technical Evaluation of all bids received will be conducted for bidders that pass Step 1 – Administrative compliance check. Criteria that will be used to evaluate and score the bids are outlined in Section 3, Clause 27 <to be updated as per final numbering>

**Step 3: Financial Evaluation**

Price in comparison to NRC established expectation and in comparison to other bidders of comparable technical quality

1. **Bidder’s Checklist**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Description** | **To be filled by bidder** | | **To be filled by NRC bid committee** | | |
|  | **Included?** | | **Present & complete?** | | **Comments** |
| **Step/ document to be submitted with tender** | **Yes** | **No** | **Yes** | **No** |  |
| Section 2 Paragraph 6. Bidder’s checklist - **Compulsory** |  |  |  |  |  |
| Section 3 – General Terms & Conditions – signed & stamped - **Compulsory** |  |  |  |  |  |
| Section 4 –Works Provision – completed, signed & stamped – **Compulsory** |  |  |  |  |  |
| Section 5 – Bidding Form – completed, signed & stamped – **Compulsory** |  |  |  |  |  |
| Section 6 – Works Provision Schedule - signed & stamped – **Compulsory** |  |  |  |  |  |
| Section 7 – Company profile & experience – completed, signed & stamped – **Compulsory** |  |  |  |  |  |
| Section 8 – Works provision description and pricing proposal – completed, signed & stamped – **Compulsory** |  |  |  |  |  |
| Section 9 – Ethical Standards Declaration – signed & stamped – **Compulsory** |  |  |  |  |  |
| **Supporting documents** |  |  |  |  |  |
| Copy of company registration – **Compulsory** |  |  |  |  |  |
| Copy of tax clearance documents – **Optional** |  |  |  |  |  |
| Reference and proof of experience - **Compulsory** |  |  |  |  |  |
| Copies of Company Director(s) and Vice president NID – **Compulsory** |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **To be filled in by NRC bid committee only** | **Eligible** | **Ineligible** |
| **Outcome of administrative eligibility check.** |  |  |

**NOTE: The tender committee will have the right to reject the bids of all the mandatory or above-mentioned Compulsory documents are not submitted along with the bids**

**SECTION 3**

**NRC Invitation to Bid - General Terms & Conditions**

1. **Scope of Bid**
   1. The bid is based on the scope of the assignment as determined in the Bid Data Sheet (Section 2). The instruction to bidders should be read in conjunction with the Bid Data Sheet.
   2. The successful Bidder will be expected to complete the assignment by the Intended Completion Date specified in the contract to be signed
2. **Corrupt Practices**
   1. **Norwegian Refugee Council** requires Employees, Bidders and Contractors, to observe standards of ethics during procurement and the execution of contracts. In pursuit of this, Norwegian refugee Council defines, for the purposes of this provision, the terms set forth below as follows:
   2. “Corrupt practice” includes the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and
   3. “Fraudulent practice” includes a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Norwegian Refugee Council, and includes collusive practices among Bidders prior to or after bid submission designed to establish bid prices at artificial, non-competitive levels and to deprive the Norwegian Refugee Council of the benefits of free and open competition;
   4. In any case where fraud or corruption is identified, NRC will:

* reject any bids where the Bidder has engaged in corrupt or fraudulent practices in competing for the Contract;
* remove bidding contractors who engage in fraudulent or corrupt practices, from our prequalified list
* liaise with District Officials to report if fraudulent or corrupt practices are identified
* terminate works
  1. Any communications between a Bidder and the Norwegian Refugee Council related to matters of alleged fraud or corruption must be made in writing and addressed to the **Country Director in Afghanistan.**

1. **Data Protection and Security**
   1. NRC expects contractors who process personal data comply with the General Data Protection Regulation (EU GDPR) and any relevant national legislation. Suppliers processing personal data on an NRC contract will be required to sign a data processing / sharing agreement as a part of the contract. Refusal to sign such an agreement constitutes refusal of the contract terms and forfeiture of the contract on the part of the supplier.
2. **Eligible Bidders**
   1. A Bidder shall meet the following criteria to be eligible to participate in NRC procurement of Works:
3. the bidder, at the time of bid, is not:
   * 1. insolvent;
     2. in receivership;
     3. bankrupt; or
     4. being wound up
4. the bidder’s business activities have not been suspended;
5. the bidder is not the subject of legal proceedings for any of the circumstances in (b); and
6. The Bidder has fulfilled his or her obligations to pay taxes and social security contributions. In a case where VAT is included in a bid, a copy of the VAT certificate must accompany the bid.
7. A Bidder, and all parties constituting the Bidder including sub-contractors, shall not have a conflict of interest. All Bidders found to have an undisclosed conflict of interest shall be disqualified. A Bidder may be considered to have a conflict of interest with one or more parties in this bidding process, if they have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about or influence on the bid of another Bidder, or influence the decisions of the Norwegian Refugee Council regarding this bidding process.
   1. A Bidder whose circumstances in relation to eligibility change during a procurement process or during the execution of a contract shall immediately inform the Norwegian Refugee Council.
   2. NRC reserves the right to refuse a bid at any time if the bidder or any party constituting the Bidder, including one of its sub-contractors violates any of the ethical standards provided in section 9 of the Invitation to Bid.
8. **Joint Ventures, Consortia and Associations**

Bids submitted by a joint venture, consortium or association of two or more firms as partners are rejected.

1. **One Bid Per Bidder Per Work**

Each Bidder shall submit only one Bid per contract. A Bidder who submits or participates in more than one bid per contract will cause all the bids with the Bidder’s participation to be rejected.

1. **Cost of Bidding**

The Bidder shall bear all costs associated with the preparation and submission of his Bid, and the Norwegian Refugee Council shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

1. **Site Visit**

The Bidder, at the Bidder’s own responsibility and risk, is encouraged to visit and examine the Site of Works and its surroundings and obtain all information that may be necessary for preparing the bid and entering into a contract for construction of the Works. The costs of visiting the Site shall be at the Bidder’s own expense.

1. **Inspection**

NRC is obliged to ensure that its procurement decisions are clearly justified and documented and keeping within the Donors mandatory principles. In that regard, full and on-the-spot access must be granted to representatives of NRC, the Donor or any organization or person mandated by it, to premises belonging to NRC or its contractors. The right to access shall include all documents and information necessary to assess, or audit the implementation of the contract

1. **Obtaining and Completing Bidding Documents** 
   1. Bidders can download the bid from ACBAR website or can collect from NRC Kabul office. Those who obtain from NRC office, should register their company while collecting the ITB.
   2. The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Document. Failure to furnish all information or documentation required by the Bidding Document may result in the rejection of the bid.
2. **Clarification of Bidding Document**

A prospective Bidder requiring any clarification of the Bidding Document shall contact the Norwegian Refugee Council in writing. The Norwegian Refugee Council will respond in writing to any request for clarification before the deadline for clarification of bids. The Norwegian Refugee Council shall forward copies of its response to all Bidders who have acquired the Bidding Document, including a description of the inquiry but without identifying its source.

1. **Amendment of Bidding Document** 
   1. At any time prior and until 48 hours prior to the deadline for submission of bids, the Norwegian Refugee Council may amend or cancel the Bidding Document by informing the bidders in writing.
   2. To give prospective Bidders reasonable time in which to take an amendment or cancellation into account in preparing their bids, the Norwegian Refugee Council can, at his discretion, extend the deadline for the submission of bids.
2. **Language of Bid**
   1. The bid, as well as all correspondence and documents relating to the bid shall be written in English.
   2. Supporting documents and printed literature that are part of the bid may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the Bid, such translation shall govern.
   3. Copies of official documents such as business registration, tax documents, bank guaranty can be provided in their issuance language.
3. **Documents Comprising the Bid**
   1. The bid submitted by the Bidder shall comprise all the mandatory documents listed in Section 2 Paragraph 06. Bidders’ checklist.
   2. All forms must be completed without any alterations to the format, and no substitutes shall be accepted. All blank spaces shall be filled with the information requested.
4. **Bid Price for Works Contract**
5. Bid prices are for complete contracts. Contracts cannot be subdivided into pieces unless is divided into lots. Where a bid is submitted per contract / lot, all relevant BoQ must be completed.
6. The Bidder shall fill in rates and prices for all items of the Works/supply or service described in the drawings and specifications and listed in the BoQ, Items for which no rate or price is entered by the Bidder will not be paid for by the Norwegian Refugee Council when executed and shall be deemed covered by the other rates and prices in the BoQ.
7. Unless otherwise specified in the Bid Data Sheet, all duties, taxes and other levies payable by the contractor under the contract, shall be included in the total bid price submitted by the bidder.
8. For bidder subject to VAT, VAT should be mentioned in the offers
9. The priced Bill of Quantities submitted by any Bidder shall be checked for arithmetical errors and for what might be considered unreasonable rates during the evaluation. Where errors are identified one or more of the following steps may be taken:
10. If any rates are considered to be unrealistic or unreasonable they may be altered by mutual agreement, provided that no alteration shall be made in the amount of the Bid.
11. If any arithmetical errors are detected in an otherwise acceptable bid, and the Bidder, on being so notified, is prepared to confirm his bid and if the Bidder is subsequently awarded the contract, then the Bid shall be altered to reflect the difference.
12. The Bidder is reminded that it is entirely his responsibility to ensure the accuracy of his bid. No alteration will be made to the bid after its submission on the grounds of any arithmetical errors subsequently discovered except as provided above.
13. **Currencies of Bid and Payment**

All prices shall be quoted by the Bidder in AFN unless otherwise stated. Similarly, all payments will be made in AFN

NRC will neither make advance payments nor payments in instalments., payment will only be made after receiving the completion certificate

1. **Bid Validity**
   1. Bids shall remain valid for a period of 30 calendar days after the date of the bid submission deadline as prescribed by Norwegian Refugee Council. A bid valid for a shorter period shall be rejected as non-compliant.
   2. In exceptional circumstances, prior to the expiration of the bid validity period, the Norwegian Refugee Council may request Bidders in writing to extend the period of validity of their bids. A Bidder must confirm in writing his acceptance of the extension. In case of extension, modification of the bid is not permitted.
2. **Alternative Bids**

Bidders shall submit offers that comply with the requirements of the bidding documents, including the basic technical design as indicated in the drawings and specifications. Alternative bids shall not be considered unless otherwise indicated in Section 2 – the Bid Data Sheet.

1. **Format and Signing of Bid**

The Bidder shall prepare one set of bid documents per contract that he wishes to bid for. The bidder should hold a copy of the documents with himself, for reference purposes.

1. **Sealing and Marking of the Bid**
   1. The Bidder shall enclose their bid for each contract as per Section 2 Paragraph 4. Manner of Submission.
   2. The envelopes shall:
   3. be addressed to the Logistics Office, Norwegian Refugee Council, in the location specified in Section 2 – the Bid Data Sheet
   4. bear the Contract number
   5. no other markings should be on the envelope
   6. If all envelopes are not sealed and marked as required, the Norwegian Refugee Council might decide to reject the bid
2. **Deadline for Submission of Bids**

Bids must be received by the Norwegian Refugee Council at the address given and no later than the date and time indicated in Section 2 - the Bid Data Sheet.

1. **Late Bids**

The Norwegian Refugee Council shall not consider any bid that arrives after the deadline for submission as stipulated in Section 2 – the Bid Data Sheet. Any bid received by the Norwegian Refugee Council after the deadline for submission of bids shall be declared late and rejected.

1. **Withdrawal and Replacement of Bids**
   1. A Bidder may withdraw or replace its bid after it has been submitted at any time before the deadline for submission of bids by sending a written notice, signed by an authorized representative. Any corresponding replacement of the bid must accompany the respective written notice. All notices must be:
2. submitted as with Clauses 20 and 21, and in addition, the envelopes shall be clearly marked “WITHDRAWAL” or “REPLACEMENT” and
3. received by the Norwegian Refugee Council prior to the deadline for submission of bids, in accordance with Section 2 – the Bid Data Sheet
   1. After the opening of bids, modifications to bids must be documented and any discussions reported in writing. A bid may be withdrawn at any stage, with written notice.
4. **Confidentiality**
   1. Information relating to the examination, evaluation, comparison, and post-qualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until information detailing the best evaluated Bidder is communicated to all Bidders.
   2. Any effort by a Bidder to influence the Norwegian Refugee Council in the examination, evaluation, comparison, and post-qualification of the bids or contract award decisions may result in the rejection of its bid.
   3. From the time of bid opening to the time of Contract award, if any Bidder wishes to contact the Norwegian Refugee Council on any matter related to the bidding process, it should do so in writing.
5. **Clarification of Bids**

Norwegian Refugee Council may, at its discretion, ask any Bidder for a clarification of its Bid. The Norwegian Refugee Council’s request for clarification and the response shall be in writing. Any clarification submitted by a Bidder that is not in response to a request by the Norwegian Refugee Council shall not be considered. All requests for clarifications shall be copied to all bidders for information purposes. No change in the price or substance of the bid shall be permitted, except to confirm the correction of errors.

1. **Bids Validation**
   1. The Norwegian Refugee Council’s determination of a Bid’s validity is to be based on the contents of the bid itself, which cannot be corrected if determined to be invalid
   2. A valid bid is one that complies with all the terms, conditions, and specifications of the Bidding Document, without deviation or omission, which affects, or could affect;
2. the scope, quality, or performance of the Works specified in the Contract; or
3. limits in any substantial way, the Norwegian Refugee Council’s rights or the Bidder’s obligations under the Contract
4. **Evaluation of Bid** 
   1. The Norwegian Refugee Council shall examine the legal documentation and other information submitted by Bidders to verify eligibility, and then will review and score bids according to the following criteria;
5. Completion and inclusion of requested information and supporting documents (Administrative compliance)
6. Overall timeframe for the works (Technical evaluation)
7. Schedules (Key Personnel and Activity schedule) (Technical evaluation)
8. Bill of Quantities (Financial & Technical evaluation)
9. Previous experiences in similar works (Technical evaluation)
10. Price in comparison to NRC estimated rate (Financial evaluation)
    1. In case of two contractors being scored the same in the evaluation, the one with the highest technical ranking will be awarded the contract
    2. Anti-money laundering, anti-bribery, anti-corruption and anti-terrorism legislation applicable in some jurisdictions and donor regulations require NRC to screen contractors against various lists including but not limited to the United Nations Security Council Sanctions List and World Bank debarment lists to ensure due diligence. Submission of the bid constitutes acceptance of these screening practices on the part of the Bidder.
    3. Norwegian Refugee Council reserves the right to reject all bids, and re-tender if no satisfactory bids are submitted
11. **Award Procedure**
    1. The Norwegian Refugee Council shall award the Contract in writing, with an award letter, to the Bidder whose offer has been determined to be the best, before the end of the bid validity period
    2. Any bidder who has not been awarded a contract, will be notified in writing
    3. Until a formal contract is prepared and executed, the Award Letter shall constitute a binding agreement between the bidder and NRC.
    4. The Award Letter will state the sum that the Norwegian Refugee Council will pay the Contractor in consideration of the Works as prescribed in the Contract, and in accordance with the Bid.
    5. The Bidder is thereafter required to submit a Letter of Acceptance, confirming their wish to proceed with a contract.
12. **Signing of Contract**
    1. Upon receipt of the Letter of Acceptance, the Norwegian Refugee Council shall call the successful Bidder to sign the Contract.
    2. Within an agreed timeframe, the successful Bidder shall sign, date, and return the Contract to the Norwegian Refugee Council.
13. **Contract**
    1. The Contractor-to-be will comply with a Works Contract, which will foresee, among others, the following commitments:
14. Non-exploitation of child labour and respect of basic social rights and working conditions (including security regulations and insurance for labour);
15. Provide transport, with insurance coverage for the materials, up to the warehouse and construction sites;
16. Accomplish the works, according to the required quantities and technical specifications indicated in the Bill of Quantities and Technical Drawings (SECTIONS 7 and 8), within the proposed timeframe
17. **Sub Contracting**

Please be advised that subcontracting is not permitted. Bidders must have the capacity to complete the works themselves.


1. **Explosive Hazards**

If this contract takes place in areas with Explosive Hazards, NRC accepts no liability for injury and/or death to contractor’s staff or damage to contractor’s property. It is the responsibility of the Contractor to check sites / ensure sites are checked for Explosive Hazards, informing their staff of the potential risks of undertaking works where Explosive Hazards may be present, providing staff with appropriate training on Explosive Hazards, and maintaining appropriate insurance / funding to cover injury and/or death of their staff which may arise.

**SECTION 4**

**Works Contract - Technical Description of the Bid**

**Lot A: Repairing of Water Supply system Herat Province, Gulran District, Khogiyani village**

****

**A map of a village


Description automatically generated**

**A diagram of solar panels

Description automatically generated**

**A diagram of a rectangular object

Description automatically generated**

****

**Lot B- Repairing of Water Supply system (Change to Solar system) Herat Province, Gulran District, Khairabad village**

A white paper with black text

Description automatically generated

A map of a village

Description automatically generated

A diagram of a solar panel

Description automatically generated

A diagram of a solar pipe

Description automatically generated

A drawing of a bridge

Description automatically generated

### Lot C- Repairing of Water Supply system (Change to Solar system) Herat Province, Robat Sangi District, Dezwari village

A white paper with black text

Description automatically generated

A map of a city

Description automatically generated

A diagram of a solar panel

Description automatically generated

A diagram of a metal pipe

Description automatically generated

A drawing of a bridge

Description automatically generated

**SECTION 5**

**Bidding Form**

**Please provide information against each requirement.**

Additional rows can be inserted for all questions as necessary. If there is insufficient space to complete your answer in the space provided, please include on a separate attachment with a reference to the question.

1. **Bidder’s General Business Details**
2. **General information**

|  |  |
| --- | --- |
| **Company name:** |  |
| **Any other trading names of company:** |  |
| **Registered name of company (if different):** |  |
| **Nature of primary business/trade:** |  |
| **Primary contact name:** |  |
| **Job title:** |  |
| **Phone:** |  |
| **Email:** |  |
| **Registered Address:** |  |
| **Business licence number:** |  |
| **Country of registration** |  |
| **Registration date:** |  |
| **Expiry date:** |  |
| **Legal status of company (eg. partnership, private limited company, etc.)** |  |

1. **Owners/Managers**

Please fill in the below table with the full names, title / position, the year of birth, and the country of birth of the company’s owner(s) and manager(s)\*:

|  |  |  |  |
| --- | --- | --- | --- |
| **Full Name** | **Title / Position** | **Birth Year** | **Birth Country** |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

*\* Please note this information is necessary in order to conduct the vetting procedure referred to in clause 26 of the Invitation to Bid-General Terms and Conditions. Owners and managers include but are not limited to Chief Executive Officer, Chief Operating Officer, Chair of the Board, Executive Director, Director, Manager.*

1. **Employees**

Please list the employees who would be involved with NRC in the event of contract award:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Employee name** | **Job title** | **Role on NRC project** | **Phone** | **Email** |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| … |  |  |  |  |

1. **Company bank account details:**

|  |  |  |
| --- | --- | --- |
| Beneficiary name: |  |  |
| Beneficiary account no.: |  |  |
| Beneficiary Bank: |  |  |
| Bank branch: |  |  |
| SWIFT: |  |  |
| IBAN: |  |  |
| Bank address: |  |  |

1. **References**

Please provide details of at least 3 client references whom NRC may contact, preferably from NGOs and UN agencies, for similar related works:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Client/company name** | **Contact person** | **Phone** | **Email** | **Contract details (works, location, size, value, etc)** |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| … |  |  |  |  |

1. **Equipment**

Please provide details of any relevant machinery/equipment/vehicles owned by the company that would potentially be used for construction: (do not mention rented items):

|  |  |
| --- | --- |
| **Type of machinery/ equipment/ vehicles** | **Quantity** |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |
| 6. |  |
| … |  |

1. **Defects Liability/Guarantee Period**

Please provide details below of the defect liability and guarantee period you offer on the works included in this contract:

|  |
| --- |
|  |

1. **Bid Validity**

Please confirm the validity of your bid below (in calendar days):

|  |
| --- |
|  |

1. **Confirmation of Bidder’s compliance**

We, the Bidder, hereby certify that our tender is a genuine offer and intended to be competitive and we confirm we are eligible to participate in public procurement and meet the eligibility criteria specified in the Invitation to Bid. We confirm that the prices quoted are fixed and firm for the duration of the validity period and will not be subject to revision or variation.

We, the Bidder confirm the documents attached to this offer are those validated by us in the Section 2 Paragraph 6 . Bidder's checklist.

We understand that NRC is not bound to accept the lowest, or indeed any bid, received.

We agree that NRC may verify the information provided in this form itself or through a third party as it may deem necessary.

**We confirm that NRC may in its consideration of our offer, and subsequently, rely on the statements made herein.**

|  |  |
| --- | --- |
| Name of Signatory: | Tel N°: |
| Title of Signatory: | Name of Company: |
| Signature & stamp: | Date of Signing: |
| Address: |

**SECTION 6**

**Work Schedule**

**Lot A: Repairing of Water Supply system (Change to Solar system) Herat Province, Gulran District, Khogiyani village**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NRC | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| WASH West – Herat Area Office | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Workplan for Repairing of Water Supply system (Change to Solar system) | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Location: Gulran District, Khogiyani village, Herat | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| No | Activities | Week1 | | | | | | | Week2 | | | | | | | Week3 | | | | | | | Week4 | | | | | | | Week5 | | | | | | | Week6 | | | | | | |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 1 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 |
| 1 | Site Preparation & Mobilization: to clean site from all existing materials. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Excavation of ordinary soil-type three for wall foundation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Stone Masonry work for the foundation of fence using 1:4 morter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Supplying and Installation of RCC (M200) for Foundation of Stand of solar panels |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Supply and installation of boundary wall (Fence) around the solar systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Supply and installation of Solar panel along with the inverter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Supply and installation of submersible water pump |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Cleaning and development of the well (Pump test +Compressor Test) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Supply and installation 2 Rotational solar panel metallic stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Supply and installation of PE pipes to activate the network |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Removing the leakage of the existing reservoir |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Three coats of Oil paint of reservoir with PRRD and NRC logo |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

**Work Schedule**

**Lot B- Repairing of Water Supply system (Change to Solar system) Herat Province, Gulran District, Khairabad village**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NRC | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| WASH West – Herat Area Office | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Workplan for Repairing of Water Supply system (Change to Solar system) | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Location: Gulran District, Khairabad village, Herat | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| No | Activities | Week1 | | | | | | | | Week2 | | | | | | | | Week3 | | | | | | | | Week4 | | | | | | | | | Week5 | | | | | | | | Week6 | | | | | |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | | 9 | 1 | 11 | 12 | 13 | 14 | 15 | | 16 | 17 | 18 | 19 | 20 | 21 | 22 | | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | | 31 | 32 | 33 | 34 | 35 | 36 | 37 | | 38 | 39 | 40 | 41 | 42 |
| 1 | Site Preparation & Mobilization: to clean site from all existing materials. |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 2 | Excavation of ordinary soil-type three for wall foundation |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 3 | Stone Masonry work for the foundation of fence using 1:4 morter |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 4 | Supplying and Installation of RCC (M200) for Foundation of Stand of solar panels |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 5 | Supply and installation of boundary wall (Fence) around the solar systems |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 6 | Supply and installation of Solar panel along with the inverter |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 7 | Supply and installation of submersible water pump |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 8 | Cleaning, development and digging of the existing dug well (Pump test +Compressor Test) |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 9 | Supply and installation of Rotational solar panel metallic stand |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 10 | Supply and installation of PE pipes to activate the network |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 11 | Provision and installation of steel ladder inside the reservoir |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 12 | Removing the leakage of the existing reservoir |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 13 | Outside and inside soft plastering of the reservoir with 1:4 morter. |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 14 | Plastic Paint of reservoir and guard room |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |

**Work Schedule**

### Lot C- Repairing of Water Supply system (Change to Solar system) Herat Province, Robat Sangi District, Dezwari village

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NRC | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| WASH West – Herat Area Office | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Workplan for Repairing of Water Supply system (Change to Solar system) | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| Location: Robat Sangi District, Dezwari village, Herat | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
| No | Activities | Week1 | | | | | | | | Week2 | | | | | | | | Week3 | | | | | | | | Week4 | | | | | | | | | Week5 | | | | | | | | Week6 | | | | | |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | | 9 | 1 | 11 | 12 | 13 | 14 | 15 | | 16 | 17 | 18 | 19 | 20 | 21 | 22 | | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | | 31 | 32 | 33 | 34 | 35 | 36 | 37 | | 38 | 39 | 40 | 41 | 42 |
| 1 | Site Preparation & Mobilization: to clean site from all existing materials. |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 2 | Excavation of ordinary soil-type three for Fence wall foundation |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 3 | Stone Masonry work for the foundation of fence using 1:4 morter |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 4 | Supplying and Installation of RCC (M200) for Foundation of Stand of solar panels |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 5 | Supply and installation of boundary wall (Fence) around the solar systems |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 6 | Supply and installation of Solar panel along with the inverter |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 7 | Supply and installation of submersible water pump |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 8 | Supply and installation of 2 Rotational solar panel metallic stand |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 9 | Supply and installation of PE pipes to activate the network |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |
| 10 | Three coats of oil painting in the reservoir best quality with PRRD and NRC logo. |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |  |  |  | |  |  |  |  |  |  |  | |  |  |  |  |  |

**The total time line (in weeks) needed to complete the works after the contract is signed......... Weeks**

3. Detailed list of proposed **Personnel/Manpower** involved in the activities (e.g. engineers, site supervisors, foremen, masons, carpenters, plumbers, unskilled labors, etc.) with an estimate of the total man-day completed by each of the skills.

The Submission of the Manpower shall follow the below simple format:

|  |  |  |
| --- | --- | --- |
| **#** | **Proposed Personnel/Manpower** | **# of workers allocated to this project** |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| … |  |  |

**NOTE**: The list shouldn’t be limited to this Form in regards to the number of proposed Key Personnel.

A comprehensive list has to be submitted adapting the Form to the necessary rows.

**SECTION 7**

**Company Profile and Previous Experience**

The Bidder is requested to:

1. Submit the **Company Profile**
2. Complete the following **Previous Experience** **Table** listing the work or contracts undertaken in the past 5 years similar to the works required under this contract
3. Submit **evidences of previous experience** in form of Contracts, Completion Certificates, Handover Documents etc.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **#** | **Name of Project / Type of work** | **Total value of the performed works (.....)** | **Duration of the works contract** | **Starting date** | **Ending date** | **Contracting Authority / Contact person / Phone / Email** |
| **1** |  |  |  |  |  |  |
| **2** |  |  |  |  |  |  |
| **3** |  |  |  |  |  |  |
| **4** |  |  |  |  |  |  |
| **5** |  |  |  |  |  |  |
| **…** |  |  |  |  |  |  |

**NOTE**: The list shouldn’t be limited to this Form in regards to the number of works reported. A comprehensive list of the last 5 years’ experience has to be submitted adapting the Form to the necessary rows.< Please adjust accordingly>

NRC may conduct reference checks for previous contracts completed

**SECTION 8**

**Bill of Quantities**

**Preamble to Bill of Quantities**

* NRC has the faculty to contract all or part of the requested supply and works, according to budget availability;
* The supply and works should be the best available in the market;
* The Bidder should submit supporting documents concerning the proposed construction materials and works (i.e. catalogues, models, brands, drawings, technical documentation, technical specifications, etc. of the offered items);
* All the materials to supply and the works to execute must be approved by the NRC Representative, prior to delivery and execution.
* Costs must include all duties, taxes and other levies payable by the contractor under the contract and all mobilization costs specified in section 3.

**Lot A: Repairing of Water Supply system (Change to Solar system) Herat Province, Gulran District, Khogiyani village**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **S/N** | **Description** | **تشریحات** | **Unit** | **QTY** | **Unit Cost in AFN** | **Total Cost in AFN** | **Bidder please include the Brand names and specification of the materials and equipment you will use ( Mandatory Requirement) NRC needs to be absolutely clear on the quality of all material and equipment installations** |
| **A** | **Repairing of Water Supply system in Gulran District, Khogiyani village** | | | | | | |
| A1 | Supply and installation of submersible water pump Brand: PEDROLLO Grundfos, Lorentz or similar in quality with (4SR6/23, 4 HP, 3 KW, 380 V outlet 1.5inch with all necessary fittings. | تهیه و نصب پمپ آب شناور : 4SR6/23 4HP 3Kw 380V برند پدرولا Grundfos, lorentz و یا کیفیت معادل به اساس دیزان تخینیکی همراه با تمام فیتینگ های نیاز | NO | **1** |  |  |  |
| A2 | Supply and installation of Solar panel 270 watts, AE6P260WB4B, Panasonic, LORENTZ GROUDFOS, Alfa, Tommatech, made in Germany or Equivalent in below, specification and should German make European standard, Range of ambient temperature:233…358 K, Brand: TOMMATECH, Model:TT270-60P, Cell technology : Poly crystalline, Rated maximum power P max: 270 Wp, Volltage at maximum Vmp:31.0v, Current at maximum power: (Imp):8.71A, Open circuit (Voc):38.00V, Short Cicuit(Isc): 9.21A, Maximum system Voltage:1000v, Weight:18 kg, European Standard . | تهیه و نصب سولر: ۲۷۰ وات ، AE6P260WB4B، Panasonic, LORENTZ GROUDFOS, Alfa, Tommatech، ساخت جرمنی یا با مطابق به زیر ، محدوده دمای محیط :233…358 K, ، بردند توماتیچ ، مدل TT270-60P ، تکنالوژی حجره پولی کرستالین ، Rated maximum power P max: 270 Wp, Volltage at maximum Vmp:31.0v, Current at maximum power: (Imp):8.71A, Open circuit (Voc):38.00V, Short Cicuit(Isc): 9.21A, Maximum system Voltage:1000v, Weight:18 kg,Eurpean Standard | Panel | 18 |  |  |  |
| A3 | Supply and installation 2 Rotational solar panel metallic stand with dimensions (4\*3) m with box (2\*4) cm each stand should be at least 150 Kg weight as per drawing with anti rust and two coats oil paint. | تهیه و نصب 2 پایه چرخشی فلزی (4\*3) متر و قوطی (2\*4) سانتی متر حد اقل هر استند ۱۵۰ کیلو گرام وزن داشته باشید نظر به نقشه همراه با ضد زنگ و دو لایه رنگ روغنی | No | 2 |  |  |  |
| A4 | Supplying and Installation of RCC (M200) for Foundation of Stand of solar panels with shuttering and all necessary activities. | کانکریت سیخدار مارک 200 برای تهداب و پایه های سولر به شمول قالب بندی با تمام امورات اآن | M3 | 2.6 |  |  |  |
| A5 | Supply and installation of invertor IP66 4 kw 380v , Vacon ,Hobber or similar in quality. | تهیه و نصب انورتر با مشخصات IP66 4Kw 380 V برند وکن ُ هوبر و یا با کیفیت مشابه آن . | No | 1 |  |  |  |
| A6 | provision and installation of inverter steel Box with DC switch and all requirements | تهیه و نصب صندوق فلزی برای انورتور با تمام ملحقات آن | Set | 1 |  |  |  |
| A7 | Supply and installation of Plastic Rope | ریسمان پلاستیکی برای پمپ | M | 130 |  |  |  |
| A8 | supply and installation of electrical cable 2\*6mm^2 for solar best quality | تهیه و نصب کیبل برق برای سولر با بهترین کیفیت (2\*6 ملی متر) | M | 20 |  |  |  |
| A9 | supply and installation of electrical cable 4\*4mm^2 from invertor to water pump best quality | تهیه و نصب کیبل برق از انورتور تا به پمپ آب بهترین کیفیت ( 4\*4 ملی متر) | M | 120 |  |  |  |
| A10 | Supply and installation of boundary wall (Fence) around the solar systems with steel mesh 3 mm and steel pile 2 inch for fixing the steel meshs dimension ( Length 40 m and Hight 2 m) and one door ( 2\*2) m as per drawing | تهیه و نصب دیوار اطراف سیستم سولر همرای جالی فلزی 3 ملی متر و نگهدارنده های 2 انچ فلزی با ابعاد ( طول 40 متر و ارتفاع 2) و یک دروازه ( 2 متر عرض و ارتفاع 2 متر) نظر به نقشه | M | 40 |  |  |  |
| A11 | Stone Masonry work for the foundation of fence using 1:4 morter | سنگ کاری تهداب دیوار فنس با مصالح ۱:۴ | M3 | 12 |  |  |  |
| A12 | Supply and installation of pipe PE 100 PN 16 (63) from well to reservoir) | تهیه و نصب پایپ PE 100 PN16 (63) از پمپ الی ذخیره | M | 70 |  |  |  |
| A13 | Supply and installation of pipe PE 100 PN 10(110) main distribution pipe | تهیه و نصب پایپ اصلی شبکه PN10 PE 100 (110) | M | 30 |  |  |  |
| A14 | Supply and installation of pipe PE 100 PN 10(90) main distribution pipe | تهیه و نصب پایپ اصلی شبکه PN10 PE 100 (90) | M | 20 |  |  |  |
| A15 | Removing the leakage of the existing reservoir | برطرف نمودن لیکی ذخیره | LS | 1 |  |  |  |
| A16 | three coats of Oil paint of reservoir with PRRD and NRC logo | سه لایه رنگ مالی ذخیره با بهترین کیفیت | M2 | 30 |  |  |  |
| A17 | cleaning and development of the well (Pump test +Compressor Test) | پاک کاری چاه (پمپ تست و کمپریسور تیست) | Ls | 1 |  |  |  |
| A18 | Supply and installation of 110\*90 changer/reducer (PE 100) (10 pressure) | تهیه و نصب تبدیل 110\*90 | No | 2 |  |  |  |
| A19 | Supply and installation of 90\*63 changer/reducer (PE 100) (10 pressure) | تهیه و نصب تبدیل 90\*63 | No | 2 |  |  |  |
| A20 | Supply and installation of 90\*90\*63 changer/T reducer (PE 100) (10 pressure) | تهیه و نصب سه راه 90\*90\*63 | No | 3 |  |  |  |
| A21 | Supply and installation of 110\*110\*63 changer (PE 100) (10 pressure) | تهیه و نصب سه راه 110\*110\*63 | No | 2 |  |  |  |
| **Subtotal for Lot A including Tax** | | | | | |  | |

**Lot B- Lot B- Repairing of Water Supply system (Change to Solar system) Herat Province, Gulran District, Khairabad village**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **S/N** | **Description** | **تشریحات** | **Unit** | **QTY** | **Unit Cost in AFN** | **Total Cost in AFN** | **Bidder please include the Brand names and specification of the materials and equipment you will use ( Mandatory Requirement) NRC needs to be absolutely clear on the quality of all material and equipment installations** |
| **B** | **Repairing of Water Supply system in Gulran District, Khairabad village** | | | | | | |
| B1 | Supply and installation of submersible water pump  Brand: 4SR6/13 2HP 1.5Kw 220 V outlet 1.5 inch Pedrollo, Grundfos or similar in quality specification . With all necessary fittings | تهیه و نصب پمپ آب شناور : 4SR6/13 2HP 1.5 Kw 220 V برند پدرولا و یا گرندفاز و یا کیفیت معادل آن همراه تمام فیتینگ های نیاز برای پمپ | No | 1 |  |  |  |
| B2 | Supply and installation of Solar panel 270 watts, AE6P260WB4B, Panasonic, LORENTZ GROUDFOS, Alfa, Tommatech,made in Germany or Equivalent in below, specification and should german make European standard, Range of ambient temperature:233…358 K,  Brand: TOMMATECH, Model:TT270-60P, Cell technology : Poly crystalline, Rated maximum power P max: 270 Wp, Volltage at maximum Vmp:31.0v, Current at maximum power: (Imp):8.71A, Open circuit (Voc):38.00V, Short Cicuit(Isc): 9.21A, Maximum system Voltage:1000v, Weight:18 kg, European Standard . | تهیه و نصب سولر: ۲۷۰ وات ، AE6P260WB4B، Panasonic, LORENTZ GROUDFOS, Alfa, Tommatech، ساخت جرمنی یا با مطابق به زیر ، محدوده دمای محیط :233…358 K, ، بردند توماتیچ ، مدل TT270-60P ، تکنالوژی حجره پولی کرستالین ، Rated maximum power P max: 270 Wp, Volltage at maximum Vmp:31.0v, Current at maximum power: (Imp):8.71A, Open circuit (Voc):38.00V, Short Cicuit(Isc): 9.21A, Maximum system Voltage:1000v, Weight:18 kg,Eurpean Standard | No | 10 |  |  |  |
| B3 | Supply and installation solar panel metalic stand with dimentions (4\*5) m with bax (2\*4) cm stand should be at least 150 Kg weight as per drawing with anti rust and two coats oil paint. | تهیه و نصب 1 پایه چرخشی فلزی (4\*5) متر و قوطی (2\*4) سانتی متر حد اقل استند ۱۵۰ کیلو گرام وزن داشته باشید نظر به نقشه همراه با ضد زنگ و دو لایه رنگ روغنی | No | 1 |  |  |  |
| B4 | Supplying and Installation of RCC (M200) for Foundation of Stand of solar panels with shuttering and all necessary activities. | کانکریت سیخدار مارک 200 برای تهداب و پایه های سولر به شمول قالب بندی با تمام امورات اآن | M3 | 1.3 |  |  |  |
| B5 | Supply and installation of invertor IP66 2.2 Kw 220 V Vacon , Hobber or similar in quality | تهیه و نصب انورتر مشخصات IP 66 2.2Kw 220V با برند Vacon , Hobber و یا با مشخصات مشابه آن | No | 1 |  |  |  |
| B6 | supply and installation of electrical cable 6\*2 mm^2 for solar best quality | تهیه و نصب کیبل برق برای سولر بهترین کیفیت ( 2\*6 ملی متر) | M | 15 |  |  |  |
| B7 | supply and installation of electrical cable 4\*2.5 mm^2 from invertor to water pump best quality | تهیه و نصب کیبل برق از انورتور تا به پمپ آب بهترین کیفیت ( 2.5\*4 ملی متر) | M | 125 |  |  |  |
| B8 | Supply and installation of Conduct pipe EMT and plastic for electrical cable best quality | تیه و نصب پوش محافظ کیبل EMT و پلاستیکی بهترین بهترین کیفیت | M | 20 |  |  |  |
| B9 | provision and installation of inverter steel Box with DC switch and all requirements | تهیه و نصب صندوق فلزی برای انورتور با تمام ملحقات آن | Set | 1 |  |  |  |
| B10 | Supply and installation of boundary wall (Fence) around the solar systems with steel mesh 3 mm and steel pile 2 inch for fixing the steel meshs dimention ( Length 28 m and Hight 2 m) and one door ( 2\*2) m as per drawing | تهیه و نصب دیوار اطراف سیستم سولر همرای جالی فلزی 3 ملی متر و نگهدارنه های 2 انچ فلزی با ابعاد ( طول 28 متر و ارتفاع 2) و یک دروازه ( 2 متر عرض و ارتفاع 2 متر) نظر به نقشه | M | 28 |  |  |  |
| B11 | Stone Masonry works for the foundation of fence using 1:4 morter | سنگ کاری تهداب دیوار فنس | M3 | 7 |  |  |  |
| B12 | Well Cleaning with removal of 5.5 m of digging the well. The well has a diameter of 1.5m , the total depth of well is 16 meter . | پاک کاری چاه همراه با کندن کاری ۵.۵ متر داخل چاه که عمق عمومی چاه ۱۶ متر است با قطر ۱.۵ متر | M | 5.5 |  |  |  |
| B13 | Reservoir cleaning , proper cleaning of the well and manhole from existing soils and materials. | پاک کاری ذخیره و منهول و برطرف نمودن خاک و مواد اضافی از ذخیره | LS | 1 |  |  |  |
| B14 | Supply and installation of steel cover (80x80 cm ) for the reservoir and well having 20 Kg weight, with anti rust and two coats oil paint. | تهیه و نصب در پوش فلزی (80x80 سانتی متر ) برای ذخیره و چاه با وزن ۲۰ کیلو گرام همراه با ضد زنگ و دو لایه رنگ روغنی | No | 2 |  |  |  |
| B15 | Supply and installation of Plastic Rope | تهیه و نصب ریسمان پلاستیکی برای پمپ | M | 35 |  |  |  |
| B16 | Steel ladder GI 2 inch with length of 2.5 m and 40 cm weight for the reservoir . | زینه گلونایز ۲ انچ با طول ۲.۵ متر و عرض ۴۰ سانتی برای ذخیره | Ls | 1 |  |  |  |
| B17 | Soft Plastering , outside and inside soft palstering of the reservoir with 1:4 morter. | پلاستر کاری نرمه بیرونی و داخلی ذخیره با مواد ۱:۴ | M2 | 40 |  |  |  |
| B18 | Supply and installation of pipe PE 100 PN 10 (110) main pipe of distribution. | تهیه و نصب پایپ PE 100 PN10 (110) پایپ اصلی شبکه | M | 10 |  |  |  |
| B19 | Supply and installation of pipe PE 100 PN 10 (90) main pipe of distribution. | تهیه و نصب پایپ PE 100 PN10 (90) پایپ اصلی شبکه | M | 10 |  |  |  |
| B20 | Supply and installation of pipe PE 100 PN 16 (63) from well to reservoir) | تهیه و نصب پایپ PE 100 PN16 (63) از پمپ الی ذخیره | M | 20 |  |  |  |
| B21 | Plastic Paint of reservoir and guard room | رنگ مالی ذخیره و اتاق گارد | M2 | 60 |  |  |  |
| B22 | Supply and installation of 110\*90 changer/reducer (PE 100) (10 pressure) | تهیه و نصب تبدیل 110\*90 | No | 2 |  |  |  |
| B23 | Supply and installation of 90\*63 changer/reducer (PE 100) (10 pressure) | تهیه و نصب تبدیل 90\*63 | No | 2 |  |  |  |
| B24 | Supply and installation of 90\*90\*63 changer/T reducer (PE 100) (10 pressure) | تهیه و نصب سه راه 90\*90\*63 | No | 3 |  |  |  |
| **Subtotal for Lot B including Tax** | | | | | |  | |

### Lot C- Repairing of Water Supply system (Change to Solar system) Herat Province, Robat Sangi District, Dezwari village

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **S/N** | **Description** | **تشریحات** | **Unit** | **QTY** | **Unit Cost in AFN** | **Total Cost in AFN** | **Bidder please include the Brand names and specification of the materials and equipment you will use ( Mandatory Requirement) NRC needs to be absolutely clear on the quality of all material and equipment installations** |
| **C** | **Repairing of Water Supply system in** Robat Sangi District, Dezwari village | | | | | | |
| C1 | Supply and installation of submersible water pump  Brand: PEDROLLO 4SR10/15, power 4HP 3Kw 380V, current 7.1A, weight 25Kg / outlet 2 inch , Pedrollo, Grundfos or similar in quality with necessary fittings . | تهیه و نصب پمپ آب شناور : برند پدرولا 4SR10/15 با مشخصات 4HP 3Kw 380V 7.1 A و با وزن ۲۵ کیلو گرام پدرولا گروند فاز و یا کیفیت معادل به اساس دیزان تخینیکی | No | 1 |  |  |  |
| C2 | Supply and installation of Solar panel 270 watts, AE6P260WB4B, Panasonic, LORENTZ GROUDFOS, Alfa, Tommatech, made in Germany or Equivalent in below, specification and should German make European standard, Range of ambient temperature:233…358 K, Brand: TOMMATECH, Model:TT270-60P, Cell technology : Poly crystalline, Rated maximum power P max: 270 Wp, Volltage at maximum Vmp:31.0v, Current at maximum power: (Imp):8.71A, Open circuit (Voc):38.00V, Short Cicuit(Isc): 9.21A, Maximum system Voltage:1000v, Weight:18 kg, European Standard . | تهیه و نصب سولر: ۲۷۰ وات ، AE6P260WB4B، Panasonic, LORENTZ GROUDFOS, Alfa, Tommatech، ساخت جرمنی یا با مطابق به زیر ، محدوده دمای محیط :233…358 K, ، بردند توماتیچ ، مدل TT270-60P ، تکنالوژی حجره پولی کرستالین ، Rated maximum power P max: 270 Wp, Volltage at maximum Vmp:31.0v, Current at maximum power: (Imp):8.71A, Open circuit (Voc):38.00V, Short Cicuit(Isc): 9.21A, Maximum system Voltage:1000v, Weight:18 kg,Eurpean Standard | No | 18 |  |  |  |
| C3 | Supply and installation 2 solar panel metallic stand with dimensions (4\*3) m with box (2\*4) cm each stand should be at least 150 Kg weight as per drawing with anti-rust and two coats oil paint. | تهیه و نصب 2 پایه چرخشی فلزی (4\*3) متر و قوطی (2\*4) سانتی متر حد اقل هر استند ۱۵۰ کیلو گرام وزن داشته باشید نظر به نقشه همراه با ضد زنگ و دو لایه رنگ روغنی | No | 2 |  |  |  |
| C4 | Supplying and Installation of RCC (M200) for Foundation of Stand of solar panels with shuttering and all necessary activities. | کانکریت سیخدار مارک 200 برای تهداب و پایه های سولر به شمول قالب بندی با تمام امورات اآن | M3 | 2.6 |  |  |  |
| C5 | Supply and installation of invertor Vacon IP 66 4Kw- 380 V Brand Vacon, Hobber or similar in quality. | تهیه و نصب انورتر با مشخصات IP66 4 Kw 380V با برنده Vacon , Hobber و یا با کیفیت مشابه | No | 1 |  |  |  |
| C6 | supply and installation of electrical cable 2\*6mm^2 for solar best quality | تهیه و نصب کیبل برق برای سولر بهترین کیفیت ( 6\*2 ملی متر) | M | 20 |  |  |  |
| C7 | supply and installation of electrical cable 4\*6mm^2 from invertor to water pump best quality | تهیه و نصب کیبل برق از انورتور تا به پمپ آب بهترین کیفیت ( 3\*4 ملی متر) | M | 120 |  |  |  |
| C8 | Supply and installation of Conduct pipe EMT and plastic for electrical cable best quality | تیه و نصب پوش محافظ کیبل EMT و پلاستیکی بهترین بهترین کیفیت | M | 120 |  |  |  |
| C9 | provision and installation of inverter steel Box with all requirements | تهیه و نصب صندوق فلزی برای انورتور با تمام ملحقات آن | Set | 1 |  |  |  |
| C10 | Supply and installation of Plastic Rope | تهیه و نصب ریسمان پلاستیکی برای پمپ | M | 35 |  |  |  |
| C11 | Supply and installation of boundary wall (Fence) around the solar systems with steel mesh 3 mm and steel pile 2 inch for fixing the steel meshs dimension (Length 40 m and Hight 2 m) and one door (1\*2) m as per drawing | تهیه و نصب دیوار اطراف سیستم سولر همرای جالی فلزی 3 ملی متر و نگهدارنه های 2 انچ فلزی با ابعاد ( طول 40 متر و ارتفاع 2) و یک دروازه ( 1 متر عرض و ارتفاع 2 متر) نظر به نقشه | M | 40 |  |  |  |
| C12 | Stone Masonry for the foundation of fence with 1:4 Morter and as per drawing | سنگ کاری تهداب برای دیوار فینس با میکس مواد ۱:۴ مطابق به نقشه ها. | M3 | 12 |  |  |  |
| C13 | Supply and installation of pipe PE 100 PN 16 (63) from well to reservoir) | تهیه و نصب پایپ PE 100 PN16 (63) از پمپ الی ذخیره | M | 20 |  |  |  |
| C14 | Three coats of oil painting in the reservoir best quality with PRRD and NRC logo. | رنگمالی ذخیر سه لایه رنگ روغنی با بهترین کیفیت همراه با لوگوی PRRD و NRC | M2 | 14 |  |  |  |
| C15 | Well cleaning with chlorine disinfection | پاک کاری چاه همراه با پمپ تست | Ls | 1 |  |  |  |
| **Subtotal for Lot C including Tax** | | | | | |  | |

|  |  |
| --- | --- |
| **Grand Total of Lot A , B & C including Tax** |  |

**NOTE**: In case of discrepancy between BoQs and Drawings, the BoQs will prevail. In case of discrepancy between drawings, the one at larger scale will prevail.

|  |  |
| --- | --- |
| **Prepared by:** |  |
| **Name:** |  |
| **Position:** |  |
| **Signature:** |  |
| **Date:** |  |
| **Stamp:** |  |

**SECTION 9**

Ethical Standards Declaration for all Supply, Service and Works Contractors

We, the undersigned, (‘**we**’, ‘**our**’ or ‘**us**’) **CONSIDERING THAT**:

**FIRST**, we are bidding for, or entering into, a contract with the Norwegian Refugee Council (**NRC**) to supply goods, services or works to NRC (‘**the Contract**’).

**SECOND**, we understand that as a humanitarian organisation, NRC expects its suppliers and contractors to have high ethical standards.

**THIRD**, we understand that NRC therefore needs us to confirm that we adhere to the required ethical standards (‘**the ethical standards**’) by signing this declaration (‘**the Declaration**’).

**THEREFORE**, we **DO HEREBY DECLARE** as follows:

1. **Declaration concerning compliance with applicable laws and these ethical standards**

We declare that we shall:

1. Meet the ethical standards in this declaration (‘ethical standards’)
2. Ensure that any party representing us, including but not limited to:

• board members

• directors

• employees

• contractors or sub-contractors, and their employees

• consultants and sub-consultants, and their employees;

• other legal representatives

(‘our Representatives’) are aware of and comply with these ethical standards.

In the event that we, or our Representatives, do not meet the ethical standards at present, we shall:

1. Explain to NRC in what way we do not currently meet the ethical standards
2. Agree a plan and timeline with NRC to implement changes that allow us to meet the ethical standards
3. Provide regular updates to NRC on the implementation plan.
4. **Declaration concerning status**

We hereby declare that neither we, nor to the best if our knowledge our Representatives, are in any of the following situations:

* 1. Have made an offer, payment, consideration or benefit of any kind, which constitutes illegal or corrupt practice, directly or indirectly, as an inducement or reward in relation to the tendering, awarding or execution of the Contract.
  2. Are involved in any form of fraud, corruption, collusion, coercive practice, bribery, involvement in a criminal organisation or other illegal activity
  3. Are insolvent, in receivership, bankrupt, or being wound up
  4. Have suspended activities
  5. Are subject to legal proceedings related to 2.1
  6. Have at any time been found guilty and sentenced by a court, whether in the country of employment or abroad, for a criminal offence in respect of children or vulnerable adults
  7. Are engaged in:

• terrorism or the material support of terrorism

• the sale or manufacture, either directly or indirectly, of anti-personnel mines or any components produced primarily for the operation thereof

• the sale or manufacture, either directly or indirectly, of weapons

• the production of alcohol, tobacco, or pornography.

1. **Declaration concerning Conflicts of Interest**

We declare that neither we nor, to the best of our knowledge, our Representatives have an undisclosed conflict of interest with NRC.

Where any potential conflict of interest exists between our Representatives and NRC or any NRC staff member, we shall notify NRC in writing of the potential conflict. NRC shall then determine whether action is required.

A conflict of interest can be due to a relationship with an NRC staff member such as family or friends.

We understand that if we fail to report a potential conflict of interest and are later found to have a conflict of interest, we may be removed from the NRC vendor database.

1. **Declaration concerning compliance with national law**

We declare that we and, to the best of our knowledge, our Representatives:

* 1. comply with all applicable laws and regulations in effect in the country or countries where the Contract will be carried out.
  2. comply with all applicable export laws concerning the country or countries where the Contract will be carried out.
  3. are registered with the relevant government authority with regard to taxation for the duration of the Contract.
  4. pay taxes according to all applicable national laws and regulations for the duration of the Contract.

1. **Declaration concerning compliance with labour standards**

We declare that we and, to the best of our knowledge, our Representatives:

We declare that we and, to the best of our knowledge, our Representatives comply with applicable national labour law standards and the International Labour Organisation Declaration on Fundamental Principles and Rights at Work.

Specifically, we declare that we and, to the best of our knowledge, our Representatives comply with the following minimum labour standards:

* 1. Working Conditions

1. All workers receive a contract of employment that is written in a language they understand.
2. All workers are free to leave after giving reasonable notice.
3. All workers have the right to join or form trade unions of their own choosing and to bargain collectively.
4. No worker is required to lodge ‘deposits’ or identity papers or immigration documents in order to obtain employment.
   1. Wages and benefits
   2. Wages and benefits paid for a standard working week meet, at a minimum, national legal standards or industry benchmark standards, whichever is higher. Wages are always sufficient to meet basic needs.
   3. No deductions from wages are made as a disciplinary measure.
   4. Working time
   5. Working hours comply with national laws and benchmark industry standards, whichever affords greater protection. Whenever possible working hours do not exceed 48 hours per week (8 hours per day).
   6. Workers are provided with at least one day off for every 7-day period.
   7. Health and safety
   8. Steps are taken to prevent accidents and injury to health arising out of, associated with, or occurring in, the course of work, by minimizing, so far as is reasonably practicable, the causes of hazards inherent in the working environment.
   9. Workers receive regular and documented health and safety training, and such training is repeated for new workers.
   10. Workers have access to clean toilet facilities and to potable water, and, if appropriate, sanitary facilities for food storage is provided.
   11. Accommodation, where provided, is clean, safe and adequately ventilated.
   12. Discrimination and abuse
   13. No worker is forced, bonded or an involuntary prison worker.
   14. There is no discrimination at the workplace based on ethnic background, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.
   15. Measures are in place to protect workers from sexually intrusive, threatening, insulting or exploitative behaviour, and from discrimination or termination of employment on unjustifiable grounds, e.g. marriage, pregnancy, parenthood or HIV status.
   16. Physical abuse or punishment, or threats of physical abuse, sexual or other harassment and verbal abuse, as well as other forms of intimidation, are prohibited.
   17. Persons under 18
5. No persons under the age of 18 shall be engaged in work which is hazardous to their health or safety, including night work.
6. The working hours and nature of work of any worker who is under the age of 18 shall not interfere with their opportunity to complete his or her education.
7. **Declaration concerning the environmental standards**

We declare that we and, to the best of our knowledge, our Representatives comply with applicable national environmental law standards and with international environmental standards, to the greatest extent possible.

Specifically, we declare that we and, to the best of our knowledge, our Representatives adhere to the following standards:

* 1. We respect national and international environmental legislation and regulation.
  2. We ensure that production and extraction of raw materials for production does not contribute to the destruction of the resources and income base for marginalised populations, such as in claiming large land areas or other natural resources on which these populations are dependent.
  3. We take environmental measures into consideration throughout the production and distribution chain ranging from the production of raw material to the consumer sale. This includes reasonable steps to minimise negative environmental impacts (e.g. emissions, water usage, waste) and to use - where possible - sustainable resources. Local, regional and global environmental aspects shall be considered. The local environment at the production site will not be exploited or degraded by pollution and waste.
  4. We carefully manage hazardous chemicals and other substances in accordance with documented safety procedures.

1. **Declaration concerning protection from sexual exploitation and abuse**

We and, to the best of our knowledge, our Representatives comply with international standards related to protection from sexual exploitation and abuse (PSEA) and sexual harassment.

Specifically, we declare that we and, to the best of our knowledge, our Representatives adhere to the following standards:

* 1. We take sexual misconduct seriously and ensure that any employee found to have carried out sexual misconduct will be subject to disciplinary action.
  2. We will ensure, that none of our employees engage in any sexual activity with persons (adult or child) in relation with this contract regardless of the age of majority or consent locally.
  3. We will ensure that none of our employees produce, procure, distribute or use sexually explicit material in any activities under the Contract or on any sites used under the Contract.
  4. We will ensure that none of our employees will exchange money, employment, goods or services for sex, including sexual favours or other forms of humiliating, degrading, or exploitative behaviour. This prohibition extends to any use of sex trade workers. If any sexual misconduct is found to have taken place, such employees face disciplinary action.
  5. We shall report any incident or complaint of sexual misconduct or child abuse related to the activities carried out under the Contract through NRC’s PSEA and Safeguarding Unit at psea@nrc.no.
  6. We shall report any known or reported sexual relationship between our employees and NRC staff to NRC.

1. **Declaration concerning protection of children**

We declare that neither we nor, to the best of our knowledge, our Representatives are engaged in any practice inconsistent with the rights set forth in the Convention on the Rights of the Child. We commit to upholding international and national laws and policies regarding child safeguarding.

Specifically, we declare that we and, to the best of our knowledge, our Representatives adhere to the following standards:

* 1. We support and protect the complainant, survivors and witnesses of any raised incidents or complaints of sexual misconduct or child abuse.
  2. We will ensure, that our employees will not abuse or exploit children or act in a manner that may place a child at risk of harm.
  3. We will ensure that our employees are not left alone with children.
  4. We will ensure our employees will not ask children for personal contact details without a valid reason to do so.
  5. We listen, to the best of our ability, to children’s views and opinions and treat boys and girls in a manner that is respectful of their rights and dignity during the performance of the Contract.
  6. We shall report any suspicion of child safeguarding concerns through the Complaints and Feedback Mechanism, provided by the NRC contract focal point and at [psea@nrc.no](mailto:psea@nrc.no).

1. **Declaration concerning anti-human trafficking**

We declare that neither we nor, to the best of our knowledge, our Representatives are engaged in trafficking in persons as defined in the protocol to Prevent, Suppress and Punish Trafficking in Persons or the UN Convention against Transnational Organized Crime.

Specifically, we declare that we and, to the best of our knowledge, our Representatives adhere to the following standards:

* 1. We do not solicit persons for the purpose of employment, or offer employment by means of materially false or fraudulent pretences, representations, or promises.
  2. We do not charge employees recruitment fees.
  3. We do not provide or arrange housing for employees that does not meet host country housing and safety standards.
  4. We commit to report any suspected violations of this clause to NRC immediately.
  5. We commit to make our Representatives aware of the trafficking related prohibitions outlined above and share the Global Human Trafficking Hotline Information with them (1-844-888-FREE, [help@befree.org](mailto:help@befree.org)).

1. **General**

We understand that:

* 1. The Declaration will be kept on file for a period of 10 years.
  2. The Declaration will be updated every year or more often as appropriate.
  3. We must inform NRC immediately in the event that there is a change to the Declaration.
  4. NRC may perform checks to verify that the ethical standards are adhered to and shall be granted reasonable access to our premises and to our documentation, computer systems etc, in order to be allowed to do so.
  5. In the event that NRC deem that we fail to meet or are not taking appropriate steps to meet, the ethical standards, NRC may immediately terminate any and all contracts and agreements we have with them and at no cost to NRC.

1. **Requirement to notify NRC**

We shall immediately notify NRC through the Complaints and Feedback Mechanism, provided by the NRC contract focal point if:

* 1. Any allegations of alleged corruption, sexual exploitation or abuse, or child abuse are made against us or, to the best our knowledge, our Representatives, during the Contract, whether relating to the Contract or not.
  2. Any allegations are made, or any changes occur, in relation to any of the declarations made herein

**Signed on our behalf as follows:**

|  |  |
| --- | --- |
| Signature |  |
| Name |  |
| Position |  |
| Date |  |
| Place |  |