## Detail BoQ
INTERNATIONAL MEDICAL CORPS
PROGRAM DEPARTMENT/WASH UNIT
Bill of Quantity for Rehabilitation of Solar powered water supply network
Project Name: Rehabilitation of Water Supply Network Province : Ningarhar District: Khogyanai Village: Speen jumat
S/N | Activity/Item/Description | Unit | Quantity | Unit Cost AFN | Total Cost AFN | Remarks
A | BoQ for Well Development.
A.1 | Pump Test: Proper pump test data should be recorded, the test should be min for 8 hours. | Job | 1 |  | 0
Sub total for pump test of existing well |  |  |  |  | 0
B | BoQ for 20m3 Elevated RCC drinking water Tank
B.1 | Excavation for reservoir in ground type 3-4 کندن کاری درزمین قسم | M3 | 45 |  | 0
B.2 | Back filling with soil and excavated material . پرکاری خاک معه تپک کاری | M3 | 17 |  | 0
B.3 | Plain Cement Concrete (PCC), M150.(1:2:4) کانکریت بدون سیخ با مارک مخلوطی (1:2:4) | M3 | 5 |  | 0
B.4 | Reinforced Cement Concrete (RCC), M 200kg/cm2 including steel bars and shuttering according to the drawings. کانکریت سیخدار با مارک مخلوطی 1:1.5:3 همرای قالب بندی | M3 | 57.1 |  | 0
B.5 | Plaster work with cement-sand + padlow powder M: 1:3 for inside. M: 1:3. پلسترکاری داخلی با پودر ضد نفوذ آب1:3 | M2 | 50 |  | 0
B.6 | Water stopper to join the base slab of reservoir with wall واتر ستاپر برای اتصال سلب تحتانی با دیوار | M | 14 |  | 0
B.7 | Plaster work with cement-sand M: 1:3 for exterioir wall.M: 1:3. پلسترکاری خارجی 1:3 | M2 | 189 |  | 0
B.8 | Painting Plastic Wheather Sheet رنگمالی با رنگ پلاستیکی | M2 | 185 |  | 0
B.9 | Supply and installation of Hand rail for reservoir with all required activites according to drawings.کتاره فلزی | M | 19.2 |  | 0
B.10 | Supply and installation of Main Ladder with painting of water tank according to Attached Drawing Specification with all required activites according to drawings painting is included زینه فلزی مطابق نقشه با رنگ آن | LS | 1 |  | 0
B.11 | Supply and installaiton of Galvanized Iron (GI) pipe, inside diameter 2"پايپ آهني ملمع جست بقطر داخلي | m | 15 |  | 0 | Inlet pipe of Elevated Tank
B.12 | Supply and installaiton of Galvanized Iron (GI) pipe, inside diameter 2"پايپ آهني ملمع جست بقطر داخلي | m | 28 |  | 0 | Drain & Overflow Pipe of Elevated tank
B.13 | Supply and installation of Galvanized Iron (GI) Pipe, inside diameter 2'' پایپ آهنی ملمع حست بقطر داخلی ۲ انچ برای ناوه | m | 3 |  | 0 | gutter pipe
B.14 | Supply and installaiton of Galvanized Iron (GI) pipe, inside diameter 2"پايپ آهني ملمع جست بقطر داخلي | m | 18 |  | 0 | Outlet and Air vent pipe
B.15 | Supply and installaiton of Galvanized Iron (GI) (2''x2''x2'')Tee,"سه راه ملمع جستی | NO | 2 |  | 0
B.16 | Supply and installation of Gate valve (good quality) Nominal Diameter =2 " best quality for Drain Pipe گیت وال به قطردوانچ برای پایپ شستشو ذخیره | NO | 1 |  | 0
B.17 | Supply and installation of Galvanized Iron Socket, diameter 2"سامي آهني ملمع جست بقطر | No | 2 |  | 0
B.18 | Supply and installation of Galvanized Iron Socket, diameter 2"سامي آهني ملمع جست بقطر | No | 6 |  | 0
B.19 | Supply and installation of Galvanized Iron Nipple, dameter 2" اشتت آهني ملمع جست بقطر | No | 2 |  | 0
B.20 | Supply and installation of Galvanized Iron Nipple, diameter 2 "اشتت آهني ملمع جست بقطر | No | 4 |  | 0
B.21 | Supply and installation of Galvanized Iron Elbow, diameter 2"زانو خم آهني ملمع جست بقطر | No | 4 |  | 0
B.22 | Supply and installation of End cup for the wash out pipe 2" فلق برای پایپ شستشو | No | 1 |  | 0
Sub-Total Cost for 20m3 Elevated RCC water Tank (Afs.) |  |  |  |  | 0
C | BoQ For Solar Pump System
C.1 | Supply and installation of PSk3-7 C-SJ12-15-1,Motor ECDRIVE SUB 4" 5.5KW,Pump end ,Pump End ,with compitable Controller , with out let size 2" In), or Equivalent according to MRRD registered list of companies & Specification (the manufacturer company should not be restricted with IMC) with below specifications Avg. water production per day: 72 m3/day,flow rate 9.3m3/hr, Total head: 87 m Solar pump 5.5 KW according to the technical specification and requirement, سولر پمپ 5.5 کیلوات معه 7.5 کیلو وات انورتر ،کنترول باکس وفیوز باکس از کمبنی لورنز ویا معادل آن طبق مشخصات داده شده Contractor must submit manufacturer warranty for solar Pump for a period not less than 3 years. Contractor must submit all the required certificates for solar pump Serial number of Solar pump should be certified by manufacturing company | No | 1 |  | 0 | ظرفیت آب دهی پمپ = 72m3/day باشد و در صورت پایین آمدن سطح آب پمپ بشکل اتوماتیک خاموش شود.
C.2 | Solar panels(540)watt, or or Equivalent according to MRRD registered list of companies & Specification (the manufacturer company should not be restricted with IMC) Total Required Solar Array Power 10400 Wp at 34 ° tilted angle specification attached . Solar module type: POLYCRYSTALLINE or MONOCRYSTALLINE PV module used in solar power plant/system must be warranted for 10 years for their material, manufacturing defects, workmanship. The output peak watt capacity which should not be less than 90% at the end of 10 years and 80% at the end of 25 years. | watt | 10400 |  | 0
C.3 | Dry-running switch for submersible pumps (A) 98347579 Sensor, Cable splice kit 2.5-6mm2, Pressure Switch: the switch can be used to detect the water level within a tank. When the water level in the tank reaches the maximum, the pressure will increase and the Controller will stop the pump and indicates Tank Full LED, Safty rope for holding of solar pump, Ground rod with Cooper Cable, conduit pipe,Wire tire and etc , complete work with related accessories. | LS | 1 |  | 0
C.4 | Extention and rehabioitation of Solar panels stand steel,25 and 45 deg, Large (panels suport structure) size of current of solar stand is (6.8m X 1.65m) ترمیم و انکشاف پایه سولر پینل ها ابعاد فرم موجوده 6.8 متر در 1.65 متر میباشد. | set | 1 |  | 0
C.5 | Submercible drop cable (4*13)mm2 from Controlar to solar pump کیبل برق از کنترولر الی پمپ | m | 420 |  | 0
C.6 | Cable (2*1.5)mm2 کیبل برق | m | 65 |  | 0
C.7 | Cable (1*10)mm2 کیبل برق | m | 20 |  | 0
C.8 | Supply and installation of solar pump set and solar panels انتقال ومونتاژ سبمرسیبل پمپ و سیستم سولر پنیل ها | set | 1 |  | 0
Sub-Total Cost for Solar Pump System (Afs.) |  |  |  |  | 0
D | BoQ for Construction of well protection Box
D.1 | Plaster work with cement-sand, M: 1:3 پلسترکاری با مارک مخلوط سمنت وریگ مارک مصاله | m2 | 7 |  | 0
D.2 | Prevision & installation of Well Cap made of 3mm thick Iron sheet according to design with all required activities | LM | 1 |  | 0
D.3 | Supply & installation of Flanged None Returning Valve Nominal diameter 2'' (good quality) with all accessories according to design & all required activities | NO | 1 |  | 0
D.4 | Supply & Installation of Flanged Flow Meter2'' with all accessories according to design & all required activities. | NO | 1 |  | 0
D.5 | Supply & Installation of Flanged Gate Valve 2'' with all accessories according to design & all required activities | NO | 1 |  | 0
D.6 | Supply and installation of sleev for crossing of pipe from wall of well protection box. | NO | 2 |  | 0
D.7 | Supply and installation of Galvanized Iron Socket, diameter 2"سامي آهني ملمع جست بقطر | NO | 4 |  | 0
D.8 | Supply and installation of Galvanized Iron Nipple, diameter 2"اشتت آهني ملمع جست بقطر | NO | 4 |  | 0
D.9 | Suuply and installation of High Density Polyethylene 90mm Elbow with all accessories. | NO | 1 |  | 0
Sub-Total Cost for Construction of well protection (Afs) |  |  |  |  | 0
E | BoQ for Construction of Gate Valve & Flow Meter Box
E.1 | Excavation of foundation in ground type 3-4 کندن کاری درزمین قسم سوم وچهارم | m3 | 4.32 |  | 0
E.2 | Back filling with Gravel under the PCC.پرکاری توسط جغل دریائی زیرکانکریت بدون سیخ | m3 | 0.323 |  | 0
E.3 | Plain Cement Concrete (PCC),for well head leveling according to the drawing M150 kg/cm2 (1:2:4) ۱:۲:۴ کانکریت بدون سیخ برای لیول کاری فرش با مارک مخلوط | m3 | 0.413 |  | 0
E.4 | Kilned brick masonry with mortar 1:4 (cement - sand) . خشت کاری پخته به مخلوط مساله (ریګ: سمنت) 1:4 | m3 | 1.76 |  | 0
E.5 | Plaster work with cement +sand, (1:3) پلستر کاری داخلی با مخلوط مساله با نسبت | m2 | 1.85 |  | 0
E.6 | Prevision & installation of sliding cover gate made of 3mm thick Iron sheet with all accessories according to design & all required activities | No | 1 |  | 0
E.7 | Back filling with Excavated materials | m3 | 1.44 |  | 0
E.8 | Supply & Installation of Flanged Flow Meter 2 1/2'' with all accessories according to design & all required activities | NO | 2 |  | 0
E.9 | Supply & Installation of Flanged Gate Valve 2 1/2'' with all accessories according to design & all required activities | NO | 2 |  | 0
E.10 | Supply and installation of sleev for crossing of pipe from wall of Gate Valve & flow meter box. | NO | 2 |  | 0
E.11 | Supply and installation of Galvanized Iron Socket, diameter 3"سامي آهني ملمع جست بقطر | NO | 4 |  | 0
E.12 | Supply and installation of Galvanized Iron Nipple, diameter 3"اشتت آهني ملمع جست بقطر | NO | 4 |  | 0
Number of Gate Valve and Flow meter Box |  | 1
Sub-Total Cost for Construction of G.V & Flow Meter Box |  |  |  |  | 0
F | BoQ for Construction of Gate Valve Box
F.1 | Excavation of foundation in ground type 3-4 کندن کاری درزمین قسم سوم وچهارم | m3 | 2.25 |  | 0
F.2 | Back filling with Gravel under the PCC.پرکاری توسط جغل دریائی زیرکانکریت بدون سیخ | m3 | 0.225 |  | 0
F.3 | Plain Cement Concrete (PCC),for well head leveling according to the drawing M150 kg/cm2 (1:2:4) ۱:۲:۴ کانکریت بدون سیخ برای لیول کاری فرش سرپوش چاه با مارک مخلوط | m3 | 0.12 |  | 0
F.4 | Kilned brick masonry with mortar 1:4 (cement - sand) . خشت کاری پخته به مخلوط مساله (ریګ: سمنت) 1:4 | m3 | 1.06 |  | 0
F.5 | Plaster work with cement +sand, (1:3) پلستر کاری داخلی با مخلوط مساله با نسبت | m2 | 4 |  | 0
F.6 | RCC Precast Slab (110*110*12 ) cm پریکاست سلب | PCs | 1 |  | 0
F.7 | Steal Cover Guidance for Cover opening & Closing of Gate valve | No | 1 |  | 0
F.8 | Back filling with Excavated materials | m3 | 0.56 |  | 0
F.9 | Supply and installation of sleev for crossing of pipe from wall of Gate Valve box. | NO | 2 |  | 0
Sub-Total Cost for Construction of 1 Gate Valve Box |  |  |  |  | 0
| No Gate Valve Boxes = | 5
Sub-Total Cost for Construction of 5 Gate Valve Boxes |  |  |  |  | 0
G | BoQ for Rehabilitation of 1 existing stand taps & Construction of Soak pit for existing stand post
G.1 | پلسترکاری مطابق نقشه با مارک 1:3 مصالحهPlaster work with cement-sand, M: 1:3 | m2 | 5.7 |  | 0
G.2 | کندنکاری برای ساختمان شیردهن ها و ساختمان چاه جذب آب درسوم Excavation for Stand Tap,Soakpit ground type 3 | m3 | 1 |  | 0
G.3 | پرکاری جغل Gravel filling | m3 | 1 |  | 0
G.4 | Supply & installation of all accessories of public stand post including 3/4" GI pipe ,Socket,Niple, Elbow, best quality nickel water tap complete work with related accessories. انتقال و منتاژپایپ جستی به قطر ۳/۴انچ ، ساکت،سامی،شتت.زانوخم ، شیردهن نکلی باتمام امور ایجابی آن | job | 1 |  | 0
SubTotal cost for rehabilitation of 1 Existing Stand Taps & Soak pit (USD) قیمت مجموعی برای ساختمان 1 عدد شیردهن |  |  |  |  | 0
H | BoQ for construction stand tap & Soak pit
H.1 | کندنکاری برای ساختمان شیردهن ها و ساختمان چاه جذب آب درسوم Excavation for Stand Tap,Soakpit ground type 3 | m3 | 44 |  | 0
H.2 | پرکاری جغل Gravel filling | m3 | 36.8581 |  | 0
F.3 | کانکریت سیخدار مع قالب بندی با مارک 1:1.5:3 Reinforced Cement Concrete M: 1:1.5:3 with shuttering | m3 | 12.4286 |  | 0
F.4 | کانکریت بدون سیخ به مارک Plain Cement Concrete M: 1:2:4 | m3 | 5.8 |  | 0
F.5 | پلسترکاری مطابق نقشه با مارک 1:3 مصالحهPlaster work with cement-sand, M: 1:3 | m2 | 165.1863 |  | 0
F.6 | Supply & installation of all accessories of public stand post including 3/4" GI pipe ,Socket,Niple, Elbow, best quality nickel water tap complete work with related accessories. انتقال و منتاژپایپ جستی به قطر ۳/۴انچ ، ساکت،سامی،شتت.زانوخم ، شیردهن نکلی باتمام امور ایجابی آن | job | 29 |  | 0
SubTotal cost for 21 No Stand Taps & Soak pit (USD) قیمت مجموعی برای ساختمان 29 عدد شیردهن |  |  |  |  | 0
I | BoQ for Distribution line (From Reservoir to Stand taps)
I.1 | Excavation of pipe trench for distribution pipes laying in ground type 4,3 کندن کاری درزمین قسم | m3 | 749 |  | 0
I.2 | Back filling of pipe trench by excavated material.پرکاری خاک معه تپک کاری | m3 | 524 |  | 0
I.3 | Back filling of pipe trench by soft soil material.پرکاری خاک میده معه تپک کاری | m3 | 225 |  | 0
I.4 | Supply and laying of warning tap according to the drawing | m | 1497 |  | 0
I.5 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 16 SDR 11), Outside Diameter: 32mm, wall thickness 3 mm ,weight 0.27kg/m, Best quality.پایپ پولی ایتیلین بقطر خارجی 32 ملی با فشارقابل برداشت 16 بار | m | 347 |  | 0
I.6 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 40 mm, wall thickness 2.4 mm ,weight 0.29kg/m, Best quality.پایپ پولی ایتیلین بقطر خارجی 40 ملی با فشارقابل برداشت 10 بار | m | 787 |  | 0
I.7 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 50 mm, wall thickness 3 mm ,weight 0.45kg/m, Best quality.پایپ پولی ایتیلین بقطر خارجی 50 ملی با فشارقابل برداشت 10 بار | m | 20 |  | 0
I.8 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 16 SDR 11), Outside Diameter: 63 mm, wall thickness 5.8 mm ,weight 1.06 kg/m, Best quality.پایپ پولی ایتیلین بقطر خارجی 63 ملی با فشارقابل برداشت 16 بار | m | 412 |  | 0
I.9 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 63 mm, wall thickness 3.8 mm ,weight 0.72 kg/m, Best quality.پایپ پولی ایتیلین بقطر خارجی 63 ملی با فشارقابل برداشت 10 بار | m | 135 |  | 0
I.10 | Supplying, installation, laying and fitting in place of High Density Polyethylene pipe (PE 100 PN 10 SDR 17), Outside Diameter: 75 mm, wall thickness 4.5 mm ,weight 1.01kg/m, Best quality.پایپ پولی ایتیلین بقطر خارجی 75 ملی با فشارقابل برداشت 10 بار | m | 189 |  | 0
I.11 | Supply and installation of Polyethylene Straight reducer,diameter (75x63) mmوصل کننده مستقیم نوع پولی ایتیلین | NO | 1 |  | 0
I.12 | Supply and installation of Polyethylene Straight reducer,diameter (63x50) mmوصل کننده مستقیم نوع پولی ایتیلین | NO | 1 |  | 0
I.13 | Supply and installation of Polyethylene Straight reducer,diameter (50x40) mmوصل کننده مستقیم نوع پولی ایتیلین | NO | 1 |  | 0
I.14 | Supply and installation of Polyethylene Straight Coupler, diameter (50x32) mmوصل کننده مستقیم نوع پولی ایتیلین | No | 1 |  | 0
I.15 | Supply and installation of Polyethylene Tee, Size (75x50x75)mmسه دهن نوع پولی ایتیلین | No | 1 |  | 0
I.16 | Supply and installation of Polyethylene Tee, Size (63x40x63)mmسه دهن نوع پولی ایتیلین | No | 3 |  | 0
I.17 | Supply and installation of Polyethylene Tee, Size (50x40x50)mmسه دهن نوع پولی ایتیلین | No | 1 |  | 0
I.18 | Supply and installation of Polyethylene Tee, Size (40x32x40)mmسه دهن نوع پولی ایتیلین | No | 18 |  | 0
I.19 | Supply and installation of Polyethylene Tee, Size (32x32x32)mmسه دهن نوع پولی ایتیلین | No | 1 |  | 0
I.20 | Supply and installation of Gate valve (good quality) Nominal Diameter = 2 1/2" best qualityگیت وال به قطر | No | 1 |  | 0
I.21 | Supply and installation of Gate valve (good quality) Nominal Diameter = 2" best qualityگیت وال به قطر | No | 2 |  | 0
I.22 | Supply and installation of Gate valve (good quality) Nominal Diameter = 1 1/4" best qualityگیت وال به قطر | NO | 6 |  | 0
I.23 | Supply and installation of Galvanized Iron Nipple, diameter 2 1/2"اشتت آهني ملمع جست بقطر | NO | 2 |  | 0
I.24 | Supply and installation of Galvanized Iron Nipple, diameter 2"اشتت آهني ملمع جست بقطر | NO | 4 |  | 0
I.25 | Supply and installation of Galvanized Iron Nipple, diameter 1 1/4"اشتت آهني ملمع جست بقطر | No | 12 |  | 0
I.26 | Supply and installation of End cup for the pipe 40mm فلق برای پایپ | NO | 7 |  | 0
I.27 | Supply and installation of End cup for the pipe 32mm فلق برای پایپ | NO | 1 |  | 0
I.28 | Sign Board for project لوحه برای پروژه | NO | 1 |  | 0
I.29 | Site preparation and clearance | LS | 1 |  | 0
Sub-Total Cost for distribution line (Afs.) |  |  |  |  | 0
Selection of pipe alignment should be with close consultation of IMC/Technical engineer and attached drawing, The HDPE pipe should be tested in laboratory according to MRRD requirement and the report should be submitted and verified by IMC/technical engineer.
Grand Total for All BoQ (A+B+C+D+E+F+G+H+I) = |  |  |  |  | 0