Scope of Work

Name of the School - Dor Mohammad Primary School, Chora District, Urozgan Province

The Dor Mohammad School, located in Samyan Village, Chora District, Urozgan Province, Afghanistan, was established with land donated by the local community. The school operates under the management of a School Management Committee (Shura), consisting of ten members including five teaching staff, four parent representatives, and one community-nominated member. The school currently has five teaching staff and one non-teaching staff member, serving a total of 119 students (108 male and 11 female) across two shifts daily. The school infrastructure includes a single-story building with 10 classrooms and two administration rooms, covering a campus area of 2508 square meters.

The school requires extensive rehabilitation due to several deficiencies noted during the assessment. The main building, constructed in 2010, shows damage to its flooring, roofing, doors, windows, and downspouts, with recommendations for new PCC casting, Isogam installation for the roof, and replacement of damaged bricks tiles. The exterior plaster of the building is also damaged and needs replacement, and a complete repaint is advised. Interior conditions are similarly compromised with recommendations for new doors, window installations, wall plaster repairs, and interior repainting. Additionally, the boundary wall, made of mud, is inadequate and needs to be replaced with a more durable material. The school lacks a water-supply system, electrical system, and WASH facilities, with suggestions to install a new water well, 1000-liter water tank, and adequate latrine and handwashing facilities for both students and teachers.

The works considered for this school as per the priority of the school management within the available budget ceiling are:

- Renovation of school building

- Construction of latrine block

- Construction of hand wash facility