## GULRAN DH
Rehabilitation and Development Works for the Healthcare Facilities in Gulran Village, Gulran District, Herat province.
Annexure A
No | Item Description | UOM | Quantity | Unit Price | Total Price
1 | Unskilled labor for (site preparation, excavation and demolition on hard surfaces, stone masonry work, PCC work, RCC work, steel working, plastering, tile and ceramic works,site cleaning after completion of construction, back filling ...) | md | 385.89 |  | 0
2 | Skilled labor for( Site preparation, Excavation and Demolition on Hard surfaces, Stone Masonry work, PCC work, RCC work, Steel working, plastering, Tile and ceramic works,...) | md | 87.42 |  | 0
3 | Installation cost of All systems (UPVC door and window, SHC building, Electrical Wire and LED lighting, Toilets fixtures equipment and toilets roof, water supply system, solar system, Plumbing works inside and outside of Buildings and toilets, fences and GI pipe for boundary of incinerator area ...) | Ls | 1 |  | 0
4 | Sand (specification as per SOW) including transportation to site of the project | m3 | 16.013 |  | 0
5 | Gravel (specification as per SOW) including transportation to site of the project | m3 | 23 |  | 0
6 | Brick high quality(Size, 22*11*7cm ) (specification as per SOW) | no | 5002.92 |  | 0
7 | Cement high quality | kg | 14338.56 |  | 0
8 | Drinkable water for RCC, PCC | Lit | 5153.53 |  | 0
9 | Tile (specification as per SOW) | m2 | 18.9 |  | 0
10 | Ceramic (specification as per SOW) | m2 | 9 |  | 0
11 | Mild steel - grade 60 - ultimate tensile stress N/mm2 min410, ys N/mm2-250, dia 10mm | kg | 2350 |  | 0
12 | Wire 1 mm | kg | 17 |  | 0
13 | Steel gate for valvebox door | kg | 20 |  | 0
14 | GI pipe diameter 1" for vertical part of stair | kg | 48.6 |  | 0
15 | GI pipe diameter 0.75" for hand rail | kg | 35.7 |  | 0
16 | Iron porfile 4X4 cm | m | 24 |  | 0
17 | Iron porfile 3X3 cm | m | 35.1 |  | 0
18 | Water stopper for reservoir | no | 12 |  | 0
19 | Shuttering of Incinerator slab and beams, Septic Tank | m2 | 136.82 |  | 0
20 | Plastic color for exterior of RCC reservoir, WC1 internal walls and hand wash stations | m2 | 158.08 |  | 0
21 | Oil painting two layer for guard rail and gate doors | m2 | 16 |  | 0
22 | Hand washing sinks with high quality brass lever faucet, mirror and accessories | Set | 7 |  | 0
23 | Wash pipe for toilets new toilets | set | 3 |  | 0
24 | Flush tank (Material plastic, white color, dual flush, 6 liters capacity) | No | 2 |  | 0
25 | R.O (Reverse osmosis water treatment equipment 50 Litre/hr) Made in Taiwan | No | 5 |  | 0
26 | Trash bins | pcs | 10 |  | 0
27 | Large Trash Bins | pcs | 1 |  | 0
28 | Hot deeped galvanized steel 2" pipe for RCC reservoir | m | 27.5 |  | 0
29 | Gate valve stainless steel 2" | No | 1 |  | 0
30 | PE100, Pressure 10, Ø63mm | m | 30 |  | 0
31 | PE100, Pressure 10, Ø50mm | m | 93 |  | 0
32 | PE100, Pressure 10, Ø40mm | m | 49 |  | 0
33 | PE100, Pressure 10, Ø32mm | m | 41 |  | 0
34 | PPR Pipe Ø32mm | m | 24 |  | 0
35 | PPR Pipe Ø25mm | m | 80 |  | 0
36 | Hand washing sinks with high quality brass lever faucet, mirror and accessories | Set | 7 |  | 0
37 | High quality brass lever faucets | No | 12 |  | 0
38 | Electrical water boiler 80 litre, Arabic super Aquahot with all spares | No | 1 |  | 0
39 | PPR Tee size 32mm PN25 | pcs | 15 |  | 0
40 | PPR Tee size 25mm PN25 | pcs | 18 |  | 0
41 | PPR Elbow size 32mm PN25 | pcs | 15 |  | 0
42 | PPR Elbow size 25mm PN25 | pcs | 12 |  | 0
43 | PPR Elbow one side treathed coper size 25mm PN25 | pcs | 10 |  | 0
44 | PVC P-Trip 4" PN 6 - Class B | pc | 1 |  | 0
45 | PVC P-Trip 4" PN 6 - Class B | pc | 1 |  | 0
46 | PVC Pipe 4" Class B 6bar | m | 23 |  | 0
47 | PVC Pipe 3" Class B 6bar | m | 25 |  | 0
48 | PVC Pipe 2" Class B 6bar | m | 6 |  | 0
49 | PVC Tee 4X3" 45 degree PN 6 - Class B | pc | 10 |  | 0
50 | PVC Tee 3X2" 45 degree PN 6 - Class B | pc | 6 |  | 0
51 | PVC Tee 4" PN 6 - Class B | pc | 1 |  | 0
52 | PVC Elbow 4 inch 90 degree PN 6 - Class B | pc | 3 |  | 0
53 | PVC Elbow 2" 45 degree PN 6 - Class B | pc | 12 |  | 0
54 | PVC Elbow 4" 45 degree PN 6 - Class B | pc | 1 |  | 0
55 | Pipe PE 100,HDPE 16Bar Diameter 63mm | m | 6 |  | 0
56 | Glass wool for pipes insulation @ 5cm thickness | m2 | 60 |  | 0
57 | Burlap for covering reservoir GI pipes | m2 | 15 |  | 0
58 | Total transportaion of material to the village | Ls | 1 |  | 0
Total Amount in Afghani - DDP Herat Province (Inclusive of tax): |  |  |  |  | 0
Total Amount in Words:
Vendor details:
Company name: ……………………………….
Name of signatory: ……………………………….
Title: ……………………………….
Contact Number (s): ……………………………….
Email Address(s): ……………………………….
Date: ……………………………….
Sign and stamp: ……………………………….

## KHUGIANI BHC
Rehabilitation and Development Works for the Healthcare Facilities in Khugyani Village, Gulran District, Herat province.
Annexure A
No | Item Description | UOM | Quantity | Unit Price | Total Price
1 | Unskilled labor for (site preparation, excavation and demolition on hard surfaces, stone masonry work, PCC work, RCC work, steel working, plastering, tile and ceramic works,site cleaning after completion of construction, back filling ...) | md | 277.79 |  | 0
2 | Skilled labor for( Site preparation, Excavation and Demolition on Hard surfaces, Stone Masonry work, PCC work, RCC work, Steel working, plastering, Tile and ceramic works,...) | md | 60.23 |  | 0
3 | Installation cost of All systems (UPVC door and window, SHC building, Electrical Wire and LED lighting, Toilets fixtures equipment and toilets roof, water supply system, solar system, Plumbing works inside and outside of Buildings and toilets, fences and GI pipe for boundary of incinerator area ...) | LS | 1 |  | 0
4 | stone (specification as per SOW) including transportation to site of the project | m3 | 23.52 |  | 0
5 | Sand (specification as per SOW) including transportation to site of the project | m3 | 15.26 |  | 0
6 | Gravel (specification as per SOW) including transportation to site of the project | m3 | 3.93 |  | 0
7 | Brick high quality(Size, 22*11*7cm ) (specification as per SOW) | no | 2704 |  | 0
8 | Cement high quality | kg | 5563.5 |  | 0
9 | Drinkbale water for RCC, PCC and other works of project | liters | 3635.02 |  | 0
10 | tile (specification as per SOW) | m2 | 199 |  | 0
11 | ceramic (specification as per SOW) | m2 | 124.96 |  | 0
12 | Mild Steel -Grade 60 - Ultimate Tensile Stress N/mm2minimum-410, Yield Stress N/mm2-250, dia 14mm (Khan steel made in Afghanistan) | kg | 175 |  | 0
13 | Mild Steel -Grade 60 - Ultimate Tensile Stress N/mm2minimum-410, Yield Stress N/mm2-250, dia 12mm (Khan steel made in Afghanistan) | kg | 75 |  | 0
14 | Mild Steel -Grade 60 - Ultimate Tensile Stress N/mm2minimum-410, Yield Stress N/mm2-250, dia 10mm (Khan steel made in Afghanistan) | kg | 80 |  | 0
15 | Wire 1 mm سیم جستی یک ملی | kg | 2.31 |  | 0
16 | Shuttering for septic tank | m2 | 8 |  | 0
17 | RCC Rings (dia 90 cm high 40cm) for Septict drain water pit,including installation on site | rings | 26 |  | 0
18 | RCC covering Slab for Pit (dia 1.2) with ventilation pipe including installtion on site | slab | 2 |  | 0
19 | Two layer Plastic Painting of Exterior and Interior walls of (mix toilet & bath for delivery room)and back of tap station as clinic building out side color | m2 | 26.7 |  | 0
20 | 3000 litre-Vertical water reservoir (high-density polyethylene 5 layer Tanks)(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 1 |  | 0
21 | 2000 litre-horizontanl water tank (high-density polyethylene 5 layer Tanks)(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 1 |  | 0
22 | Sun Water Boiler 200lit Toloy company or similar quality | no | 1 |  | 0
23 | Stand for water tank 1000 liter(Fixed Structure, stainless steel) height of 200 cm | set | 1 |  | 0
24 | Hand Washing Sink with stand (Ceramic Wash Basin, Sink Style Single Bowl,Solid Surface Freestanding Hand Wash Basin )(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 4 |  | 0
25 | Waste pipe with accessories of hand washing sinks(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 4 |  | 0
26 | Persian Toilet (size 58x46 cm, material : Ceramic) | no | 4 |  | 0
27 | western toilet (stand toilet) (materials: porcelain/vitreous china, ergonomic design, comfort height, elongated bowl, dual flush (1.28 GPF or less), WaterSense certified, quiet flush, easy-to-clean, soft-close seat, medium size) (Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 2 |  | 0
28 | Floor Drain(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 10 |  | 0
29 | Brass Shutoff valve 0.5 inch (Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 8 |  | 0
30 | metallich Paper hunger(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 9 |  | 0
31 | Brass Angle Cock with brass mulsim shower setr(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 6 |  | 0
32 | Flush tank (Material plastic, white color, dual flush, 6 liters capacity) | no | 6 |  | 0
33 | Brass lever taps 0.5 inch high quality | pc | 4 |  | 0
34 | Brass Mixing Valve for Hand Washing Sinks(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 9 |  | 0
35 | Bath shower with accessories of shower(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 1 |  | 0
36 | Mixing valve for head shower with accessories(stand head pipe…)(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 1 |  | 0
37 | Shelf for soap(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 4 |  | 0
38 | Mirror with Shelves(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 10 |  | 0
39 | small trash Bins high quality plastic 50cm High(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 9 |  | 0
40 | Large Trash Bin(Glad 64 Gallon Trash Can with a step-on foot pedal for hands-free operation(Afghan Sanitary and Plumbing Co, or equivalent quality) | no | 2 |  | 0
41 | PLASTIC TAPE (NAWAR TEFLOON) | bundle | 2 |  | 0
42 | PE100, Pn16 pipes, Dia 1" inch - Well to Reservoir | m | 100 |  | 0
43 | PVC Pipe Size 4" PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | m | 65 |  | 0
44 | PVC Pipe Size 3" PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | m | 40 |  | 0
45 | PPR Pipe size 32mm PN 25(Afghan Sanitary and Plumbing Co, or equivalent quality) | m | 80 |  | 0
46 | PPR Pipe size 25mm PN 25(Afghan Sanitary and Plumbing Co, or equivalent quality) | m | 100 |  | 0
47 | PPR Tee size 32mm PN25(Afghan Sanitary and Plumbing Co, or equivalent quality) | pcs | 20 |  | 0
48 | PPR Tee size 25mm PN25(Afghan Sanitary and Plumbing Co, or equivalent quality) | pcs | 35 |  | 0
49 | PPR Elbow size 32mm PN25(Afghan Sanitary and Plumbing Co, or equivalent quality) | pcs | 20 |  | 0
50 | PPR Elbow size 25mm PN25(Afghan Sanitary and Plumbing Co, or equivalent quality) | pcs | 30 |  | 0
51 | PPR Elbow one side treathed coper size 20mm PN25(Afghan Sanitary and Plumbing Co, or equivalent quality) | pcs | 15 |  | 0
52 | PVC P-trip 4" PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | pc | 15 |  | 0
53 | PVC P-trip 3" PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | pc | 20 |  | 0
54 | PVC Tee 4" PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | pc | 5 |  | 0
55 | PVC Tee 4x3" PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | pc | 14 |  | 0
56 | PVC Elbow 4inch 90 degree PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | pc | 4 |  | 0
57 | PVC Elbow 3" 45 degree PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | pc | 6 |  | 0
58 | PVC Elbow 4" 45 degree PN 6 - Class B(Afghan Sanitary and Plumbing Co, or equivalent quality) | pc | 10 |  | 0
59 | Glass wool for water tank and pipe insulations @5cm thickhness | m2 | 40 |  | 0
60 | Plastic sheet 3mm for covering glass wool | m2 | 30 |  | 0
61 | Solar panal( PROPSOLAR or TOMMATECH 270W Poly crystalline 37.9V 9.22A)(as per AWM Solar Water Pumping System Planner PDF file) | panels | 6 |  | 0
62 | Electric submersible pump(PEDROLLO 4SR1.5/17 1.5HP 1.1Kw 220V(as per AWM Solar Water Pumping System Planner PDF file) | pc | 1 |  | 0
63 | Inverter (FRECON or DANFOSS VECON VLT IP 65 1.5KW 220V) (as per AWM Solar Water Pumping System Planner PDF file) | pc | 1 |  | 0
64 | STAND FOR PV-PANELS(Fixed Structure)(as per AWM Solar Water Pumping System Planner PDF file) | set | 1 |  | 0
65 | Motor Cable(4*2.5mm2)(as per AWM Solar Water Pumping System Planner PDF file) | m | 90 |  | 0
66 | Solar Cable(2*6mm2)(as per AWM Solar Water Pumping System Planner PDF file) | m | 15 |  | 0
67 | Pipe (PE0.5 Inch/16mm (PE100, PN16)(as per AWM Solar Water Pumping System Planner PDF file) | m | 110 |  | 0
68 | Float switch (Mechanical)(as per AWM Solar Water Pumping System Planner PDF file) | pc | 1 |  | 0
69 | PV disconnect switch(IP54)(as per AWM Solar Water Pumping System Planner PDF file) | pc | 1 |  | 0
70 | Inverter box (IP20 )(as per AWM Solar Water Pumping System Planner PDF file) | box | 1 |  | 0
71 | flexible conduct pipe (as per AWM Solar Water Pumping System Planner PDF file) | m | 30 |  | 0
72 | Grounding rod (copper)(as per AWM Solar Water Pumping System Planner PDF file) | set | 1 |  | 0
73 | Safety rope (plastic)(as per AWM Solar Water Pumping System Planner PDF file) | m | 80 |  | 0
74 | Cable splice kit (IP68)(as per AWM Solar Water Pumping System Planner PDF file) | set | 1 |  | 0
75 | Well probe sensors(Electronic)(as per AWM Solar Water Pumping System Planner PDF file) | set | 1 |  | 0
76 | Earthing Cable(1*16mm2)(as per AWM Solar Water Pumping System Planner PDF file) | m | 30 |  | 0
77 | Pump fitings(Poly ethylene)(as per AWM Solar Water Pumping System Planner PDF file) | set | 1 |  | 0
78 | Cable 2*1.5mm2(For sensors)(as per AWM Solar Water Pumping System Planner PDF file) | m | 90 |  | 0
79 | Electrical Wire 2.5 mm (Rana Power Solutions, or equivalent quality) | m | 200 |  | 0
80 | Socket or power outlet for W/C (Rana Power Solutions, or equivalent quality) | pcs | 7 |  | 0
81 | power swich for W/C (Rana Power Solutions, or equivalent quality) | pcs | 7 |  | 0
82 | BATTERY 12V/150AH- Battery Capacity over 9Ah (Rana Power Solutions, or equivalent quality) | pcs | 4 |  | 0
83 | High quality lamp for W/C (Rana Power Solutions, or equivalent quality) | pcs | 22 |  | 0
84 | charge controller (12V, 20A) (Rana Power Solutions, or equivalent quality) | no | 1 |  | 0
85 | Fencing with Hight of one meter best quality (Fence with mesh (5x5) cm with diameter 2.7mm) | m2 | 38 |  | 0
86 | high quality Lock with 50 cm chain | no | 1 |  | 0
87 | Hot Dipped Galvanized Steel Pipe ـSCHEDUAL-40 _Round Shape_ 2 inch for fence | m | 18 |  | 0
88 | Railing Stainless steel for the toilets stair and ramp with high-quality material and installation on-site (Handrail, round shap dia 2inch) | no | 2 |  | 0
89 | Total transportaion of material on site | Ls | 1 |  | 0
Total Amount in Afghani - DDP Herat Province (Inclusive of tax): |  |  |  |  | 0
Total Amount in Words:
Vendor details:
Company name: ……………………………….
Name of signatory: ……………………………….
Title: ……………………………….
Contact Number (s): ……………………………….
Email Address(s): ……………………………….
Date: ……………………………….
Sign and stamp: ……………………………….