## Cover Page
UNOPS, Afghanistan
Bill of Quanitites
Project Name: |  | DESIGN OF WERP OFFICES INSIDE THE K-SPAN
Project Number:
Location: |  | UNOPS Ccountry office, UNOCA complex, PD 9, Kabul Afghanistan
Contents:
Cover Page ….. Preambles ….. Summery ….. Bill No.1.Preliminaries Bill No.2.Civil Work Bill No.3.Mechanical Work Bill No.4.Electrical Work

## Preambles
Preambles to the Bill of Quantities
Definitions | 1 | The meaning of the words and expressions defined in the Method of Measurement shall have the same meaning when used in the Bill of Quantities.
Definitions | 2 | 1 -The cost for all items in this BOQ, in general, includes deploying of any machineries, manpower, carrying out of any relocations/ removal/ salvage/ disposal /reinstating tasks. The costs of check and testing's for all items and materials needs to be used should be included in the relevant unit cost of related items. However, particular issues to the costs of items mentioned under each section in this BOQ. 2- Details of work method & equipment/machinery for different types of work shall be brought to the attention of Engineer to get approval of Engineer before commencing the jobs. 3- Samples for all types of equipment, appliances, materials and accessories that need to be used in this contract shall be brought to the approval of UNOPS QA/QC Engineer before using them in the job. 4- Electrical items to be original Turkish origin. 5-Water supply items: Sinks, Lavatories, water,/Sewer items to be original and best quality. 6-Painting items to be standard and best quality. 7- Steel members to be ISO9001, grade 40 or above. 8-All the following works will be as per the approval of the UNOPS Engineer. 9- The contractor must provide samples, mockups, catalogues for testing / inspection and approval by the site engineer, Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. 10- The contractor must provide PPE for all laborers, personnel, engineers and possible visitors to the site.
Definitions | 3 | In the Bill of Quantities the nature and extent of the work is to be ascertained by reference to the Contract Documents. The rates and prices entered in the Bill of Quantities shall be deemed to be the full inclusive value of the Works including the following, unless expressly stated otherwise in the Contract:
(a) Labour and all costs in connection therewith.
(b) The supply of all materials and goods including delivery to Site, unloading, storage and all other costs in connection therewith. Taking delivery of materials and goods supplied by others including unloading, storage, and costs in connection therewith.
(c) Plant and costs in connection therewith.
(d) Fixing, erecting and installing or placing of materials and goods in position.
(e) Temporary Works.
(f) The effect on the phasing of the Works or any element of the Works to the extent set forth or reasonably implied in the Contract Documents.
(g) General obligations, liabilities and risks involved in the execution of the Works set forth or reasonably implied in the documents on which the tender is based.
(h) Establishment charges, overheads and profit.
(i) Waste.
(j) Testing carried out by the Contractor in accordance with the particular requirements of the Specification including supplying results of tests, reports and certificates.
(k) Supply and delivery of samples to the Engineer in accordance with the particular requirements of the Specification.
(l) Checking, inspecting, examining, measuring and verifying goods, materials and workmanship including supplying results, reports and certificates.
(m) Attendance and transport for sampling and testing carried out by the Engineer.
(n) Complying with Quality Assurance requirements of the contract and providing certificates of conformity.
(o) Awaiting approvals and consent.
(p) All types of taxes
(q) All rehabilitation work includes removing of existing quantities and preparation of the work site.
(r) Contractor is responsible for the drawings, specifications and BoQ during the implementation of the project. Contractor is strongly required to read the drawings, specifications carefully before filling the BoQ and giving the prices to the items.
Definitions | 4 | Where the unit of measurement is described as ‘Lump Sum’ or ‘Item’ the measurement of the work item referred to shall be on a ‘lump sum’ basis. The sum entered for the relevant item shall be deemed to include for all work related to that item.

## Summery
SUMMERY OF BILL OF QUANTITIY
UNOPS, Afghanistan
Project Title: DESIGN OF WERP OFFICES INSIDE THE K-SPAN
Project Number:
Location: UNOPS Ccountry office, UNOCA complex, PD 9, Kabul Afghanistan
S.N | Sub-BOQ Description | Total Amount (USD) | Remarks
1 | Bill No. 1. Preliminaries | 0
1 | Bill No. 2. Civil Work | 0
| Bill No. 3. Mechanical Work | 0
2 | Bill No. 4. Electrical Work | 0
Grant Total Amount |  | 0

## Bill_1
BILL OF QUANTITY (BoQ)
BILL 1, Perliminaries
Project Title: DESIGN OF WERP OFFICES INSIDE THE K-SPAN
Project Number:
Location: UNOPS Country office, UNOCA complex, PD 9, Kabul Afghanistan
Item | Item Description | Unit | Quantity | Unit Rate (USD) | Amount (USD) | Remark
BILL 1,Preliminaries/General Requirements/Contractor Quality Control/Health and Safety/Environmental Impacts
Demolition
1.1 | General Pre-construction work relevant to all sub sections of 1.0 General mentioned in the given docs including all site mobilization activities and paper/ documentation tasks. NOTE: This amount is NOT payable in the case of failure/withdraw from the Contractor side, in which the project is not going to be completed 100%. All of Section "1.0 General" and as well as all issues emphasized at pre-bid meetings. | LS | 1 |  | 0
1.2 | General Post construction works, clean up and hand over, along with any details may require to the full satisfaction of Engineer. All of Section "1.0 General" and as well as all issues emphasized at pre-bid meetings. | LS | 1 |  | 0
1.3 | Bearing capacity verification test for foundation of the column post by the contractor. To be done in full coordination with UNOPS and if the results would need revising the design. (The current assumed bearing capacity is 95 KN/m2) | LS | 2 |  | 0
Total for Preliminaries |  |  |  |  | 0

## Bill_2
BILL OF QUANTITY (BoQ)
BILL 2, Civil
Project Title: DESIGN OF WERP OFFICES INSIDE THE K-SPAN
Project Number:
Location: UNOPS Country office, UNOCA complex, PD 9, Kabul Afghanistan
Item | Item Description | Unit | Quantity | Unit Rate (USD) | Amount (USD) | Remark
BILL 1,Civil Work
1.1 | Demolition of Existing Main Gate: Removal and disposal to acceptable location of the existing main gate, including all associated hardware and supports with all require work and accessories | LS | 1 |  | 0
1.2 | Demolition of Existing Partition Wall and door: Demolition and transportation of the surpluce material to acceptable location of the existing partition wall and door within the K-span structure with all require work and accessories | LS | 1 |  | 0
1.3 | Relocation of existing Connexes: Relocate and position existing conexes on-site in appropriate locations as per project requirements and site plans, with all require work and accessories | LS | 1 |  | 0
1.4 | Cutting of Concex Side based on the drawing: Proper cutting of the conex side (North-East side of the northern conex) and replacement as slab of the extended area with all require work and accessories | LS | 1 |  | 0
1.5 | Dismantling of Electrical Fixtures, Lamps, and Wiring System: Dismantle and remove all electrical fixtures within the conexes. Dismantle electrical lamps and the associated wiring system inside the K-span structure and transfer to acceptable location,with all require work and accessories | LS | 1 |  | 0
1.6 | Demolition of Existing Toilets: Demolish the existing women’s and designated sections of the male toilets as specified in the drawings. The toilet features and fixture to be properly dis assembled and to be reinsstalled in designed location within the male toilet as per the drawing. This item also includes reinstallation of the the toilet features and fixture in male toilet and transportation of the surplus material to acceptable location, with all require work and accessories | LS | 1 |  | 0
1.7 | Provision of RCC Suport for Columns: Supply and casting of RCC concrete support for steel colums with all required work, material, equipment and manpower including Ancor Bolts and Base Plats according to the drawing, with all require work and accessories | Each | 26 |  | 0
1.8 | Supply and installation of Steel Box 40x40x3 mm for roof surface based on drawing, with all require work and accessories | Meter | 184.6 |  | 0
1.9 | Supply and installation of Steel Box 100x100x3 mm for column and beams of the extended areas based on drawing, with all require work and accessories | Meter | 135 |  | 0
1.1 | Supply and installation of steel support 40x80x3 mm for exsiting connexes with all require work and accessories | Meter | 23 |  | 0
1.11 | Steel plate (Container Type slab) for extended areas based on the drawing, with all require work and accessories | Sqm | 104 |  | 0
1.12 | Sealing of the container joint (where tow containers jointed) with steel plat by welding, with all require work and accessories | LS | 1 |  | 0
1.13 | Supply and installation high quality Knauf as false ceiling, 600x600, sound proof, for office rooms, corridor and toilets with all related accessories and activities | Sqm | 165 |  | 0
1.14 | Sandwich Panel Walls: Supply and installation 100 mm thick sandwich panels with width 1200 mm for partition walls/extended area walls and front face of K-Span structure in the new WERP office. Thickness: 100 mm. Facing Material: Pre-painted galvanized steel (PPGI), 0.50 mm thick on each side. Insulation: Rigid Polyurethane Foam (PUR) or Polyisocyanurate (PIR). Finish: Color to be selected from available options in the local market. with all related accessories and activities according to the drawings | Sqm | 348.94 |  | 0
1.15 | supply and placement of Gravel fill for the extended area under the pcc with all requried activities such as grading, leveling, compaction and etc. | Cum | 7.935 |  | 0
1.16 | supply and casting of PCC for Rooms, Hall and female toilet as per drawings with all related activities | Cum | 10.9 |  | 0
1.17 | Supply and instalaltion of high qualtiy Foam, 3mm for rooms under the Parquet acceptable to the client and supervision engineer. | Sqm | 165 |  | 0
1.18 | Supply and installation of Parquet: Supply and installation of 8mm high quality Turkish type or equivalent,This task includes sub-surface preparation for parquet as per full guidance of Engineer. with all related activities acoording to the drawings | Sqm | 165 |  | 0
1.19 | Hall Flooring: Supply and installation of Ceramic Tile (Indian type or equivalent) with all requrie activites and accessoreies, This task includes sub-surface preparation for tiling as per full guidance of Engineer. | Sqm | 50 |  | 0
1.2 | Supply and installation of RIGID FOAM 30mm,25 DENTISTY WORK WITH EPOXY FOR THE ROOF OF OFFICE ROOMS CORRIDOR AND TOILETS with all requrie activites and accessoreies | Sqm | 225 |  | 0
1.21 | Female Toilet Flooring: Supply and installation of Ceramic Tile(Indian type or equivalent) (Skid Resistant) for female toilet acceptable to the client, This task includes sub-surface preparation for tiling as per full guidance of Engineer. | Sqm | 10 |  | 0
1.22 | Skirting inside rooms and Corridor: Supply and installation of black marble 100mm hight 30mm thick for corridor with all requrie activites and accessoreies | Meter | 175 |  | 0
1.23 | Supply and Installation of Main Entry Gate (Automatic Sliding) with all required accessories (2750x2240) acceptable to client. Model: DECO Model D3, Voltage, AC 110-220, V 50/60 Hz, Opening Speed, 150-460 mm/s (Adjustable), Closing Speed: 130-460 mm/s (Adjustable), Motor Type: DC 24V, 70W (DC, brushless), Glass Type, 10mm Laminated Glass Glazing | Each | 2 |  | 0
1.24 | PVC Door (PVC grade 8000): The cost includes: Provision, installation, of PVC door hardware, door closer, door stoper, glazing and all related works. All works shall be under full approval of Engineer. doors Type D1 (1000x2245)mm with all required accessoreis | Each | 9 |  | 0
1.25 | PVC Door (PVC grade 8000): The cost includes: Provision, installation, of PVC door hardware, door closer, door stoper, glazing and all related works. All works shall be under full approval of Engineer. Door Type D2 (800x1500) mm will all required accessories | No | 1 |  | 0
1.26 | PVC Door (PVC grade 8000): The cost includes: Provision, installation, of PVC door hardware, door closer, door stoper, glazing and all related works. All works shall be under full approval of Engineer. Door Type D3 (800x2100)mm will all required accessories | No | 3 |  | 0
1.27 | PVC Door (PVC grade 8000): The cost includes: Provision, installation, of PVC door hardware, door closer, door stoper, glazing and all related works. All works shall be under full approval of Engineer. Door Type D4 (900x2100)mm will all required accessories | No | 1 |  | 0
1.28 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing,fly-screen, balst film The window shutter should be sliding in opening. and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W1 (1350x1500) mm with all required accessories | Each | 5 |  | 0
1.29 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing,fly-screen, balst film The window shutter should be sliding in opening.and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W2 (1500x1500) mm will all required accessories | Each | 3 |  | 0
1.3 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing, fly-screen,balst film, The window shutter should be sliding in opening. and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W3(1000x1500) mm will all required accessories | Each | 1 |  | 0
1.31 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing,fly-screen, balst film The window shutter should be sliding in opening.and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W4(1400x1500) mm with all required accessories | Each | 1 |  | 0
1.32 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing, fly-screen, balst film The window shutter should be sliding in opening.and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W5(3800x1500) mm with all required accessories | Each | 1 |  | 0
1.33 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing, fly-screen,balst film The window shutter should be sliding in opening.and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W6(3000x1500) mm with all required accessories | Each | 1 |  | 0
1.34 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing, fly-screen, balst film The window shutter should be sliding in opening. and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W7(1320x1524) mm with all required accessories | Each | 1 |  | 0
1.35 | PVC Window (PVC grade 8000): The cost includes: Provision, installation, of PVC window hardware, window closer, window stoper,double glazing, fly-screen, balst filmThe window shutter should be sliding in opening. and all related works. All works shall be under full approval of Engineer. All tasks for this item are to be under the full approval and satisfaction of the Engineer. Window Type W8(1000x2300) mm with all required accessories | Each | 2 |  | 0
1.36 | Rolled blinding curtain for the windows: This item covers all best quality rolled curtains at the interior side of all windows. Specification: Composition: 100 Polyester, Color: as per approval of engineer, Warranty: 5 years, Head Rail: Almunium, Bottom Rail: Almunium. The cost includes supply, installation, accessories, and auxiliary items to the complete job. Brand, type, and color to be approved by the Engineer. All tasks for this item are to be under full approval and satisfaction of Engineer. | Sqm | 33.41 |  | 0
1.37 | Supply and Installation of Alucobond for outside facad of the K-Span with all required accessories and actitvites, All tasks for this item are to be under full approval and satisfaction of Engineer. | Sqm | 81.63 |  | 0
1.38 | Louver for existing exhaust fans with all required accessories and actitvites, All tasks for this item are to be under full approval and satisfaction of Engineer. | Each | 3 |  | 0
1.39 | Construction of concrete sewer manhole: with manhole cover, pulling iron, sump and sum cover as per drawing and all requirements and related work | No | 3 |  | 0
Total for Bill (2) |  |  |  |  | 0

## Bill_3
BILL OF QUANTITY (BoQ)
Bill No. 3. Mechanical
Project Title: DESIGN OF WERP OFFICES INSIDE THE K-SPAN
Project Number:
Location: UNOPS Country office, UNOCA complex, PD 9, Kabul Afghanistan
Item | Item Description | Unit | Quantity | Unit Rate (USD) | Amount (USD) | Remark
2.1 | HVAC
2.1.1 | Supply and Installation of an Inline Exhaust Fan for Toilet Facilities (IEF-01, BDTX-200-B I Inline duct Centrifugal Fan) with an airflow capacity of 420 m^3/hr, External Static Pressure of 240 Pascal, featuring a backdraft damper and vibration isolator of premium quality. | Pcs. | 1 |  | 0
2.1.2 | Supply and Installation of a 200mm Round Stainless Steel Exhaust Air Vent End Cap Louver premium quality. | Pcs. | 1 |  | 0
2.1.3 | Supply and Installation of a 100mm Aluminum Adjustable Round Exhaust Air Grill/EAG. | Pcs. | 4 |  | 0
2.1.4 | Supply and Installation of a 100mm Light Clamp Ceiling Hanging Type with PVC Rubber. | Pcs. | 12 |  | 0
2.1.5 | Supply and Installation of a 150x100mm dia Aluminum Flexible Duct. | m | 24 |  | 0
2.1.6 | Supply and Installation of a 10mm Threaded Rod with Nut, Bolt, and All Accessories. | Pcs. | 24 |  | 0
2.1.7 | Supplying, Installing, and Fabricating a 24-Gauge Galvanized Steel Duct for the Ventilation System, ensuring top-notch quality. | m^2 | 18 |  | 0
2.1.8 | Supply and Installation of a Adjustable Tie Clamp for 100mm Threaded Rod. | Pcs. | 12 |  | 0
2.1.9 | Supply and Installation of a 200x150 mm Back Draft Damper/Shutter Lock Damper. | Pcs. | 1 |  | 0
2.1.10 | Procurement and installation of SU-01 Split Type Air Conditioning Units, variable speed compressor, providing a capacity of 9,000 Btu/hr. The indoor units will be wall-mounted decorative type, sourced from top-quality manufacturers such as SAMSUNG or Equivalent. | Pcs. | 5 |  | 0
2.1.11 | Procurement and installation of SU-02 Split Type Air Conditioning Units, variable speed compressor, providing a capacity of 18,000 Btu/hr. The indoor units will be wall-mounted decorative type, sourced from top-quality manufacturers such as SAMSUNG or Equivalent | Pcs. | 4 |  | 0
2.2 | Sewer
2.2.1 | Supply and installation of high-quality PVC SCH-40 pipe, DN 150mm, equivalent to a reputable brand, with all necessary accessories. | m | 36 |  | 0
2.2.2 | Supply and installation of high-quality PVC SCH-40 pipe, DN 100mm, equivalent to a reputable brand, with all necessary accessories. This item includes, excavation of the trench and backfilling of the trench with proper material based on the drawing. | m | 26 |  | 0
2.2.3 | Supply and installation of high-quality PVC SCH-40 pipe, DN 75mm, equivalent to a reputable brand, with all necessary accessories. | m | 24 |  | 0
2.2.4 | Supply and installation of high-quality PVC SCH-40 pipe, DN 50mm, equivalent to a reputable brand, with all necessary accessories. | m | 12 |  | 0
2.2.5 | Supply and installation of high-quality PVC SCH-40 Tee-Y, DN 100mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 16 |  | 0
2.2.6 | Supply and installation of high-quality PVC SCH-40 Tee-Y, DN 75mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 10 |  | 0
2.2.7 | Supply and installation of high-quality PVC SCH-40 45-degree elbow, DN 100mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 8 |  | 0
2.2.8 | Supply and installation of high-quality PVC SCH-40 45-degree elbow, DN 75mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 8 |  | 0
2.2.9 | Supply and installation of high-quality PVC SCH-40 cleanout, DN 75mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 2 |  | 0
2.2.10 | Supply and installation of high-quality PVC SCH-40 cleanout, DN 100mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 2 |  | 0
2.2.11 | Procurement and installation of a stainless steel floor clean-out drain (150x150 mm) with 3-inch diameters, including all necessary fittings and accessories. | Pcs. | 6 |  | 0
2.2.12 | Supply and installation of a PVC SCH-40 reducer, with dimensions (100X75) mm. | Pcs. | 4 |  | 0
2.2.13 | Supply and installation of a PVC SCH-40 reducer, with dimensions (75x50) mm. | Pcs. | 4 |  | 0
2.2.14 | Supply and installation of high-quality PVC SCH-40 90-degree tee, DN (50) mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 6 |  | 0
2.2.15 | Supply and installation of high-quality clamp, DN 50mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 4 |  | 0
2.2.16 | Supply and installation of high-quality PVC SCH-40 end cap, DN 50mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 4 |  | 0
2.2.17 | Supply and installation of high-quality PVC SCH-40 end cap, DN 75mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 8 |  | 0
2.2.18 | Supply and installation of high-quality PVC SCH-40 end cap, DN 100mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 8 |  | 0
2.2.19 | Supply and installation of high-quality PVC SCH-40 siphon, DN 100mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 6 |  | 0
2.2.20 | Supply and installation of high-quality PVC SCH-40 siphon, DN 75mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 12 |  | 0
2.2.21 | Supply and installation of high-quality PVC SCH-40 vent cowl, DN 50mm, equivalent to a reputable brand, with all necessary accessories. | Pcs. | 1 |  | 0
2.2.22 | Supply and installation of a high-quality Muslim shower SBN brand or Equivalent with double faucet, including all necessary accessories. | Pcs. | 6 |  | 0
2.2.23 | Supply and installation of a high-quality 50-liter heating boiler , including all necessary accessories. | Pcs. | 1 |  | 0
2.2.24 | Supply high-quality Glue 717, made in America or equivalent, including related works as per drawing and advice from the supervising engineer. | kg | 6 |  | 0
2.2.25 | Supply high-quality Cleaner C65, made in America or equivalent, including related works as per drawing and advice from the supervising engineer. | kg | 4 |  | 0
2.2.26 | Supply and installation of high-quality wall-mounted faucets for sinks and boilers SBN brand or Equivalent. | Pcs. | 4 |  | 0
2.2.27 | Procurement and installation of a high-quality floor-mounted toilet set complete with a flush tank SBN brand or Equivalent. | Pcs. | 4 |  | 0
2.2.28 | Procurement and installation of a high-quality seven-piece vanity set (tissue holder, soap dish, shampoo holder, etc.) SBN brand or Equivalent for the bathrooms. | Pcs. | 4 |  | 0
2.2.29 | Supply and installation of a high-quality floor drain, DN 75mm, SBN brand or Equivalent with all accessories, as per the drawing and advice from the supervising engineer. | Pcs. | 4 |  | 0
2.2.30 | Supply and installation of a mirror with dimensions (40 x 60) cm above the wash basin SBN brand or Equivalent. | Pcs. | 4 |  | 0
2.2.31 | Supply and installation of a coat hanger with 5 hooks SBN brand or Equivalent | Pcs. | 4 |  | 0
2.2.32 | Electric Hand-dryers: This item and its cost includes provision and installation of wall-mounted hand dryers at male/female lavatories, 1000mm above floor. The paper holder shall be chrome finish, with highest quality, German made or equivalent, all specs approved by the Engineer. The cost includes all required fittings and accessories to full installation. | Pcs. | 1 |  | 0
2.3 | Water Supply system
2.3.1 | Supply and installation of PPR pipes, PN20, with a diam of 40mm. | m | 2 |  | 0
2.3.2 | Supply and installation of PPR PN20 socket fittings with a diam of 40mm. | Pcs. | 2 |  | 0
2.3.3 | Supply and installation of PPR pipes, PN20, with a diam of 32mm. | m | 4 |  | 0
2.3.4 | Supply and installation of PPR PN20 socket fittings with a diam of 32mm. | Pcs. | 2 |  | 0
2.3.5 | Supply and installation of PPR pipes, PN20, with a diam of 25mm. | m | 8 |  | 0
2.3.6 | Supply and installation of PPR PN20 socket fittings with a diam of 25mm. | Pcs. | 4 |  | 0
2.3.7 | Supply and installation of PPR pipes, PN20, with a diam of 20mm. | m | 12 |  | 0
2.3.8 | Supply and installation of PPR PN20 socket fittings with a diam of 20mm. | Pcs. | 10 |  | 0
2.3.9 | Supply and installation of clamps and screws with a 40mm diam. | Pcs. | 2 |  | 0
2.3.10 | Supply and installation of clamps and screws with a 32mm diam. | Pcs. | 2 |  | 0
2.3.11 | Supply and installation of clamps and screws with a 25mm diam. | Pcs. | 6 |  | 0
2.3.12 | Supply and installation of clamps and screws with a 20mm diam. | Pcs. | 12 |  | 0
2.3.13 | Supply and installation of a PPR gate valve, PN20, with a diam of 40mm. | Pcs. | 1 |  | 0
2.3.14 | Supply and installation of a PPR gate valve, PN20, with a diam of 32mm. | Pcs. | 1 |  | 0
2.3.15 | Supply and installation of a PPR gate valve, PN20, with a diam of 25mm. | Pcs. | 1 |  | 0
2.3.16 | Supply and installation of a PPR gate valve, PN20, with a diam of 20mm. | Pcs. | 2 |  | 0
2.3.17 | Supply and installation of a 25mm diam PPR plug. | Pcs. | 16 |  | 0
2.3.18 | Supply and installation of a 20mm diam PPR crossover, rated PN20. | Pcs. | 6 |  | 0
2.3.19 | Supply and installation of a 25mm diam PPR crossover, rated PN20. | Pcs. | 2 |  | 0
2.3.20 | Supply and installation of a 40mm diam PPR elbow, rated PN20. | Pcs. | 2 |  | 0
2.3.21 | Supply and installation of a 32mm diam PPR elbow, rated PN20. | Pcs. | 2 |  | 0
2.3.22 | Supply and installation of a 25mm diam PPR elbow, rated PN20. | Pcs. | 4 |  | 0
2.3.23 | Supply and installation of a 20mm diam PPR elbow, rated PN20. | Pcs. | 12 |  | 0
2.3.24 | Supply and installation of a 25mm diam PPR female elbow, rated PN20. | Pcs. | 16 |  | 0
2.3.25 | Supply and installation of thread double female elbow a 25mm diam PPR, rated PN20. | Pcs. | 16 |  | 0
2.3.26 | Supply and installation of a 40mm diam PPR tee, rated PN20. | Pcs. | 1 |  | 0
2.3.27 | Supply and installation of a 32mm diam PPR tee, rated PN20. | Pcs. | 1 |  | 0
2.3.28 | Supply and installation of a 25mm diam PPR tee, rated PN20. | Pcs. | 4 |  | 0
2.3.29 | Supply and installation of a 20mm diam PPR tee, rated PN20. | Pcs. | 10 |  | 0
2.3.30 | Supply and installation of a PPR reducer tee, PN20, with dimensions (40x32) mm. | Pcs. | 1 |  | 0
2.3.31 | Supply and installation of a PPR reducer tee, PN20, with dimensions (32x25) mm. | Pcs. | 1 |  | 0
2.3.32 | Supply and installation of a PPR reducer tee, PN20, with dimensions (20x25) mm. | Pcs. | 2 |  | 0
2.4 | Fire Extinguisher
2.4.1 | Powder Fire (ABCE) 20 lb - Fire Extinguisher:Supply and installation of approved Multi-Purpose Powder Fire (ABCE) 20 lb - Fire Extinguisher (Made in USA or equivalent). For more detail & information see Plumbing drawings & details. (See Mechanical drawings). | Pcs. | 2 |  | 0
2.4.2 | Multi-Purpose Gas (CO2) 13 lb - Fire Extinguisher:Supply and installation of approved Multi-Purpose Gas (CO2) 13 lb - Fire Extinguisher (Made in USA or equivalent). For more detail & information see drawings & details. | Pcs. | 2 |  | 0
2.4.3 | Mobile Fire Extinguisher, Powder Fire (ABCE) 40 kg - Supply Supply of an approved 40 kg Multi-Purpose Powder Fire Extinguisher (ABCE) mounted on a trolley, made in the USA or equivalent. | Pcs. | 1 |  | 0
Grand Total for Mechanical Work (Bill 3) |  |  |  |  | 0

## Bill_4
BILL OF QUANTITY (BoQ)
Bill No. 4. Electrical
Project Title: DESIGN OF WERP OFFICES INSIDE THE K-SPAN
Project Number:
Location: UNOPS Country office, UNOCA complex, PD 9, Kabul Afghanistan
Item | Item Description | Unit | Quantity | Unit Rate (USD) | Amount (USD) | Remark
4 | Elctrical
4.1.1 | Supply and installation of a 600X600mm 4X18W, FLUORESCENT LIGHT FIXTURE with all require activities and accessories as per specifications and drawings | Each | 20 |  | 0
4.1.2 | Supply and installation of a 600X600mm 4X18W, 220V, LED LIGHT FIXTURE WITH EMERGENCY BATTERY KIT with all require activities and accessories as per specifications and drawings | Each | 13 |  | 0
4.1.3 | Supply and installation of a 300X300mm, 100W, 230V, LED EXTERIOR LIGHTING FIXTURE WITH EMERGENCY BATTERY KIT with all require activities and accessories as per specifications and drawings | Each | 3 |  | 0
4.1.4 | Supply and installation of a 300X100mm, 8W, 230V LED EXIT SIGN with all require activities and accessories as per specifications and drawings | Each | 2 |  | 0
4.1.5 | Supply and installation of a TWO POLE LIGHT SWITCH with all require activities and accessories as per specifications and drawings | EACH | 7 |  | 0
4.1.6 | Supply and installation of a SINGLE POLE LIGHT SWITCH with all require activities and accessories as per specifications and drawings | Each | 11 |  | 0
4.1.7 | Supply and installation of a 24W LED LIGHT, IP40, 230V with all require activities and accessories as per specifications and drawings | Each | 8 |  | 0
4.1.8 | Supply and installation of a DUPLEX 16A 240V, SCHUKO RECEPTACLE with all require activities and accessories as per specifications and drawings | EACH | 46 |  | 0
4.1.9 | Supply and installation of a DUPLEX 16A 240V, GFCI, SCHUKO RECEPTACLE with all require activities and accessories as per specifications and drawings | EACH | 2 |  | 0
4.1.10 | Supply and installation of a DUPLEX 16A 240V, SCHUKO WATERPROOF RECEPTACLE with all require activities and accessories as per specifications and drawings | EACH | 2 |  | 0
4.1.11 | Supply and installation of 10x10 Surface mounted join boxes with all its accessories | EACH | 10 |  | 0
4.1.12 | Supply and installation of a DISTRIBUTION PANEL WITH 50A MAIN BREAKER AND OTHER SUB BREAKERS AS PER PANEL SCHEDULE WITH ALL ACCESSORIES with all require activities and accessories as per specifications and drawings | EACH | 1 |  | 0
4.1.13 | BARE, TINNED, COPPER, STRANDED, GROUNDING CABLE 10MM2 with all require activities and accessories as per specifications and drawings | M | 10 |  | 0
4.1.14 | Supply and installation of a BARE, TINNED, COPPER, STRANDED, GROUNDING CABLE SIZED 6MM2 AS PER PANEL SCHEDULE, with all require activities and accessories as per specifications and drawings | M | 15 |  | 0
4.1.15 | Supply and installation of a GROUND ROD 3M LONG AND 20MM2 DIAMETER with all require activities and accessories as per specifications and drawings | EACH | 3 |  | 0
4.1.16 | Supply and installation of a DISCONNECT SWITCH SINGLE PHASE 30A, 50HZ with all require activities and accessories as per specifications and drawings | EACH | 10 |  | 0
4.1.17 | Supply and installation of a MOTOR RATED SWITCH FOR EXHAUST FAN SINGLE PHASE, 10A , 50HZ with all require activities and accessories as per specifications and drawings | EACH | 1 |  | 0
4.1.18 | Supply and installation of a BRK ELECTRONICS, MODEL NO. 7010BE 230V, 50HZ, 9V, BATTERY OPERATED SMOKE DETECTOR with all require activities and accessories as per specifications and drawings | EACH | 13 |  | 0
4.1.19 | Supply and installation of a 4(1cx25mm CU P.V.C/) CABEL TO PANEL BOARD with all require activities and accessories as per specifications and drawings | M | 45 |  | 0
4.1.20 | Supply and installation of a 100mm SCHEDULE 40 CONDUIT FOR CABEL with all require activities and accessories as per specifications and drawings | M | 45 |  | 0
4.1.21 | Network switch MS120-48LP Product Id: MS120-48LP-HW 48 × 10/100/1000BASE-T Ethernet (RJ45) 4 × 1G SFP ports for uplinks 370W (PoE, PoE+) 48V DC 802.3af/802.3at Power-over-Ethernet(PoE/PoE+) available on all ports (maximum of30W per port for PoE+) for powered switches | set | 1 |  | 0
4.1.22 | Indoor Wi-Fi 6 AccessPoint MR44 Product Id: MR44-HW 4 radios: 2.4 and 5 GHz, dual-band WIDS/WIPS,Bluetooth 2×2:2, 4x4:4, UL/DL MU-MIMO 802.11ax Up to 3,2 Gbps aggregate frame rate 2,5 Gbps Ethernet port PoE: 802.3af | set | 2 |  | 0
4.1.23 | MS120-48LPEnterprise Licence LIC-MS120-48LP-5YR 5 year enterprise license, RMA & support | set | 1 |  | 0
4.1.24 | MR44 EnterpriseLicence Indoor Wi-Fi 6 Access Point LIC-ENT-5YR Meraki MR Enterprise License, 5YR | set | 2 |  | 0
4.1.25 | 1 GbE SFP SX FiberTransceiver SFP product Id: MA-SFP-1GB-SX All MS series switches; Standard: 1000BASE-SX;Range: 550m | set | 2 |  | 0
4.1.26 | Fiber patchcord LC-LC3 meters Fiber patch cables product Id: 15216-LC-LC-MM-2= Fiber patchcord - LC to LC - Multi Mode - 3m | Each | 2 |  | 0
4.1.27 | Ethernet patch panel 24-port shielded patch panel, category 6E, for 19"cabinets. 1U height, IDC 110 type connectors | set | 3 |  | 0
4.1.28 | Ethernet CableManager Ethernet Cable Manager organizer metal 1U with15 slot Rack Mount Horizontal Cable managementfor network | set | 4 |  | 0
4.1.29 | Face plate, back plate& IO (complete set) Dual face plate with back plate & IO Supported connector RJ45 for phone and PC TP-link | set | 28 |  | 0
4.1.30 | Ethernet Patch Cord30cm RJ45 Cat. 6 U/UTP patch cord, unshielded, 24AWG 4-pair cable, PVC sheath gray Size: 30cm | set | 50 |  | 0
4.1.31 | Cat 6E Ethernet Cable Cat 6E STP Cable Potential Bandwidth (per sec): 1Gb Time to transfer 1 Terabyte: 3 hours Data Transmission: Exceeds 1000 BASE-TX Connector Type: RJ45 Frequency Range Minimum: 0-250MHz Frequency Maximum: 600MHz Performance Distance: 328 Feet Alt. Distance: 10Gb 180ft | Box | 5 |  | 0
4.1.32 | Duct Size 40/40 Duct size 40/40 PVC Channels wiring duct | m | 120 |  | 0
4.1.33 | 1KVA UPS VA/W: 1000VA/900W Input Voltage Range: 100 ~ 300 VAC Frequency Range: 40 Hz - 70 Hz Input Wiring: Single phase with ground input power factor: 0.99 Output Output Power Factor: 0.9 Nominal Output Voltage: 220/230/240VAC Voltage Regulation: 1% Frequency Range (Battery Mode): 50 / 60 ±0.05Hz | set | 1 |  | 0
4.1.34 | Server Cabinet 16Uhigh Overall H x D x W: 34.25" x 32" x 23.6" Inside H x D x W: 28" x 28.25" x 19" Deepest equipment allows: 26" Max. front rails to rear rails: 26.25" Cable entry: 2.36"W x 16"L x 2 (bottom), 2.36"W x16"L x 2 (top) Loading capacity : 500 lbs | set | 1 |  | 0
4.1.35 | Ethernet Patch Cord 5meter RJ45 Cat. 6 U/UTP patch cord, unshielded, 24AWG 4-pair cable, PVC sheath gray Size: 5 meter | set | 30 |  | 0
4.1.36 | PDU 1u 19 Inch 6 Way Model No: LKPD-A Size: 19" 1U 730*44.8*45mm | set | 1 |  | 0
4.1.37 | Supply and installation and extension of 4mm wire with PVC conduit inside wall, with all related accessories and activities | M | 760 |  | 0
4.1.38 | Supply and installation and extension of 2.5mm wire with PVC conduit inside wall, with all related accessories and activities | M | 45 |  | 0
4.1.39 | Supply and installation of the panel board according to the panel schedule, with all require activities and accessories as per specifications and drawings | set | 1 |  | 0
4.1.40 | Supply and installation of the switch's and disconnect switches according to drawings, with all related accessories and activities | set | 1 |  | 0
4.1.41 | Supply and installation of the lights according to drawings, with all related accessories and activities | set | 2 |  | 0
4.1.42 | Supply and installation of the data and telephone outlet according to drawings, with all related accessories and activities | set | 1 |  | 0
4.1.43 | Supply and installation of the smoke detectors according to drawings, with all related accessories and activities | set | 1 |  | 0
4.1.44 | Supply and installation of Socket in the teahouse according to the drawing, with all related accessories and activities | set | 1 |  | 0
Grand Total for Electrical Work (Bill 4) |  |  |  |  | 0